Schedule C

T21 1516 Hydrogen Generator

Evaluation Criteria

Tenderers are required to demonstrate and provide evidence that meets or exceeds the specification (schedule A). Tender Submissions will be scored on the following criteria

| Score | Scoring of Tenders |
| --- | --- |
| 4 | Fully meets requirements and may offer a degree of additional benefits |
| 3 | Meets requirements, but with some minor reservations. |
| 2 | Meets some of the requirement, but with major reservations. |
| 1 | Unlikely to be able to deliver what HSE wants. |
| 0 | Cannot deliver what HSE wants or does not address the requirement. |

| Weighting | Description |
| --- | --- |
| 3 | Critical |
| 2 | Important |
| 1 | Standard |

See over page for evaluation table

T21 1516 Hydrogen Generator

| Tender Evaluation - Scoring Criteria |  |  |  |
| --- | --- | --- | --- |
| Criteria | Score (0-4) | Weighting (1-3) | Weighted Score |
| Capable of delivering at least 250 ml/min of hydrogen at a pressure of up to 60 psi |  | 3 |  |
| Gas Purity of 99.999 or better% |  | 3 |  |
| Automatic cut off if a hydrogen leak is detected |  | 3 |  |
| Warranty Period (24 Months) |  | 1 |  |
| On Site Training |  | 1 |  |
| Maintenance |  | 2 |  |
| Delivery |  | 1 |  |
| Price |  | 2 |  |
|  |  | Total Score |  |