PRE CONSTRUCTION INFORMATION

in respect of

PROPOSED EXTENSION TO FORM CLUB ROOM & GENERAL ALTERATION WORKS.

AT

CONDOVER VILLAGE SPORTS GROUND, STATION ROAD, CONDOVER, SHREWSBURY, SY5 7AS.

CONSULTANT  (CA)                         		Date

GARY CHESTERS BSc MRICS                                			MARCH 2023

CHARTERED BUILDING SURVEYOR

CARMEN NOOK LANE

WESTON

SHREWSBURY

SY4 5LP

Tel  07817 148692

Email nook-lane@hotmail.co.uk

Also Included:

	Development of the Health & Safety Plan by the Principal Contractor, prior to construction works commencing on site.

	Details of items for inclusion in the Health & Safety Plan.

1.0	PROJECT DETAILS.

1.1	CLIENT:-  			CONDOVER PARISH COUNCIL.			.

1.2	SITE ADDRESS:-		CONDOVER VILLAGE SPORTS GROUND, STATION ROAD,

CONDOVER, SHREWSBURY, SY5 7AS

1.3	NATURE OF WORKS:-	PROPOSED EXTENSION TO FORM CLUB ROOM &

GENERAL ALTERATION WORKS

1.4	TIMESCALE:-  		TO BE CONFIRMED BY CONTRACTOR.

1.5	DRAWINGS & TENDER DOCUMENTS: -

GARY CHESTERS CHARTERED BUILDING SURVEYOR, CARMEN, NOOK LANE, WESTON, SHREWSBURY, SY4 5LP.

2.00	EXISTING ENVIRONMENT.

2.01	Site & Surrounding Area:

The site is set in a rural location just outside the village of Condover.  The site area has playing fields with cricket and football pitches, which will remain in use during the works.   The field is used for both adult and children matches.  There is no external security fence so people, including groups of children who also use the sports field as a place to exercise outside specific matches and training sessions have unfettered daily access.

2.02	Traffic Routes, Parking & Unloading.

The road network leading to site is through narrow lanes whichever way is used.   The access is right on the inside point on the bend where two roads meet, this means viability is poor when leaving the site.

IMPORTANT.  It is suggested that all site vehicles, deliveries etc come off the A49 down Station Road into the site so avoiding the village and entering the site head-on to the access.

The site entrance gate has a clear width of 4m wide.  The field can get wet in the winter, however, it is usually adequate for cars to park on the field most of the year.

There is adequate space to maneuverer once on the playing field for all vehicles.

2.03	Services:

There are overhead across the site entrance and they run along the southern boundary.

There is an underground electric feed cable through the site with its approximate location shown on the block plan; contractor needs to confirm this via a CAT scan prior to works commencing.

Mains water stop tap is located in changing room.

The existing septic tank which is behind the existing mower shed is to be back-filled and a new drainage system installed.

2.04	Security:

The site has no in-built site security and although in a rural location, the sports pitches will continue to be used so there will be passing interest from participants and spectators, plus the general issue of potential theft, trespasser, inquisitive neighbours and youngsters together with stray pets entering the site must be considered.

2.05	Local Emergency Services:

Doctors.

The Beeches Medical Practice, No 1 Beech Road, Bayston Hill, Shrewsbury, SY3 0PF

Tel (01743) 874565

For Other Emergency Service call 999

Hospital

Royal Shrewsbury Hospital, Mytton Oak Road, Shrewsbury, SY3 8XQ.

Tel 01743 261000

Health & Safety Executive.

19 Ridgeway, 9 Quinton Business Park, Quinton, Birmingham, B32 1AL.

Tel 0300 0031747

3.00	AVAILABLE INFORMATION.

3.01	Existing Health & Safety Plans:

None Available

3.02	Existing Hazardous Materials.

Pre Build Asbestos survey to be undertaken and details fed back to contractor – assume non when tendering.

3.03	Prepared Drawings:

dwg no		title

17-114a	EXISTING LAYOUT.

17-114b	PROPOSED LAYOUT.

17-114c	BLOCK PLAN.

17-114d	GROUNDSMAN STORE.

4.00	DESIGN / CONSTRUCTION INFORMATION.

The following hazards so far identified cannot be avoided and will be a risk to the Health & Safety of construction workers & visitors to the site.

It is the responsibility of the Principal Contractor to detail his proposals for managing the hazards identified.

The Principal Contractor is to establish safe working methods to address these issues and develop them into a Construction Phase Health & Safety Plan prior to works commencing on site.

4.01	Generic Issues:

- Continuing use of access and sports pitches by others – see site rules for further details.

- Access to Site - see site rules for further details.

	WORKING AT HEIGHT -- MOST DANGEROUS ISSUE IN RESPECT OF THIS PROJECT.        Scaffolding hand over and 7 day (or sooner as required by regulations) checks by a component person and confirmed in writing will be required.

- Unloading & parking arrangements need to be established.

- Welfare arrangements, including first aid facilities, accident book etc.

- A site fire plan needs to be established.

- Lines of responsibilities & induction training.  e.g. foreman’s role, fire extinguisher training. etc.

- Method for controlling sub-contractors.

- A procedure for monitoring on-site health & safety.

- Site security & procedure for controlling persons entering the site.

- Procedures for waste disposal.

- Service arrangements e.g. temporary electric supply throughout the building.

- Position of temporary accommodation and storage areas, including storage of any flammable items.

4.02	Generic Activities Affecting Workers..

	Head injury

	Hand injury

	Eye injury

	Hearing injury

	Dust inhalation

	Use of Tools and control of vibration and noise whilst being used.

4.03	Building Works:

	Excavations and installation of concrete foundations.

	Installation of new electrical services.

	Installation of pluming and mechanical services.

	Installation of soakaways and new drainage works.

	Installation of rainwater goods.

- Installation of roof tiles

- Installation of large windows and Bi-fold doors.

- Installation of glazing to door and windows.

- Installation of roof trusses.

5.00	CONSTRUCTION MATERIALS.

	The following potentially hazardous construction materials and substances are required by the design.

- Cement.

- Concrete.

- Plasterboard dabs.

- Plaster skim.

- Adhesives

- Sealants

- Paints.

- Lead.

- Site fuels i.e. petrol for hand tools.

6.00	OVERLAP WITH THE CLIENT’S UNDERTAKING.

The pavilion and immediate area will remain unoccupied other than persons associated with the Principal Contractor, including sub-contractors and those required to visit e.g. building control officer.  However, see site rules regarding main continued use site access and pitches use during works.

7.00	SITE RULES.

The Principal Contractor site rules must include in his provisions for:-

- Notices between Employer & Principal Contractor in respect of continued use of main site entrance and sports field.

The pavilion and nearby area will be vacated during the works.  However, when undertaking works to the car park the contractor to give employer minimum 1 month’s notices of these works, so it can be ensured no training or matches are undertaken from the Monday to Friday of one week, whilst the car park works are being undertaken.  In addition, the employer will inform the Principal Contractor at least 7 days in advance of any training and matches that are forthcoming on the nearby pitches.

	Retrieving cricket and footballs from within working area – details to be agreed.

- Working hours.

7.30am to 7-00pm weekdays, no Saturday, Sunday or Bank holiday working will be allowed without the prior written consent of Gary Chesters.

	Use Station Road directly off A49 to access site – do not come through village.

- Provide adequate on-site welfare & first aid facilities.

	Ensuring at all times whilst construction work is being carried out on site, that an identified competent person is in authority and as such has, and knows their responsibility for Health & Safety.

	Principal Contractor to introduce a system to control all persons entering the site.

8.00	CONTINUING LIAISON.

	The client is to be advised of unforeseen eventualities arising during construction and details of the Health & Safety implications are to be submitted as soon as possible.

	Any design work carried out by the Principal Contractor or by Subcontractors should be assessed for Health and Safety implications in accordance with the CDM regulations.  The Principal Designer must be notified in advance of any design work to be carried out by the Principal Contractor or other Contractors.

9.00	HEALTH & SAFETY FILES.

	Any hazards discovered but not removed during the construction period must be recorded and a copy of the record sent to the Principal Designer as soon as possible and in any case, before practical completion.

	All installation manuals, maintenance manual, operating instructions and the like for any plant and equipment supplied as part of the project must be copied to the Principal Designer as soon as it becomes available and in any case before practical completion.

	The Principal Contractor must issue to the Principal Designer details of the health and safety assessment and data sheets for patent materials and products incorporated into the works.

HEALTH & SAFETY FILE.

for

PROPOSED ERECTION OF CLUB ROOM EXTENSION, ALTERATIONS & RENOVATION WORKS & INSTALLATION OF NEW DRAINAGE SYSTEM.

At

CONDOVER VILLAGE SPORTS GROUND, STATION ROAD, CONDOVER, SHREWSBURY, SY5 7AS.

The following information should be made available to the Principal Designer & Gary Chesters to enable the Health & Safety File to be produced.  The information should be delivered up to Principal Designer & Gary Chesters at or before Practical Completion stage.

Code For Responsibility On Delivering Up Required Information.

DS	= Designers

PD	= Principal Designer.

PC	= Principal Contractor or his Sub-Contractors.

EM	= Employer.

1.01	Record or “as built” drawings and plans.						DS, PD & PC

1.02	General detail of construction methods and materials used.

	Details of Flooring and their Adhesives - COSHH data sheets.				PC

	Painting COSHH date sheets.								PC

1.03	Specialist Manuals.

	Hot water.											PC

	Fire Alarm.										PC

1.04	Utilities & Services.

	Electrical circuit diagram and test certificate.						PC

	Plumbing Layout.										PC

	Smoke alarm certificate.									PC

1.05	Maintenance Issues.

	Service checks										PC & PD