#### PRE-CONSTRUCTION INFORMATION

for

Marine Technology Oceansgate Building 1.6 Units 6-12

at

10 Vivid Approach

Devonport

Plymouth

PL1 4RW

on behalf of:

City College Plymouth

### (ISSUE 1 – September 2020)

Prepared in accordance with:

The Construction (Design and Management) Regulations 2015

18th September 2020

Job Ref: RFQ157

PRE-CONSTRUCTION INFORMATION PACK

CONTENTS

- Introduction

1.1	Executive Summary

1.2	The Project Goal

- Project Information

2.1	Location and nature of the work

2.2 	Project Directory

2.3	Programme

2.4	Extent and Location of Existing Records and Plans

- Environmental Restrictions and Existing On-Site Risks

  - Safety Hazards

  - Health Hazards

- Communication Requirements for Design Changes

- Significant Design and Construction Hazards

  - Construction Process Hazards

  - Significant Construction Hazards: The Design

  - The Workplace (Health, Safety and Welfare) Regulations 1992

- Client’s Considerations and Management Requirements

  - Clients Considerations

  - Management Requirements – CDM Regulations 2015

  - Management Requirements – Welfare

  - Management Requirements – Other Relevant Legislation

  - Communication for Safe Management of the Site

7.0 	The Health & Safety File

1.0 INTRODUCTION

This document is the Pre-Construction Information Pack developed for the Internal fitout of 7 newly developed light industrial units (“The Project”). The work involves the installation of mezzanine floor partitioning and related M&E services. The building is unoccupied and full unrestricted access will be granted to the Main contractor.

Health and Safety Standards and Requirements

At all times, the content of the following Pre-Construction Information (PCI) must be read in conjunction with the overriding requirement to comply with The Health and Safety at Work etc Act 1974, and The Construction (Design and Management) Regulations 2015 (CDM Regulations 2015).

Tenderers/Principal Contractors are to make allowance for the necessary resources required to comply with the CDM Regulations 2015 (“the Regulations”). This will include making allowance in the tender for any matters requiring the provision of resources noted in this Pre-Construction Information to discharge his duties and obligations under the CDM Regulations.

Before any work commences on site the Principal Contractor shall produce his Construction Phase Plan (CPP) in accordance with the Regulations. This Plan shall be submitted to the Principal Designer (PD) at least five working days before the planned date for commencement of the works. No work shall start on site until the Client is notified that the Construction Phase Plan has been prepared and deemed sufficiently developed.

The Principal Contractor will be responsible for undertaking a review of the design under health and safety both for safely constructing and the health and safety of any occupants. He shall bring to the attention of the Principal Designer any construction that is considered to be of abnormal risk to construct and for which an alternative or variation in design may be necessary.

It is assumed that competent contractors will be familiar with their obligations to comply with the current Regulations for the provision of safe working places and ensure their operatives and subcontractors are fully conversant with appropriate safe working practices. Risk assessments and method statements should be provided where appropriate or specifically requested.

1.1	The Executive Summary

These works are extensive in nature are to be carried out within the total footprint of the 7 open plan units which as 3 different levels. Each level difference is 450 mm and will not have any form of edge protection. The contractor must therefore be careful to plan works allowing for these changes in levels.

There needs to be good communication between the main contractor and the adjoining occupiers regarding daily and weekly operations on site.

A fire evacuation procedure must be drawn up for consideration by Main Contractor employees and all sub-contractors. Hot works will also require consultation and the contractor will be asked to produce as little noise, dust, and nuisance as is possible.

1.2	Project Goal

The goal for the project is to adopt a positive Health and Safety culture to ensure the project is completed safely and without incident.

2.0 PROJECT INFORMATION

2.1	The Location and Nature of the Work

The premises comprise of 7 newly developed light industrial units with its own allocated parking spaces.

The work entails the installation of mezzanine floor partitioning and related M&E services. The building is unoccupied and full unrestricted access will be granted to the Main contractors.

2.2 	Project Directory

| The Client City College Plymouth Plymouth Devon PL1 5QG Contact: Alison Hicks Email: ahicks@cityplym.ac.uk Tel: 01752 305302 | The Principal Designer G Parry Consulting Ltd Plymouth Devon PL5 2DQ Contact: Greg Parry Email: greg@gparryconsulting.co.uk Tel: 07920 448045 |
| --- | --- |
| The Principal Contractor To be confirmed Contact: Email: Tel: |  |

2.3	Programme (Estimated)

| Commencement | 4th January 2020 |
| --- | --- |
| Completion | 28th March 2020 |
| Overall Contract Duration (Weeks) | 12 weeks |

2.4	Extent and Location of Existing Records and Plans.

Health and Safety File/O&M Manuals:

The developer Keir are currently compiling the information for the Health & Safety File/ O&M Manuals for the basic shell, these will be made available on PC which is currently 5th December 2020.

3.0 ENVIRONMENTAL RESTRICTIONS AND EXISTING ON-SITE RISKS

This section identifies risks involved with the site itself. Standard site risks are scheduled in section

6.2. However, below are site specific risks where each point should be addressed in the Contractor’s Construction Phase Plan.

3.1 	Safety hazards including:

Live services installations/mains supplies

All newly installed services are provided and are left in a safe and ready condition to receive new installations.

Slips/Trips/Falls

Potential for fall from height internally due to stepped floor levels across the 7 units.

Working at height

Works to provide waste soil stack to each rear corner of the units 6,12 is required

3.2 	Health hazards including:

COVID-19

There remains a risk of localised outbreaks of the virus and until such time as the risk has fully passed the contractor must adopt appropriate working methods to mitigate against this risk. In particular the contractor must adopt a regime of regular cleaning of welfare facilities ensuring adequate provision of soap and hot water in toilet areas and canteens.

The Contractors attention is drawn to the guidance provided by Construction Leadership Council on the management of construction sites during the pandemic in particular the welfare provisions required as well as appropriate action to be taken should members of the construction team become ill whilst on site.

Other Site Activities

Consideration should be given to the activities that are otherwise present whilst the construction project is underway.

4.0 COMMUNICATION REQUIREMENTS FOR DESIGN CHANGES

Design changes and Development

The Principal Contractor and other designers will be responsible for informing the Principal Designer of any last minute or ongoing changes to the design which have safety implications for the project either in construction or use of the finished construction. The Principal Designer will consider any changes needed to the safety plan arising out of any such changes.

General Circulation

Circulation by Principal Contractor and other contractors of design packages must be part of normal site distribution procedures so that the impact on the overall Health and Safety Plan can be evaluated.

Site Meetings

Development of the Safety Plan is to be an item in the Site Meeting Agenda. The Principal Contractor is to continue the development of the plan as work proceeds. The Principal Contractor should ensure that this development is proceeding in advance of the commencement of work sections, all as set out in the Principal Contractor’s Construction Phase Plan, issued before the commencement of the project.  The Principal Designer is to receive copies of site meeting minutes.

5.0 SIGNIFICANT DESIGN AND CONSTRUCTION HAZARDS

5.1 	Construction Process Hazards

Scaffold and Working Platforms

All operations, erection and dismantling of scaffold, working platforms, storage of materials at height, etc shall be conducted and reviewed in order to totally avoid health and safety risks. Scaffold shall be netted wherever appropriate. Materials shall be adequately weighted down. No work is to be undertaken on scaffold prior to obtaining a completed handing-over certificate. All scaffolding is to be inspected by competent persons upon erection and thereafter at weekly (minimum) intervals. Certificates and records of inspections shall be kept on site, maintained by the Site supervisor and be available for inspection.  It is noted that scaffolding generally will be located within the site boundary.  However, should there be an occasion when scaffolding is bounding a public area special protection should be provided.

Manual Handling

Manual handling of plant and equipment should conform to The Manual Handling Operation Regulations 1992, as amended 2002.

Staff should be segregated from all lifting/dropping operations.

Fire

The proposed works may entail hot works, both soldering and cutting. Such works to be controlled by a permit to work system.

The building has a fully zoned automatic fire alarm and detection system. The project will entail isolation of the automatic alarm system to working areas to prevent false alarms occurring. The contractor must agree with the building occupier’s responsible person a methodology for raising the alarm in the event of fire breaking out within the working area and for warning operatives in the event that fire was to occur elsewhere in the building e.g. isolating smoke/heat detectors within the working area but retaining manual call points and sounders so that an alarm can be raised in the event of fire.

5.2 	Significant Construction Hazards: The Design

Designer’s Risk Assessments

Design hazards of an abnormal nature to be advised by all designers through their Designer’s risk review documents.

5.3	The Workplace (Health, Safety and Welfare) Regulations 1992

The building will continue to be used as a workplace and the designers will need to take account of the requirements of The Workplace (Health, Safety and Welfare) Regulations 1992.

6.0 CLIENT’S CONSIDERATIONS AND MANAGEMENT REQUIREMENTS

6.1	Clients Considerations

The client has specified that the following specific site rules be observed for the duration of the project.

| Smoking Policy | No smoking on site. |
| --- | --- |
| Clothing | Work appropriate and site wide PPE to be worm at all times. |
| Hours of Work on Site | Normal office hours are 8am – 6pm. |
| Power Tools | Restricted to 110-volt power rating. |
| Supervision | Main Contractor will be responsible to provide to supervision of all works and site operatives and sub-contractors. An appointed site manager will be present on site throughout all works |
| ‘No-go’ areas | Contractors to advise employees and sub-contractors in relation to any no go areas during induction. |
| Permit to Work System | Where applicable the client may choose to use a permit to work system. For example, for hot works, access to scaffolding and working on roof. |
| Parking Restrictions | Contractor to note the parking restrictions on site. Only park in allocated spaces. |
| Emergency Procedures | The principal contractor is to liase with the appropriate person to co-ordinate fire evacuation plans and emergency procedures. |

6.2	Management Requirements – CDM Regulations 2015

The client demands that the highest standards of Health and Safety are met and that the Principal Contractor states in his Construction Phase Plan how he will meet his duties under The Construction (Design and Management) Regulations 2015 (CDM 2015). The Regulations applicable to the contractor include:

Suitable and Safe Site Access and Egress

Sufficient space for site access and egress is required. This should also be adequately signed. The site office should be located as near to the site entrance as possible do deal with visitors and deliveries effectively. Sufficient access for emergency vehicles is to be maintained at all times. There should be adequate space for the delivery and storage of materials. Storage areas should be well signed, secured and protected. Flammable materials should be stored in separate areas.

Good Order and Site Security

Principal Contractor is responsible for arrangements for housekeeping. The Principal Contractor once taking occupation of the site will be responsible for site security. The Construction Phase Plan should detail measures to prevent unauthorised access to the site. Visiting personnel must be signed in and inducted and site signage must be displayed to warn trespassers of the dangers of the site.

Traffic Routes and Vehicles

The Principal Contractor should make arrangements to segregate Vehicle and Pedestrian Traffic where there is a risk of collision between plant and pedestrians. This can be avoided by segregating their paths using road markings, barriers and signage. Measures should be adopted to prevent a collision and may involve:

- The adoption of speed limits

- Banksman in attendance

- Audible warnings on plant

- Adequate driver and personnel training

- Allowing adequate room for parking and reversing

- Installation of crossing points

- Ensuring vehicle paths are well maintained.

Traffic routes should be of a sufficient size and suitable for the traffic using them. They should also be suitably signed and maintained. Suitable measures should also be taken to prevent a vehicle falling into an excavation or pit.

Prevention of Risk from Fire and Emergency Procedures

Effect on permanent and temporary arrangements - arrangements for temporary closures to be considered. Example’

Suitable and sufficient steps should be taken to prevent, so far as is reasonably practicable, the risk of injury to any persons during the carrying out of construction work arising from-

- Fire or explosion

- Flooding (as applicable) or

- Any substance liable to cause asphyxiation

An emergency plan in the event of fire should be included in the Construction Phase Plan that should contain the following information:

- Details of those at risk of fire

- Details of fire procedure co-ordination across the site

- Arrangements for ensuring effective procedures for fire safety is operating during the project? (As required by the Regulatory Reform (Fire Safety) Order 2005

- Details of how the alarm will be raised

- Details of temporary fire points and what they will contain (as required)

- The location of the designated muster point

- Location of signs indicating escape routes

- Procedure for keeping existing escape routes maintained clear

Fire exit routes must be sufficiently ventilated, kept clear, well maintained and not used for storage. Good housekeeping is essential to prevent escape routes being obstructed. Signs indicating escape routes, must be kept clearly displayed.  The escape routes must be designated in the Safety Plan and considered in the light of the programme of works as local conditions may require local adjustment of a safe route from time to time.

If there is any doubt as to the fire safety arrangements, the Local Fire Safety Officer is to be contacted and requested to inspect and comment upon the arrangements.

6.3	Management Requirements – Welfare

The client has a duty under CDM 2015 to ensure that welfare facilities sufficient to comply with the requirements of Schedule 2 are provided throughout the construction phase. This includes the provision of:

- Sanitary Conveniences

- Washing Facilities

- Drinking Water

- Accommodation for Clothing

- Facilities for Changing Clothing

- Facilities for Rest

Furthermore, under the Regulations the client shall ensure that the construction phase does not start unless he is satisfied that the requirements for the provision of welfare facilities will be complied with during the construction phase.

6.4	Management Requirements – Other Relevant Legislation

The client insists the following legislation is adhered to on this site. These are delegated legislation under the Health and Safety at Work, etc. Act 1974. Please note the list of applicable regulations below is not exhaustive.

Management of Health and Safety at Work Regulations 1999

The Principal Contractor must detail how he plans to carry out risk assessments and method statements for their work and how he plans to ensure that sub-contractors do the same to a sufficient standard.

Working at Height Regulations 2005

The Principal Contractor is to be responsible for ensuring a safe system of work at height is adopted. All work at height is t be in accordance with The Working at Height Regulations 2005 (WAH 2005). As part of these regulations duty holders must ensure:

- All work at height is properly planned and organised;

- Those involved in work at height are competent;

- The risks from work at height are assessed and appropriate work equipment is selected and used;

- The risks from fragile surfaces are properly controlled; and

- Equipment for work at height is properly inspected and maintained.

A competent person is required to carry out certain regular inspections of plant and equipment. The nominated person is to be noted in the Construction Phase Plan and Registers are to be maintained on site.

The Manual Handling Operation Regulations 1992, as amended 2002

All Manual Handling to be carried out strictly in accordance with The Manual Handling Operation Regulations 1992 as amended 2002. Contractor is to consider the load, the individual, the task and the environment in all lifting operations.

Provision and Use of Work Equipment Regulations 1998

All work equipment is to be appropriately inspected, maintained and be provided with the appropriate protective guards or devices. Test certificates must be referred to in method statements and on site procedures where appropriate. Equipment should be stable, used in a well lit area with appropriate warning signs and a clear and unobstructed workspace. Work equipment is only to be used by appropriately trained and competent operatives.

Confined Spaces Regulations 1997

It explains the definition of a confined space in the Regulations and gives examples. It will help you assess the risk of working within a particular confined space and put precautions in place for work to be carried out safely.

Electricity at Work Regulations 1989

Suitable equipment designed for the purpose is to be selected and used according to the manufacturer’s recommendations. Permit to work systems to be adopted for appropriate tasks and protective systems such as residual current devices and reduced voltage systems should be used so far as is reasonably practicable. Control measures for overhead power lines must be installed as the site requires.

Personal Protective Equipment (PPE) at Work Regulations 2016

Employers have basic duties concerning the provision and use of personal protective equipment (PPE) at work. The main requirement of the PPE at Work Regulations 1992 is that personal protective equipment is to be supplied and used at work wherever there are risks to health and safety that cannot be adequately controlled in other ways.

Workplace (Health, Safety and Welfare) Regulations 1992

Construction sites are workplaces and should be organised to provide a working environment as described by these regulations.

Regulatory Reform (Fire Safety) Order 2005 (RRFSO)

The Principal Contractor must identify a responsible person and relevant persons affected by the work. Relevant assessments of fire risk and the implementation of preventive and protective measures to be carried out by the responsible persons as required by the RRFSO.

Control of Substances Hazardous To Health Regulations 2002 (COSHH)

Hierarchy of control to be adopted to prevent exposure of persons to hazardous substances.

Control of Asbestos Regulations 2012

Any Asbestos containing materials must be dealt with in accordance with The Control of Asbestos Regulations 2006.

Control of Noise at Work Regulations 2005

Work that creates excessive noise must be in accordance with The Control of Noise at Work Regulations 2005. This places requirements on the employer at certain noise levels.

Control of Vibration at Work Regulations 2005

Work that creates excessive vibration must be in accordance with The Control of Vibration at Work Regulations 2005. This places requirements on the employer at certain vibration levels. Consultation with the workforce is a legal requirement of these regulations.

Reporting Of Injuries, Diseases and Dangerous Occurrences Regulations (RIDDOR) 2013

The Principal Contractor is responsible for reporting accidents, dangerous occurrences and cases of reportable disease to the HSE if they occur on site. The Construction Phase Plan should demonstrate how the requirements of RIDDOR will be met.

6.5	Communication for Safe Management of the Site

The following points must be reflected in the Construction Phase Plan. Some may be covered by the Contractor’s own Safety Procedures laid down in their Health and Safety Policy but they must be specifically enforced on this site:

THE PRINCIPAL CONTRACTOR MUST ENSURE THAT:

- Operatives and subcontractors are fully conversant with appropriate safe working practices and are competent to carry out their work. All must have attended a site safety awareness course. All must have appropriate certificates of competence as required (e.g. operation of plant, scaffolding etc)

- All those visiting sites are to be inducted and the site hazards communicated.

- Normal hazards and safe methods of work are covered by risk assessments, COSHH assessments and Method Statements contained in the Construction Phase Plan. These risks are to be communicated to all persons affected by the works.

- The Constriction Phase Plan is brought to the attention of all operatives and subcontractors working on the site.

- Arrangements for monitoring and review of health and safety performance are in place.

- Health and Safety matters are reviewed at site and design team meetings.

- Personnel execute work with appropriate skills levels for the task being undertaken.

- An F10 (where necessary) is displayed on site that notifies the Health and Safety Executive (HSE) that the project has commenced. The F10 will be completed once principal contractor has been appointed.

- The Contractors Site Manager holds the Construction Industry Training Board (CITB) Construction Site Managers Safety Certificate or be of a similar standard of competence in safety matters.

7.0 THE HEALTH AND SAFETY FILE

The Health and Safety File produced at handover of the project should contain the information needed to allow future construction work, including cleaning, maintenance, alterations, refurbishment and demolition to be carried out safely.  Information in the file should alert those carrying out such work to risks and should help them to decide how to work safely. As the work proceeds contractors and designers should be aware of their obligations under CDM 2015 to produce this information.

An example of how a file is structured is detailed below although this list is not exhaustive. The layout and content of the Health and Safety File is to be agreed between the CDM Co-ordinator, Principal Contractor and Client prior to a start on site and included in their Construction Phase Plan.

1.	Introduction and Details of the project Team

This is produced by Greg Parry Consulting and explains the purpose of the file and highlights residual risks identified by the project team.

2.	Architect’s ‘as built’ drawings.

3.	Structural Engineer’s ‘as built’ drawings and design calculations

4.	As built drawings – Mechanical and electrical

Provided by the mechanical and electrical contractors or a sub-designer on their behalf.

5.	Planning Approval, Building Regulations Approval and Completion Certificate.

6.	Construction materials and products used and O&M Manuals (Building Fabric)

7.	Construction materials and products used and O&M Manuals (Building Services)

Details of manufacturer’s name, address and reference numbers for all major building material or components. All necessary information relating to the repair, maintenance, cleaning, alteration, adaptation and servicing of the building both internally and externally. This includes hazard data sheets, COSHH information and operation and maintenance manuals.

8.	Test and commissioning reports (Building Fabric and Services)

Test, inspection and commissioning certificates for example:

NICEIC Electrical Test Certificates

Water Hygiene Certificate

Minor Works GAS SAFE Test Certificates (Or equivalent mechanical works certification)

Fire Alarm Test Certificate

Emergency Lighting Test Certificate

Energy Performance Certificate

SAP Calculations

9. 	Location and nature of utilities

The Principal Contractor should liaise with the architect in order to provide an up to date as built services drawing for the location and nature of utilities.

10.	Guarantees

Original guarantee documents for all parts of the structure, plant and equipment covered by a manufacturers or installers guarantee.