Schedule C

T22 15/16 Hydrogen Generator System

Evaluation Criteria

Tenderers are required to demonstrate and provide evidence that meets or exceeds the specification (schedule A). Tender Submissions will be scored on the following criteria

| Score | Scoring of Tenders |
| --- | --- |
| 4 | Fully meets requirements and may offer a degree of additional benefits |
| 3 | Meets requirements, but with some minor reservations. |
| 2 | Meets some of the requirement, but with major reservations. |
| 1 | Unlikely to be able to deliver what HSE wants. |
| 0 | Cannot deliver what HSE wants or does not address the requirement. |

| Weighting | Description |
| --- | --- |
| 3 | Critical |
| 2 | Important |
| 1 | Standard |

See over page for evaluation table

Schedule C

T22 15/16 Hydrogen Generator System

| Tender Evaluation - Scoring Criteria |  |  |  |
| --- | --- | --- | --- |
| Criteria | Score (0-4) | Weighting (1-3) | Weighted Score |
| Hydrogen Generator capable of delivering at least 2200 ml/min of hydrogen at a pressure of up to 2 bar |  | 3 |  |
| Gas Purity of 99.999 or better% |  | 3 |  |
| Automatic cut off if a hydrogen leak is detected |  | 3 |  |
| Ability to cope with the irregular demand of hydrogen |  | 3 |  |
| Ability to work in unison and individually |  | 3 |  |
| Ability to restart after stand still period |  | 3 |  |
| Warranty Period (24 Months) |  | 2 |  |
| On Site Training |  | 1 |  |
| Maintenance (support and breakdown cover) |  | 2 |  |
| Delivery |  | 1 |  |
|  |  | Total Score |  |