## Overview
Site | Assets | LP & TVP Samples Frequency | Temperature Check Frequency | Flow & Return Temp Check (Calorifier) Frequency | POU Water Heater Temp Check | TVC/E.Coli/Coliform Sample Frequency | Legionella Sampling Frequency | Calorifier Blowdown Frequency | CWST Inspection Frequency | TMV Service Frequency | Showerhead Clean Frequency | CWST C&D Frequency
Adams House | 10 xcold/7 hot/2x CWST/2x Cal/1xSh/5x TMV | 6 Monthly | Monthly | Monthly | N/A | 6 Monthly | 6 Monthly | Annual | 6 Monthly | 6 Monthly | Quarterly | N/A
Arch Hill Court | 12x cold/11xhot/2x Cal/1xSh/8x TMV | 6 Monthly | Monthly | Monthly | N/A | 6 Monthly | 6 Monthly | Annual | N/A | 6 Monthly | Quarterly | N/A
Broomy Close | 4x Hot/4x Cold/1xWH/4xTMV | 6 Monthly | Monthly | N/A | Monthly | 6 Monthly | 6 Monthly | N/A | N/A | 6 Monthly | N/A | N/A
Carter Court | 2x Hot/2xcold/2x TMV/1xWH | 6 Monthly | Monthly | N/A | Monthly | 6 Monthly | 6 Monthly | N/A | N/A | 6 Monthly | N/A | N/A
Community House | 14x cold/15x hot/13x TMV/5x WH | 6 Monthly | Monthly | N/A | Monthly | 6 Monthly | 6 Monthly | N/A | N/A | 6 Monthly | N/A | N/A
Coniston House | 3x hot/3x cold/1xTMV/2xWH | 6 Monthly | Monthly | N/A | Monthly | 6 Monthly | 6 Monthly | N/A | N/A | 6 Monthly | N/A | N/A
Derwent House | 3x hot/3x cold/2xTMV/2XWH | 6 Monthly | Monthly | N/A | Monthly | 6 Monthly | 6 Monthly | N/A | N/A | 6 Monthly | N/A | N/A
Drumart House | 15x Hot/17x cold/14x TMV/5xWH/2xCAL/2xSH/6x CWST | 6 Monthly | Monthly | Monthly | Monthly | 6 Monthly | 6 Monthly | Annual | 6 Monthly | 6 Monthly | Quarterly | N/A
Foley Grove | 17x cold/13x Hot/10x TMV/9xWH | 6 Monthly | Monthly | N/A | Monthly | 6 Monthly | 6 Monthly | N/A | N/A | 6 Monthly | N/A | N/A
France Community | 3x cold/3x hot/1xWH/3xTMV | 6 Monthly | Monthly | N/A | Monthly | 6 Monthly | 6 Monthly | N/A | N/A | 6 Monthly | N/A | N/A
Gamson Close | 3x cold/3x Hot/3xWH | 6 Monthly | Monthly | N/A | Monthly | 6 Monthly | 6 Monthly | N/A | N/A | N/A | N/A | N/A
Hampton Mews | 31x cold/30 hot/1x CAL/2xCWST/31xTMV/14xSh/12xWH | 6 Monthly | Monthly | Monthly | Monthly | 6 Monthly | 6 Monthly | Annual | 6 Monthly | 6 Monthly | Quarterly | Annual
Hornbeam House | 10x cold/8xhot/2x Cal/8x TMV | 6 Monthly | Monthly | Monthly | N/A | 6 Monthly | 6 Monthly | Annual | N/A | 6 Monthly | N/A | N/A
Neville Court | 9x cold/7x hot/2xCAL/2xWH/1xSh/6x TMV | 6 Monthly | Monthly | Monthly | Monthly | 6 Monthly | 6 Monthly | Annual | N/A | 6 Monthly | Quarterly | N/A
Oakleaf House | 17x cold/11xHot/10xWH/5xTMV | 6 Monthly | Monthly | N/A | Monthly | 6 Monthly | 6 Monthly | N/A | N/A | 6 Monthly | N/A | N/A
Purcell House | 12x Cold/9x Hot/9xWH/1xSh/8xTMV | 6 Monthly | Monthly | N/A | Monthly | 6 Monthly | 6 Monthly | N/A | N/A | 6 Monthly | Quarterly | N/A
Ruth Chamberlain Court | 16x cold/15x hot/2xCal/1xWh/6x TMV/2xCWST | 6 Monthly | Monthly | Monthly | Monthly | 6 Monthly | 6 Monthly | Annual | 6 Monthly | 6 Monthly | N/A | N/A
Sion Gardens | 5x cold/5x hot/2x CAL/1x CWST/4x TMV | 6 Monthly | Monthly | Monthly | N/A | 6 Monthly | 6 Monthly | Annual | 6 Monthly | 6 Monthly | N/A | N/A
The Woodlands | 30x hot/30x cold/1x Cal/13xWH/11xSh/24xTMV | 6 Monthly | Monthly | Monthly | Monthly | 6 Monthly | 6 Monthly | Annual | N/A | 6 Monthly | Quarterly | N/A
Walshes Community Centre | 7x cold/3x Hot/4x WH/ 3xTMV | 6 Monthly | Monthly | N/A | Monthly | 6 Monthly | 6 Monthly | N/A | N/A | 6 Monthly | N/A | N/A
William Bullock Close | 11x cold/10xHot/4xCal/2xCWST/2xWH/8xTMV/1xSh | 6 Monthly | Monthly | Monthly | Monthly | 6 Monthly | 6 Monthly | Annual | 6 Monthly | 6 Monthly | Quarterly | N/A
Windermere House | 3x cold/3x Hot/2XCWST/3xWH | 6 Monthly | Monthly | N/A | Monthly | 6 Monthly | 6 Monthly | N/A | 6 Monthly | N/A | N/A | Annual
Wribbenhall Community Centre | 8x cold/7x hot/1xCal/4xTMV/1xCWST | 6 Monthly | Monthly | Monthly | N/A | 6 Monthly | 6 Monthly | Annual | 6 Monthly | 6 Monthly | N/A | N/A
Berrington Court | 30x cold/24x hot/1x Cal/2x CWST/105 Sh/110xTMV | 6 Monthly | Monthly | Monthly | N/A | 6 Monthly | 6 Monthly | Annual | 6 Monthly | 6 Monthly | Quarterly | Annual
13 Truro Drive | 4x Hot/4x Cold/1xWH/2xSh | 6 Monthly | Monthly | N/A | Monthly | 6 Monthly | 6 Monthly | N/A | N/A | N/A | Quarterly | N/A
154 Sion Avenue | 3x Hot/3x Cold/1x WH/1XSh | 6 Monthly | Monthly | N/A | Monthly | 6 Monthly | 6 Monthly | N/A | N/A | N/A | Quarterly | N/A
56 Worcester Road | 4x Hot/4x Cold/1xWH/1XSh | 6 Monthly | Monthly | N/A | Monthly | 6 Monthly | 6 Monthly | N/A | N/A | N/A | Quarterly | N/A
94 Shakespeare Drive | 3x Hot/4x Cold/1xWH/1xSh | 6 Monthly | Monthly | N/A | Monthly | 6 Monthly | 6 Monthly | N/A | N/A | N/A | Quarterly | N/A
116 Queen Elizabeth Road | 2x Hot/2x Cold/1xWH/1xTMV | 6 Monthly | Monthly | N/A | Monthly | 6 Monthly | 6 Monthly | N/A | N/A | 6 Monthly | N/A | N/A
Fred Bennett Community Centre | 5x Hot/5x Cold/2xWH | 6 Monthly | Monthly | N/A | Monthly | 6 Monthly | 6 Monthly | N/A | N/A | N/A | N/A | N/A
Lister Road Community Centre | 11x Hot/13x Cold/1xCal/1XSh/4xTMV | 6 Monthly | Monthly | Monthly | N/A | 6 Monthly | 6 Monthly | Annual | N/A | 6 Monthly | Quarterly | N/A

## Month Breakdown
Site | Areas Covered | Monthly Temperature Checks (sentinel outlets & 10%) | Quarterly shower Clean & Disinfection | Six-Monthly CWST Inspection | Six-Monthly TMV Service | Six-Monthly Legionella samples | Six-Monthly TVC/E.Coli/Coliform samples | Annual Calorifier Blowdown | Annual CWST C&D | A Tap Descale (Communal areas)
Adams House | Communal | Every Month | Jan/April/Jul/Oct | Jan/July | Jan/July | May/Nov | May/Nov | Nov |  | Nov
Arch Hill Court | Communal | Every Month | Jan/April/Jul/Oct | Jan/July | Jan/July | May/Nov | May/Nov | May |  | May
Broomy Close | Communal | Every Month | N/A | N/A | Jan/July | Dec/June | Dec/June | N/A |  | Dec
Carter Court | Communal | Every Month | N/A | N/A | Jan/July | Dec/June | Dec/June | N/A |  | Dec
Community House | Communal | Every Month | N/A | N/A | Jan/July | Dec/June | Dec/June | N/A |  | Dec
Coniston House | Communal | Every Month | N/A | N/A | Jan/July | Dec/June | Dec/June | N/A |  | Dec
Derwent House | Communal | Every Month | N/A | N/A | Jan/July | Jan/July | Jan/July | N/A |  | Nov
Drumart House | Communal | Every Month | Jan/April/Jul/Oct | N/A | Jan/July | Jan/July | Jan/July | Jan |  | Jan
Foley Grove | Communal | Every Month | N/A | Jan/July | Jan/July | Dec/June | Dec/June | N/A |  | Jan
France Community | Communal | Every Month | N/A | N/A | Jan/July | Jan/July | Jan/July | N/A |  | Jan
Gamson Close | Communal | Every Month | N/A | N/A | N/A | May/Nov | May/Nov | N/A |  | Nov
Hampton Mews | All areas | Every Month | Jan/April/Jul/Oct | June/Dec | Jan/July | Dec/June | Dec/June | July |  | July
Hornbeam House | Communal | Every Month | N/A | N/A | Jan/July | Jan/July | Jan/July | Jan |  | Jan
Neville Court | Communal | Every Month | Jan/April/Jul/Oct | May/Nov | Jan/July | May/Nov | May/Nov | Nov |  | Nov
Oakleaf House | Communal | Every Month | N/A | N/A | Jan/July | May/Nov | May/Nov | N/A |  | Nov
Purcell House | Communal | Every Month | Jan/April/Jul/Oct | N/A | Jan/July | May/Nov | May/Nov | N/A |  | Nov
Ruth Chamberlin Court | Communal | Every Month | N/A | May/Nov | Jan/July | May/Nov | May/Nov | Nov |  | Nov
Sion Gardens | Communal | Every Month | N/A | N/A | Jan/July | Feb/Aug | Feb/Aug | Aug |  | Aug
The Woodlands | All areas | Every Month | Jan/April/Jul/Oct | May/Nov | Feb/Aug | Feb/Aug | May/Nov | May |  | Nov
Walshes Community Centre | Communal | Every Month | N/A | N/A | Jan/July | May/Nov | May/Nov | N/A |  | Nov
William Bullock Close | Communal | Every Month | Jan/April/Jul/Oct | Feb/Aug | Jan/July | May/Nov | May/Nov | Aug |  | Aug
Windermere House | Communal | Every Month | N/A | N/A | N/A | May/Nov | May/Nov | N/A |  | Nov
Wribbenhall Community | Communal | Every Month | N/A | N/A | Jan/July | May/Nov | May/Nov | Nov |  | Nov
Fred Bennett Centre | Communal | Every Month | N/A | N/A | Mar/Sept | Mar/Sept | Mar/Sept | N/A |  | Mar
Lister Rd Comm Centre | Communal | Every Month | Mar/June/Sept/Dec | Mar/Sept | Mar/Sept | Mar/Sept | Mar/Sept | N/A |  | Mar
Berrington Court | All areas for Shower C&D & TMV Service ONLY | Every Month (communals) | Jan/April/Jul/Oct | June/Dec | April/Oct | June/Dec | June/Dec | Sept | July | Sept
13 Truro Drive | Communal | Every Month | Feb/May/Aug/Nov | N/A | N/A | Jan/July | Jan/July | N/A |  | Jan
154 Sion Avenue | Communal | Every Month | Feb/May/Aug/Nov | N/A | N/A | Jan/July | Jan/July | N/A |  | Jan
56 Worcester Road | Communal | Every Month | Feb/May/Aug/Nov | N/A | N/A | Jan/July | Jan/July | N/A |  | Jan
94 Shakespear Drive | Communal | Every Month | Feb/May/Aug/Nov | N/A | N/A | Jan/July | Jan/July | N/A |  | Jan
116 Queen Elizabeth Rd | Communal | Every Month | N/A | N/A | N/A | May/Nov | May/Nov | N/A |  | Nov