## Cost Model
AW5.2 Price Schedule
SOURCING REFERENCE: |  | FM20084 |  | Bidders are required to complete all red highlighted cells in Tab 1 and Tab 2. Any bidder failing to complete all cells/tabs may not be considered further. For the avoidance of doubt the total compiled within cell D22 will be used for the evaluation of this procurement. The rates specified in Tab 2 Schedule of Rates will be used for the call off of all work under this Contract.
SOURCING DOCUMENT TITLE: |  | High Voltage Cable Leak Detection and Repair
BIDDER NAME |  | Bidder Name
Scenario Cable Route: Corridor 66kV Substation to REF Mill 66kV Substation
Carry out full flush of cable, replace existing fluid with PFT tagged fluid (8715 litres) and carry out detection of leak. The detection process has shown that the leak is within a 5m x 5m area. Excavate the area to expose cable and allow leak to be identified, this shows failure of joint, requiring joint to be replaced. Carry out works to replace joint, along with all necessary civils and earthworks to reinstate good ground (including disposal of contaminated ground). All costs associated with the disposal of Cable Fluid, contaminated soil, earth, sand/sand bag materials to an off site licensed operator are to be included in the costs below.
Item | Description | £ | Notes and Comments
1 | Carry out flush of cable, replacing existing fluid with PFT fluid (8715 litres) | 0
2 | Carry out detection of leak | 0
3 | Excavate area to expose cable and allow leak to be identified | 0
4 | Carry out works to replace joint, along with all necessary civils and earthwords to reinstate good ground (including disposal of contaminated ground) | 0
5 | Welfare provision i.e. portable cabin | 0
TOTAL |  | 0

## Schedule of Rates
AW5.2 Price Schedule - Schedule of Rates
SOURCING REFERENCE: |  | FM20084 |  |  | Bidders are to populate the rate card ensuring all relevant job titles/disciplines are included to perform the works detailed in the specification. Bidders are also required to confirm their overheads / profit margin and mark-up costs. Please add additional rows should they be required to ensure all rates are included. Day rates are to be based on an 8 hour day.
SOURCING DOCUMENT TITLE: |  | High Voltage Cable Leak Detection and Repair
BIDDER NAME |  | Bidder Name
Job Title | Standard Rate / Fees excluding VAT (£/Hour) |  | Standard Rate / Fees excluding VAT (£/Day) | Standard Rate / Fees excluding VAT for Equipment & Materials (£/Day) |  |  | Flat Fee | Percentage
| 0 |  | 0 | 0 |  | Overheads / Profit Margin / Mark up Costs
| 0 |  | 0 | 0 |  |  | 0 | 0%
| 0 |  | 0 | 0 |  |  | 0 | 0%
| 0 |  | 0 | 0 |  |  | 0 | 0%
| 0 |  | 0 | 0 |  |  | 0 | 0%
| 0 |  | 0 | 0 |  |  | 0 | 0%
| 0 |  | 0 | 0 |  |  | 0 | 0%
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0