The hazards identified for this stage of procurement are those identified by STSC prior to the site visit in order to assist the bidders in understanding potential risks when pricing and submitting their bid.  These may not be exhaustive and could be subject to change following the site visit.  Please note:  upon award of contract the successful bidder will be required to provide risk assessments and method statements in line with the agreed work method and STSC’s procedures.

| Copy and paste the tick as req. |  |
| --- | --- |
| HAZARD INDENTIFICATION |  |  |  |  |  |  |  |
| COMAH DANGEROUS SUBSTANCES |  |  |  |  |  |  |  |
| Benzole Absorbing Oil/Creosote |  | Diesel/Gas Oil |  | Pyrophoric Materials |  |  |  |
| Coal Tar |  | Gasholder Sealant |  |  |  |  |  |
| Crude Benzole |  | Heavy Fuel Oil |  |  |  |  |  |
| FURTHER RELEVANT JOB HAZARDS |  |  |  |  |  |  |  |
| Access and Egress |  | Dust |  | Interface |  | Rail Traffic |  |
| Adverse Weather |  | Electrical |  | Jetting Operations |  | Redundant Structures |  |
| Asbestos |  | Environmental Impact |  | Lead/Lead-Based Work |  | Remote Controlled Plant |  |
| Asphyxiant Gas |  | Excavation Work |  | Lifting/Slinging |  | Scaffolding |  |
| Auto Fire Systems |  | Falling Objects |  | Light Levels |  | Toxic Gas |  |
| Biological Agents |  | Fire/Explosion |  | Manual Handling |  | Transport/Vehicles |  |
| Bunker/Silo Work |  | Fork Lift Trucks |  | MEWPs |  | Underground Work |  |
| Cellars/Tunnels |  | Fragile Structures/Roof |  | Moving Machinery |  | Vapour |  |
| Chemicals |  | Fume |  | Noise |  |  |  |
| Commissioning |  | Ground Conditions |  | Openings/Edges |  |  |  |
| Confined Space |  | Hazardous Substances |  | Piped Services |  |  |  |
| Crane |  | Height Work |  | Power Tools |  |  |  |
| Demolition/Dismantling |  | Hot Work |  | Pressurised Systems |  |  |  |

SAFETY CONSIDERATIONS RELATING TO HAZARDS IDENTIFIED

STSC Task owner: Use this space to provide specific information (if required)

Access and Egress – cable routes may be in areas with restricted access. In these instances access requirements will be put in place by STSC. Adverse Weather - must be addressed in RAMS with all ongoing works. Dusts/Fume – some areas may be close to dust lift off in high winds. RPE equipment will be advisable in high winds in these areas. Electrical – All electrical work will be carried out in compliance with the Site HV Rules and Site LV Rules. Excavation Work - Any disturbance or scraping of ground, even with hand tools, is considered as excavation work under the STSC Excavation Policy which will require additional controls, including the issuing of an STSC Excavation Permit. Ground Conditions – cable routes may run through unmade ground i.e. rough terrain. Hazardous Substances – any oils/PFC’s/substances used must have the correct MSDS sheet and necessary COSHH assessments. Interface – cable routes may cross multiple land borders including Network Rail, correct permissions will need to be sought to allow works to commence in these areas. Light levels – some of the works may be in relatively remote locations, away from area lighting. This will need to be considered when planning work outside of daylight hours. Moving Machinery - Cables run in close proximity to transport routes, along which heavy machinery may travel. Precautions should be taken in these routes, aided by STSC where necessary. Power Tools – Any power tools used must be have a supply voltage of no greater than 110V. Transport/Vehicles – Cables run in close proximity to transport routes, along which cars, vans and heavy machinery may travel. Precautions should be taken in these routes, aided by STSC where necessary.