Small Works are to be priced and delivered using M3NHF Schedule of Rates and/or other pre-agreed rates. Scheduling/Tasking for Small Works will be issued by our respective Regional Offices.

**Birmingham** Install off road parking - Provide each property with a driveway, allow time for requesting permission to drop curbs from council. (occupants mounting curb and parking on front gardens due to limited parking on the main road - 4 properties

**Birmingham** Replace roofs, soffits, fascia's, guttering and downpipes. Remove chimney stacks x2 and replace loft insulation - 4 properties (flats)

**Bramcote** Renew D&W to 5 properties

**Bramcote** Replace D&W including lintels to 14 properties

**Bramcote** Replace Gates - 23 properties

**Bramcote** Misappropriated for 25 years - needs extensive work to change back from an office - 1 property

**Bramcote** 3x properties. Replace roofs & cast-iron guttering and replace with PVCu.

**Brecon** New gullies to be installed for boiler condenser pipe - 47 properties

**Cardiff** Provide residents with off road parking - 12 properties

**Cosford** Replace brown garage doors and painted frames - 54 properties

**Cosford** Remove over grown trees + roots in communal street x5 & x3 Install drain and parking bays + re-tarmac road and pathway. Remove nearest row of trees in front of property.

**Cosford** Type1 Prop upgrade - RWG & fascia's - replacement required, mixture of cast iron and PVCu. Movement cracks only (lath & plaster) - remove all plaster, investigate plaster work, skim and decoration required - tired - wallpaper to be removed, lined and painted magnolia. Replace kitchen and bathrooms under Archetype Programme. Replace D&W - 1 property

**Cosford** Archetype work 1 Kitchen / 2 Bathrooms/ 3 WC and redecoration and carpet - Remove 4 x bedroom sinks - rectify illegal drains - 1 property

**Cosford** Remove playpark equipment and fencing and prepare grounds for resurfacing in preparation of car parking facilities with the capability of installing EVCP points.

**Cosford** Bin replacement x47

**Donnington** Replace RWGs as they are deteriorating and failing - 27 properties

**Haverfordwest** Oil tanks to be replaced, relocated or fire break to be installed

**Haverfordwest** Playpark to be refurbished

**Kineton** Replace asbestos garage roofs and Garage doors including frames

**Lichfield** Repair downstairs fire damaged property to end of terrace property - Repair all fire damaged areas incl kitchen - 1 property

**Lichfield** Rewire 10 void properties - Known issues - no earthing

**Lichfield** Widen and retarmac x6 property driveways

**Lichfield** Parking - provide design to increase the parking at Lichfield. Would be ideal as EVCP areas

**Lichfield** Tarmac footpaths. Tarmac on footpaths deteriorated and tree roots penetrating through causing trip hazard.

**Lichfield** Roof replacement x 4

**Lichfield** Replace collapsed drainage system under 1 property.

**Shawbury & Shrewsbury** Replace roofs, soffits, fascia's, guttering and downpipes - 3 properties

**St Athan** Remove wet cavity wall insulation and install EWI whole house - 1 property

**St Athan** Demolish and rebuild Wagtail Road block garages (x6 garages)

**St Athan** Replace playpark equipment for age range up to 14 years old

**Tern Hill** Provide Security Fencing as properties are all facing open fields and are surrounded by civilian properties. - 36 properties

**Tern Hill** Outhouses - Replace X100 (asbestos) roofs

**Tern Hill** Provide parking spaces due to lack of spaces following handbacks

**Tern Hill** There are only a small number x10 properties at this street which are of concern. Roofs, fascia's and guttering's broken and damaged letting in water