## Tab 1 - M&E
Pricing Schedule: Mechanical and Electrical Consultancy Design Services
Table 1 Rates.
Item |  |  | Cost
Hourly Rate |  |  | £
Travel to site per mile, from practice office to any location |  |  | £
Disbursements Value |  |  | £
Teams Meeting one hour (Partner) |  |  | £
Two Hour Site Meeting (Partner) |  |  | £
Teams Meeting one hour (Engineer) |  |  | £
Two Hour Site Meeting (Engineer) |  |  | £
Clerk of Works Duties one hour |  |  | £
Procurement support three hours at Hudson Quay office |  |  | £
| Total £ |  | #VALUE!
Table 2 Design Percentage Fees.
Design Percentage Fees |  | % | Cost
£25,000 Twenty Five Thousand |  | %
£150,000 One Hundred and Fifty Thousand |  | %
£750,000 Seven Hundred and Fifty Thousand |  | %
£3.000,000 Three Million |  | %
Cost Summary
Cost from Table 1 |  | Total £ | #REF!
Cost From Table 2 |  | Total £ | #VALUE!
|  | Grand Total £ | #REF!
Company:
Name:
Signed:
Position:
Date:

## NA
Pricing Schedule: Mechanical and Electrical Consultancy Design Services
Table 1 Building Surveys & Design Work.
Building | Scope of Works | Budget Cost for project | Fee proposal for Design
Minor Project | Carry out an in-depth electrical mechanical survey ascertain condition of plant and equipment, obtain all necessary information from M&E service provider, review current EICR and provide a report with narrative for each discipline, report must be inclusive of photographs evidencing narratives. | £ | £
Small Project | Design Part 1 Fire Alarms System Open Protocol System Advance MCP and Hochiki Detectors and new soft skin red cabling inclusive of containment. System must extend into residential flats covering a LD2 category. | £ | £
Medium Project | Carry out sit survey and determine a replacement regime for the boiler plant and ancillary equipment. Replace current heating plant with Braog Boilers, replace existing plate heat exchanger unit, provide new BMS control panel. Pumps shall be Grundfos intelligent inverter driven, replace complete flue system | £ | £
Large Project |  | £ | £
| Total £ |  | #VALUE!
Table 2 Rates.
Item |  |  | Cost
Hourly Rate |  |  | £
Travel to site per mile (value must be from where the practice is based to Middlesbrough) |  |  | £
Disbursements Value |  |  | £
Teams Meeting one Hour (Partner) |  |  | £
Two Hour Site Meeting (Partner) |  |  | £
| Total £ |  | #VALUE!
Table 3 Design Percentage Fees.
Design Percentage Fees |  | % | Cost
£10,000 Ten Thousand |  | %
£100,000 One Hundred Thousand |  | %
£500,000 Five Hundred Thousand |  | %
£1.000,000 One Million |  | %
Cost Summary
Cost from Table 1 |  | Total £ | #VALUE!
Cost From Table 2 |  | Total £ | #VALUE!
|  | Grand Total £ | #VALUE!
Company:
Name:
Signed:
Position:
Date: