## Midsomer Norton Town Hall_Phase
Midsomer Norton Town Hall_Phase 1 Works_Door Schedule
Ref | Floor | Location | Nominal W x H Size | Closing Direction | Renovation Status | Quantity | Acoustic Rating | Fire Rating | Vision Panel | Self Closer | Notes
D.gf.001 | Ground Floor | Entrance from Market Square | 1,134x2,100 | Double Acting | Existing | 1 |  |  |  | No | Existing painted timber door.
D.gf.002 | Ground Floor | Main entrance from High Street | 1,275x2,010 | anti-clockwise | New | 1 |  |  |  | No | Painted Hardwood door to match original style.
D.gf.003 | Ground Floor | Draught lobby | 1,500x2,300 | Double Acting | New | 1 |  |  |  | No | Frameless glass door.
D.gf.004 | Ground Floor | Internal door to Market Hall | 1,500x2,410 | Double Acting | New | 1 |  | FD60s | Fully Glazed | Yes | Jansen EW60 steel framed, fire rated door and screen (ref W.gf.017 & W.gf.018)
D.gf.005 | Ground Floor | Accessible w.c. | 910x2,100 | anti-clockwise | New | 1 |  |  |  | No | Hardwood door and frame with Doc M Ironmongery & signage
D.gf.006 | Ground Floor | Community Trust Office | 910x2,100 | anti-clockwise | New | 1 |  | FD60s | 18g Vision Panel | Yes | Hardwood door and frame, rated FD30s, on self closer with 18g vision panel.
D.gf.007 | Ground Floor | Future door to new extension | 910x2,100 | anti-clockwise | New | 1 |  | FD60s | 18g Vision Panel | Yes | Hardwood door and frame, rated FD30s, on self closer with 18g vision panel.
D.gf.008 | Ground Floor | Temporary Escape Door | 840x1,960 | anti-clockwise | New | 1 |  |  |  | Yes | Hardwood door and frame, rated FD30s, on self closer. Panic Bar to Market Hall side. Dimension to be confirmed on site, to suit exisitng revela dims.
D.gf.009 | Ground Floor | Future door to extension escape route. | 910x2,100 | anti-clockwise | New | 1 |  | FD60s | 18g Vision Panel | Yes | Hardwood door and frame, rated FD30s, on self closer with 18g vision panel. Panic Bar to Market Hall Side
D.gf.010 | Ground Floor | Market Hall to Bar | 2,400x2,400 | anti-clockwise | New | 1 |  |  |  | No | Hardwood door and screen with gold inner lining to detail.
D.ff.001 | First Floor | Counselling room 01 | 910x2,100 | anti-clockwise | New | 1 |  | FD60s | 18g Vision Panel | Yes | Hardwood door and frame, rated FD30s, on self closer with 18g vision panel.
D.ff.002 | First Floor | Counselling room 02 | 910x2,100 | anti-clockwise | New | 1 |  | FD60s | 18g Vision Panel | Yes | Hardwood door and frame, rated FD30s, on self closer with 18g vision panel.
D.ff.003 | First Floor | New w.c's | 910x2,100 | anti-clockwise | New | 1 |  |  |  | No | Hardwood door and frame with w.c. signage.
D.ff.004 | First Floor | Counselling room 03 | 910x2,100 | anti-clockwise | New | 1 |  | FD60s | 18g Vision Panel | Yes | Hardwood door and frame, rated FD30s, on self closer with 18g vision panel.
NOTE: All opening dimensions, including arched heads, to be measured and confirmed on site, and manufacturers working drawings to be approved by design team, prior to manufacture and installation.