# Gloucestershire Shared Service for NHS

# On behalf of

Gloucestershire Hospitals NHS Foundation Trust

PROVISION OF BIO DECONTAMINATION SERVICES (HYDROGEN PEROXIDE VAPOUR) AND ULTRAVIOLET LIGHT TECHNOLOGIES

OJEU REFERENCE: TBA

CTM Tender Reference: RFT28084

Document 5 – Specification and Evaluation

1.	Purpose

1.1	This document details the specification and proposed methodology to be used to evaluate all tenders received from organisations invited to submit an offer.

1.2	The specification is set out in Appendix A.

1.3     There are 2 evaluation stages to this tender, and these different stages may be carried out by different evaluators, although evaluators shall be consistent in each stage for all offers:

a) 	Stage 1 - A formal evaluation of the tender submission by the relevant user or users of the product or service and evaluation against the criteria detailed within clause 2.2. - Stage 1 criteria below.  Elimination of Offerors may take place at this stage, in line with the stated criteria.

b)	Stage 2 - A presentation session will take place for the shortlisted suppliers to demonstrate their service offering.  This session will be evaluated in accordance with the criteria detailed within clause 2.2. - Stage 2 criteria below.

2. 	Award Criteria

2.1	The award criteria are designed to allow the selection of the tender that represents the most economically advantageous tender to the Trust, rather than lowest price alone.

2.2	The Trust will apply the following award criteria when evaluating the applicable parts of the tender:

| Stage 1 Criteria | Weighting |
| --- | --- |
| Financial Offer | 50% |
| Specification & Technical Provision of Services | 20% |
| Experience and Capacity | 15% |
| Quality | 10% |
| Implementation Plan | 5% |

| Stage 2 Criteria (Presentation) | Weighting |
| --- | --- |
| Decontamination Systems | 30% |
| Turn around availability of room | 20% |
| Flexibility of work – weekends, night and bank holidays | 10% |
| Monitoring of Efficiency | 20% |
| Statistics and Feedback | 20% |

3.	Evaluation Methodology

3.1	Tenders will be appraised both qualitatively and quantitatively but the Trust reserves the right not to appraise in detail any tender where the Trust considers that the prices offered are abnormally high or low. In these circumstances, the Trust may require the tenderer to provide further additional information to substantiate how their proposal will deliver a suitable solution and may at its absolute discretion (following receipt of this information) decide to exclude the tenderer from the procurement process and not to consider the tender any further.

3.2	The Trust, at its own discretion, may reject any tender which is not compliant. A tender shall only be compliant if it is submitted by the applicable deadline and complies with the requirements set out in the ITT.

3.3	In assessing tenders, the Trust will only consider information provided in response to the ITT and/or any supplementary documents provided by the Trust to tenderers as part of the procurement process.

Quality

3.4	Tenders will be evaluated as follows:

(a) 	responses to each of the section of the specification will be evaluated by (an) appriately qualified evaluator(s) in accordance with the weightings set out in this ITT;

(b)  	any criteria that are considered mandatory will be evaluated on a Pass/Fail basis. Any tenders that do not pass a mandatory or minimum requirement shall be disqualified from the process and will not be evaluated further; and

(c) 	in respect of tenders which have not been disqualified in accordance with (b) above, individual points (0 – 5) will be awarded for each criterion in the following manner:

| Assessment | Score | Interpretation |
| --- | --- | --- |
| Excellent | 5 | Exceeds the requirement: The response meets the required standard in all material respects and exceeds some or all of the major requirements. The response identifies factors that will offer potential added value, with evidence to support the response. |
| Good | 4 | Satisfies the requirement with minor additional benefits: The response meets the required standard in all material respects. The response identifies factors that will offer potential added value, with evidence to support the response. |
| Acceptable | 3 | Satisfies the requirement: The response meets the required standard in most material respects, but is lacking or inconsistent in others. |
| Minor Reservations | 2 | Satisfies the requirement with minor reservations: The response falls short of meeting the required standard in more than one identifiable respects. |
| Serious Reservations | 1 | Satisfies the requirement with major reservations: The response significantly fails to meet the required standard and/or contains significant shortcomings |
| Unacceptable | 0 | Does not meet the requirement: Does not comply and/or insufficient information provided. The response fails to meet the required standard. |

(d) 	Totals of the evaluations from each stage (Tender response and presentation) will be added together in order to determine the winning supplier(s). It is envisaged that the Authority may shortlist the number of suppliers invited to present based on the top scoring suppliers from the initial tender response (stage 1)

Price

3.5	The detailed pricing contained in the Offer Schedule (Document No. 6) will be used to determine the total costs of the tenderer's offer.

3.6	Prices will be scored on a comparative basis with the lowest price receiving 50% of the available marks. The score for each other tenderer will be scaled against the best score for price as follows: (lowest price/tenderer's price) X 50 (The weighting for the financial portion of this tender).

4.	Overall Assessment

4.1	Tenderers shall be assessed on all criteria advised.

4.2	The total awarded to a tender may be the sum of one evaluator or, where a panel of evaluators are used, either a panel agreed score or the sum of all evaluators’ individual scores.

4.3 	The score for all individual criteria shall be multiplied by any specified weighting to produce a total score for each offer. This overall score shall indicate the preferred tenderer(s).

4.4     The Trust reserves the right to restrict the maximum number of Suppliers to

take through to the Final Presentation Stage.

4.5     The Trust reserves the right to add or remove any internal and external sites

during the Contract term and also ad hoc decontamination where the Trust

has identified an infection concern.

4.6     It is anticipated that multiple contracts may be awarded from this tender

process. The Trust reserves the right to award the contract to their preferred

tenderer(s) based on the most economical advantageous tender.

Appendix A

PROVISION OF BIO DECONTAMINATION SERVICES (HYDROGEN PEROXIDE VAPOUR) AND ULTRAVIOLET C TECHNOLOGIES

Document 5 – Service Specification

- Introduction:

1.1	Gloucestershire Hospitals NHS Foundation Trust (GHNHSFT) was established as a Foundation Trust in July 2004. It is a large acute Trust, with around 7,000 staff working from 2 sites; Cheltenham General Hospital, and Gloucestershire Royal Hospital of approximately 960 beds.

1.2	The Trust provides acute hospital services to the population of Gloucestershire and beyond. The Trust is a centre of excellence for Oncology and has award winning Ophthalmology Services and many other clinical areas providing clinical excellence and ‘firsts’ across the UK.

1.3	Gloucestershire’s population is 566,000 covering an area of 1,000 square miles, comprising a mix of urban and rural communities.  The county has a relatively aged population compared with the UK average.

- Background:

2.1	In common with other NHS Trusts, GHNHSFT has already undertaken a series of deep cleaning programmes in a number of its units on an ad hoc basis.  These deep cleaning programmes were designed to reduce the instances of hospital acquired infection including, but not limited to, MRSA, Clostridium Difficile, Norovirus and Acinetobacter.  In addition the Trust currently has a provider for Bio Decontamination using Vaporised Hydrogen Peroxide.

2.2	The Trust now seeks, due to contract end, to re-contract formally with an organisation that can provide a managed bio decontamination (deep cleaning) and also provision of an Ultraviolet light decontamination service in accordance with its planned cleaning schedule.  The Trust’s objective is to secure the provision of a high quality and efficacious bio decontamination service to provide ultimate flexibility of access to areas needing decontamination.

2.3	The purpose of this specification document is to describe the future services required and as such represents the minimum service standard sought by the Trust.

3.	Cleaning Service to be provided:

3.1	The Trust has expressed a preference for a bio decontamination/UV Light method based on vaporised chemical bio decontamination agents and Ultra Violet light systems that are dispensed into the environment in a safe and controlled manner.  This system would be utilised in addition to its existing in-house and/or contracted manual cleaning methods.

3.2	The vaporised chemical agent/UV Light used must have proven biological efficacy against a wide range of nosocomial pathogens and be capable of being applied in areas containing sensitive electro-mechanical equipment without causing disruption to equipment performance.  It is preferred that Tenderers are recommended to Level 1 in accordance with the Health Protection Agency’s Rapid Review Panel Recommendations.

3.3      The frequency of the decontamination is expected 2 deployments to be on each site daily, Monday to Friday between 8 am to 4 pm with 6 callouts to be able to do nights or weekends when the need arises. Except a minimum of 2 deployments per day per site.

3.4   	The Contractor shall supply all labour, appropriate materials and specialised equipment for cleaning, except water. Cleaning materials and equipment including appropriate cleaning detergents and degreaser products must be provided at the beginning of each works session.

3.5	The contractor must provide COSHH information on all cleaning products with the tender submission.

3.6   	The Trust does not accept responsibility for any changes to the units /requirements indicated and any prices submitted shall not be subject to any shortfall payment.

3.7	The successful Tenderer will be expected to provide a comprehensive bio decontamination service to the Trust at various locations as required and as per Appendix 1 Site List, including, but not limited to:

Cheltenham General Hospital

Sandford Road

Cheltenham

Gloucestershire

GL53 7AN

Gloucestershire Royal Hospital

Great Western Road

Gloucester

Gloucestershire

GL1 3NN

4.	Information to be supplied by the Tenderer:

  - Tenderers are requested to submit their proposals for a vaporised chemical cleaning service, including the following information:

Bio decontamination

    - The type (name) of vaporised chemical proposed.

    - C.O.S.H.H. sheets associated with the product proposed.

    - A description of the equipment used to deliver the vaporised chemical.

    - A statement describing the efficacy of the vaporised chemical used including documentary evidence that the substance is effective in reducing nosocomial pathogens.  Evidence of recommendation by Health Protection Agency’s Rapid Review Panel is preferable.

    - A description of the practical benefits to the Trust of adopting a given vaporised chemical bio decontamination system.

    - Environmental impact data.

    - A detailed method statement describing the bio decontamination process to be undertaken by the successful Tenderer to include methods for sealing areas prior to decontamination (and any other related Health & Safety issues), approximate process timings and decontamination certification (where applicable).

Ultra Violet light

    - The application of the UV light process proposed.

    - The datasheets around exposure limits to non-=ionising radiation

    - A descriuption of the practical benefits to the Trust of adopting this UV light system in addition to bio-decontamination (including time limits, and exclusions of people and equipment)

    - Environmental impact data

    - A detailed method statement describing the Ultra Violet Light decontamination process to be undertaken by the successful Tenderer to include methods for sealing areas prior to decontamination (and any other related Health & Safety issues), approximate process timings and decontamination certification (where applicable).

5.	Statement Of Requirements

5.1	General Work Procedures

5.1.1	While on Trust premises, the contractor shall comply, and shall ensure that all contractor staff similarly complies, with the requirements of all relevant statutory safety legislation, including for example, the Health and Safety at Work Act 1974.

5.1.2 The contractor will be required to follow set Trust procedures including induction training, attendance on site, access, egress and security when working on Trust premises.

5.1.3 The contractor must at all times comply with each Trust’s Health & Safety, Fire Safety and Infection Control policy. This will be included in the Site Induction Training session.

5.1.4 The contractor must provide staff with company identification badges which must be displayed at all times.

5.1.5 The residue of chemicals including scale, sludge and grease deposits must not be discharged into the buildings drainage system. These must be removed from site by the contractor and disposed of in accordance with relevant statutory requirements

5.1.6  All waste cloths, materials and chemicals must be taken off-site and disposed by the contractor.

5.2	Health and Safety

Health and Safety in all aspects concerns everyone and safety rules and

Regulations must be observed.

- Health and Safety at Work Act 1974 together with all amendments, and guidance notes.

- BS8213 part 1 2004 Code of Practice for safety in use and during cleaning of windows and doors (including guidance on cleaning materials and methods)

- Manual Handling Operations Regulations 1992.

- Personal Protective Equipment Regulations 2002.

- Management of Health and Safety at Work Act 1999.

- Provision and Use of Work Equipment Regulations 1998.

- Workplace (Health and Safety Welfare) Regulations 1992.

- Control of Substances Hazardous to Health Regulations 2002 including provision of assessment sheets applicable to the substances and their use during the contract.

- Lifting Operations and Lifting Equipment Regulations 1998.

- Health and Safety in Construction HS(G)150 Page 40 Ladders.

- Reporting of Injuries, Diseases and Dangerous Occurrences Regulations 1995 (SI 3163:  1985);  SR 247:  1996 Reporting of Injuries, Diseases and Dangerous Occurrences Regulations (Northern Ireland) 1986;

- Management of Health and Safety at Work Regulations 1992 (SI 1992/2051);  SR 459:  1992 Management of Health and Safety at Work Regulations (Northern Ireland) 1992;

- Highly Flammable Liquid and Liquefied Petroleum Gases Regulations (SI 1972 No 917);  Highly Flammable Liquid and Liquefied Petroleum Gases Regulations (NI) 1975 (SR 256);

- The Work at Height Regulations 2005

5.3	Personal Protective Equipment and Hygiene

5.3.1  PPE must be provided by and maintained by the contractor.

5.3.2  The contractor staff must wear hygienically clean, protective clothing in accordance with Health and Safety Legislation.

5.3.3 The contractor must specify in the tender submission all PPE to be used to carry out the tasks set out in the specification.

5.3.4 The Trust Hand Hygiene procedure must be adhered to upon entering and leaving any department.

5.4	Risk Assessments and Method Statements

5.4.1 Prior to contract  implementation the Contractor will be required to carry out Risk Assessments and provide detailed Method Statements for carrying out the decontamination on areas listed together with a list of any chemicals that will be used during the contract.

5.4.2 All Method Statements must be approved by the contract lead at each

Trust, before the contract commences.

5.4.3 The method statement will be applicable to the specific area on a

particular site.

5.4.4 The method statement should include the following information:

- Sequence of tasks to be performed;

- The grade, competency and number of staff to carry out the tasks;

- The equipment to be used;

- The approximate time to complete the tasks;

- The documentation/report to be completed.

5.4.5 An example Risk Assessment and Method Statement must be included

in the tender submission.

5.5 Training Supervision and Competency

5.5.1 The contractor must ensure that all employees are given adequate

information, instruction and training.  All work must have sufficient

supervision to ensure compliance with the requirements of all relevant

statutory Health & Safety legislation and Trust procedures.

5.5.2 In the tender submission the contractor must provide evidence of

approved training undertaken by contractor staff.

5.5.3 The contractor should maintain a training programme and the training of

each employee should be recorded in a training log.

5.5.4 Preferably the contractor should only use directly employed staff to carry  out the cleaning contract. Where the use of sub-contract staff is unavoidable, the contractor shall obtain prior permission from Gloucestershire Procurement Shared Service and Trust Contract leads.

5.5.5 The contractor must ensure that any sub-contract staff are sufficiently experienced and have received all the relevant information, instruction and training required. This includes attending the Trust site Induction Training session.

5.5.6 All staff must have Disclosure and Barring Service (DBS) clearance. This information must be recorded and evidence must be included in the tender submission.

5.5.7 All staff must conduct themselves in an appropriate manner for working in a healthcare environment. Previous experience of working in a healthcare environment would be advantageous.

5.5.8 The contractor must be aware that they may be requested to stop work at any time if deemed necessary by Ward/Trust staff if incidents arise.

5.5.9 Evidence of industry standard accreditation must be included in the tender submission.

5.6 Confidentiality, Privacy and Dignity

5.6.1 When working in patient areas the contractor must respect the privacy  and dignity of patients at all times. Any access restricting notices or signage must be adhered to.

5.6.2 Bad language must not be used.

5.6.3 Any aggressive/intimidating behaviour will result in the offender being asked to leave site.

5.7 Work Completion Forms and Invoicing

5.7.1 Work completion forms must be accurately completed following a visit to

each site, and after any work is carried out in a specific area.

5.7.2 A signed and dated report form that includes the following details:

- The name of the premises

- Areas or rooms cleaned

- Date & Time completed – if work is not completed a return to site date must be pre-arranged with work completed within 7 days.

- Operative carrying out the work

- Signature of authorised signatory

- Any notes or comments resulting from the cleaning process

Failure to complete any of the above information may result in a delay to

invoice payment.

5.7.3 Invoices must be marked with the official order number issued upon award of contract.

5.7.4 Invoices should be submitted after a clean has been completed at each site.

5.7.5 Invoices should be sent to the individual Trust addresses as per below

Glos Hospitals NHS Foundation Trust

Gloucestershire Shared Services

PO Box 9031

Gloucester

Gloucestershire

GL1 2YZ

Remit invoices by email to: ghn-tr.glosfssap@nhs.net

5.8 Contractor Site Induction

5.8.1 All contractor staff must attend a Trust specific Site Induction training session prior to contract implementation. The site induction is renewable 12 monthly. The aim of the induction is to inform contractors what is expected of them in relation to undertaking their work in an efficient and safe manner whilst on the Trust premises.

The induction brief covers:

- Reporting and Signing in procedures

- Health, Safety and Welfare

- Fire Safety

- Infection Control and Hand Hygiene

- General Conduct

- First Aid

- Accident Reporting

- COSHH

- Personal Protective Equipment (PPE)

- Manual Handling

- Waste

- Car parking

- Site Access and Egress

- Organisation and points of contact

5.8.2  New staff joining the contractor must attend a Site Induction as soon as possible after commencement and prior to commencing work in the Trusts.

5.8.3  Details of each Trust’s Contractor Site Induction training sessions are on a pre-arranged date. The contact for Contractor Site Induction is Mark Turk, Estaes Compliance Manager, telephone : 0300 422 2521  .

5.9   Attendance on Site

- On arrival and prior to starting work

5.9.1 The contractor must sign in and/or report to designated personnel at each unit site.

5.9.2 The contractor must complete a Health Declaration form before commencing work.

5.9.3 The contractor must make an introduction in each area/department/ward to gain permission to commence work from the department head.  Authority to proceed must be gained before commencing work.

5.9.4 Access and egress procedures must be followed at each unit site as instructed during the Contractor Site Induction training session and as instructed by the site contact upon arrival at site on the day. This will include access and egress from main sites and individual ward areas.

5.9.5 Parking restrictions apply on all sites. There are a few spaces available for contractors which will be advised by the site contact upon arrival.

5.9.6 Any parking charges incurred will be the responsibility of the contractor.

- Whilst on Site

5.9.7 The Contractor must provide for the efficient protection of all persons using Trust sites.

5.9.8 The Contractor must keep all public highways clear of obstructions other than those permitted by the Police and Highways Authorities and shall not obstruct non-parking areas, within official boundaries which are required to be kept free.

5.9.9 The work is to be arranged so as to cause as little inconvenience as possible to the staff, visitors and patients.

5.9.10 Contractor staff are permitted to use welfare facilities which must be left in a clean and usable condition.

- On leaving site

5.9.11 The contractor must sign out and/or notify designated personnel at each unit site.

5.10 	Security

The contractor must ensure that all areas being cleaned are left secure at all times. All keys must be returned to the staff member/manager responsible for the area. If work is undertaken out of normal working hours, Main Reception must be informed upon leaving.

.

5.11 	Use of mobile phones, cameras, personal radios and smoking

5.11.1 Mobile phones can be used for work purpose only at Gloucestershire Hospitals NHS Foundation Trust.

5.11.2 Photographs of patients, staff and environments must not be taken. The publishing on any social media platform of comments, opinions or photographs regarding Trust premises is not permitted.

5.11.3 Personal radios must not be used inside Trust buildings.

5.11.4 Smoking is prohibited throughout all Trust premises and within site

boundaries.

6	Monitoring of Contract Performance and Key Performance Indicators

6.1 	The Service provider will be measured against the Performance Indicators set out in Appendix 2.

6.2 	The Trust’s contract leads will monitor the provision of the service in all key performance areas and will notify the Contractor of any non-conformity including date of incident and relevant evidence.

6.3 	Monitoring of contract performance is a critical part of this contract. Tenderers are invited to comment within their tender submission on the proposed KPIs Appendix 2.  Final clarification will take place during the implementation phase of the contract.

7. 	Application of Payment Deductions

7.1 	In accordance with the deduction calculation shown in Appendix 2, the contractor will deduct an amount (before the application of VAT) from the monthly invoice before submission to the Trust.

7.2 	Any disputes arising as a result of the application of this deduction system will be determined by recourse to the dispute resolution procedure set out in Document 3 – NHS Terms and Condition of Contract for the Provision of Services, Clause 22

7.3 	A “bedding-in” period will apply and no payment deductions will be applied for the first three months of the contract period.

7.4 	The maximum percentage deduction, resulting from the failure of the contractor to meet the KPIs set out in Appendix 2 will be 50% of the total invoice amount.

8.	Contract Review Meetings

8.1	The contractor is responsible for ensuring the contract is performed in accordance with the conditions of contract and the contract specification.

8.2	The contractor must undertake regular audits of the service to ensure it is being operated in accordance with the contract conditions and contract specification.

8.3    The Trust’s contract leads, Gloucestershire Procurement representative and contractor representative shall undertake quarterly initially and moving to bi-annual formal Contract Review meetings.

8.4 	The Contract Review meeting agenda will encompass the overall provision of the service in respect of operational issues, quality assurance/control, complaints, non-conformances, invoices and payments, communications and any other issues/concerns. The Contractor will provide a Quarterly Statistics Report on areas decontaminated and compare this to the Implementation plan.

8.5 	All formal meetings will be minuted by a Trust representative and actions noted with required dates for completion.

- Experience Capacity and References

Tenderers are required to submit details of specific experience in order to demonstrate their capacity to meet the requirements of the specification.

Tenderers are required to submit comparable reference sites (min 3) with contact details.

- Implementation Plan

Tenderers are required to submit details of their project implementation plan which would be initiated following contract award

11	Site Surveys

Tenderers are invited to undertake optional site surveys prior to tender submission.  These site surveys should be arranged between 26th June 2017 to 30th June 2017.

- To view the site please contact Paul Garrett, Deputy Nursing Director, on 0300 422 6305  Appointments must be made beforehand.

12.	Contract Period:

  - Any contract awarded as a result of this tender process will be for a period of 3 years anticipated to commence 1st October 2017. The Trust may extend any contractual arrangement for two further periods, each of twelve months duration.

13.	Contract Review:

  - Following contract award, Authorised representatives of the Trust will meet with Service Provider representatives to discuss contract implementation in accordance with the schedule of work.

  - At a time to be agreed between the parties (but not later than 9 months from the start of the Contract), a meeting will take place to fully review contract outcomes, including adherence to work timetable, infection control issues, day to day operational issues and any requirement to extend the contract in-line with the Contract Period (section 5 – above).

14.	Contract Price:

14.1	Tenderers are requested to indicate their service charge rates on the Offer Schedule (Document 6).

14.2	Prices submitted should be firm for the first 3 years of the contract (initial contract period).

15.	Payment:

15.1	Invoices for work carried out must be submitted monthly in arrears.

16.	Management Information:

16.1	The Service Provider will be expected to document decontaminated areas and issue the Trust with formal decontamination certification as required.

.

Safeguarding of vulnerable adults and children

Where any individual is required to work unsupervised either directly with, or in the same environment as, vulnerable adults or children, or have access to personal identifiable data on such patients the requirements for these personnel is enhanced.  This may require enhanced DBS checks to be carried out or may involve some safeguarding registration or training. Any DBS checks or safeguarding registration shall be borne by the contractor, and training of such staff may be checked to confirm level of compliance with Trust practices.  In some circumstances the contractor personnel may be required to complete a Trust training session.

Information Governance

Information Governance is concerned with the safety and appropriate access to electronic systems storing or transmitting personal identifiable data.

The solution must comply with NHS standards for Information Governance. tenderers must state whether they have completed a Connecting for Health Toolkit submission for Commercial Third Parties (CTP)?  If YES please provide the Reference Number and Name under which it is registered. If you have not yet completed a Connecting for Health Toolkit submission for Commercial Third Parties (CTP) you must do so before submitting your response to this ITT.  In your response to this ITT you must provide the full details of your submission, with supporting evidence.  The toolkit is available at https://www.igt.connectingforhealth.nhs.uk/RequirementsList.aspx?tk=695408553&lnv=4&cb=12%3a31%3a56&sViewOrgType=12&sDesc=Commercial+Third+Party+(complex)

Access and Egress from Trust sites for delivery of products and contractors arriving on site for completion of work.

Tenderers are requested to access and egress from Trust sites, as required, to minimise health and safety issues to staff and patients as well as contractors and couriers. Information on access routes into and out of sites, delivery points and opening times are available on request or on site: www.glosprocure.nhs.uk.

Health and Safety compliance is required for all tenderers providing products or personnel into site and relevant policies regarding permits, parking, etc will be available from the user departments on contract award.

Offers and Payment terms

The NHS payment terms state a standard payment period of 30 days for all contracts.  However, payments from Gloucestershire Trusts could be made earlier if these earlier payments attracted a discount from the base prices offered. Please state any discounted prices for <10, 14 or 15> day payment terms in your tender.