Gas & Heating Maintenance and Responsive Repairs

Key Worker Accommodation at Royal Shrewsbury Hospital

Requirements and Specification

(Document B)

Ref: RHA_Shrews_Gas_Maintenance

- Contact Background

Rooftop Housing Association Limited (Rooftop) currently owns and is responsible for the maintenance and upkeep of the staff and keyworker accommodation at The Royal Shrewsbury Hospital.

The maintenance contract has always been separated from Rooftop’s main repairs and maintenance contract due to the geographical location of Shrewsbury which is a significant distance from where Rooftop predominantly operates in South Worcestershire and North Gloucestershire. Rooftop’s head office is located in Evesham.

2.0	Specification

General Overview of Maintenance Services

Rooftop requires a Service Provider that can provide a quality gas and heating maintenance and a responsive repairs service to Rooftop’s staff and keyworker accommodation at The Royal Shrewsbury Hospital.

This will generally comprise of the following:

- Plumbing

- Gas and boiler repairs and installations

- Annual gas safety servicing

- Emergency call outs

The accommodation is a complex of four bedroom houses and four bedroom apartments which are all shared accommodation.

In total there are:

- 96 student rooms

- 68 general staff accommodation rooms

- 32 on call rooms

- 32 rooms allocated to office staff

For additional works or works which are anticipated to be £3k or over, Rooftop reserves the right to seek quotes from other Service Providers.

General Conditions for Operations

The Service Provider shall undertake all operations in a timely manner to ensure that the works are completed within the agreed period of time set out in the works order.

Response repairs and timescales are as follows:

- Emergency (responded to and completed or made safe within a target of 24 hours). The types of work which will be classified as emergency are:

- Hazardous premises

- Gas escapes

- Sole toilet and washing facilities not working

- Total loss of heating and hot water

- Severe burst pipe/major leak

- Urgent (responded to and completed within 5 working days). The types of work which are classed as urgent are:

- Partial loss of heating/hot water

- Repairs which may cause damage if left unattended to, such as leaks

- Repairs causing significant nuisance to residents, such as loss of partial wash and bathroom facilities

- Routine (responded to and completed within a target of 20 working days subject to resources and capacity of trades teams)

Normal working hours are between 09:00 and 17:00 Monday to Friday. Times outside these hours is classified as out of hours.

Emergency work may be requested or authorised by us after hours and on weekends if absolutely necessary.

The Service Provider will not assume that weekend working is permitted and shall seek the explicit permission of Rooftop (which shall not unreasonably be withheld) to work specific weekends or public holidays. Unless responding to reactive emergency callout work specifically requested by Rooftop or an out of hours operator working on behalf of Rooftop.

Rooftop retains the right to prioritise tasks, or to defer or prohibit the Service Provider from undertaking work in certain sites at certain times by reason of specific events or circumstances which shall be notified to the Service Provider, for example, other contractor working on site or public events.

Quality Standards

Rooftop Housing places a high priority on customer service, customer care, customer safety and good customer relations. To this end the service provider shall ensure that all responsive repairs and  maintenance work is done in an efficient manner with the following standards been in place at all times:

- The Service Provider must maintain accurate records on inspections, servicing and maintenance and provide these to Rooftop regularly.

- Rooftop requires that all waste material produced in the execution of the contract, including demolition, be removed from site.

- All sites must be left clean and to the satisfaction of Rooftop.

- The repairs and maintenance work should take place between the hours of 09:00 and 17:00 Monday to Friday, unless emergency work to be done outside of these hours or over a weekend.

- The Service Provider will be expected to ensure their staff are always dressed in an appropriate uniform whilst working on the site.

- The service providers vehicles must not be driven or parked in such a way that they cause unnecessary or unreasonable obstruction to pedestrian or vehicular movement.

- The service providers employees must not make unreasonable noise when carrying out services.

- All gates / doors etc found closed on entry shall be left closed on completion of the service.

- The service providers employees shall always conduct themselves in a proper manner. They should show courtesy and consideration to our customers and the general public as well as Rooftop Housing or NHS staff that work on the site.

- The service providers employees shall always exercise care in order to avoid damage to residents’ property. The service provider will be responsible for all damage caused by their operations.

- Vehicles must not be driven or parked in such a way that they cause unnecessary or unreasonable obstruction to pedestrian or vehicular movement.

Applicable Regulations and Standards

- Gas safe registered

- Those who deal with the removal of such waste must be a ‘Registered Waste Carrier’ under the Duty of Care within the Environmental Protection Act 1990

- All works must be carried out in line with British Standard BS5839

Complaints

Complaints about the service will generally be investigated by Rooftop through its standard complaint’s procedures. This will require liaison with the Service Provider. When requested, the Service Provider shall commence investigation of a complaint no later than 24 hours from the receipt of the complaint and provide a response within 3 working days. The Service Provider is deemed to have provided in its tender for all such investigations consequent upon the receipt of a complaint whether or not the investigations indicate a fault in the services or result in the need for remedial action.

Health and Safety Considerations

All service providers are expected to be fully compliant with all relevant Health and Safety legislation. The service provider and its sub-contractors shall comply fully with the Health and Safety at Work Act 1974, the Health and Safety Executive and with all other relevant safety requirements and appropriate codes of practice.

The Service Provider shall always ensure that the services are carried out in a manner that does not endanger the health or safety of their employees, our customers, members of the public, Rooftop Housing employees or NHS staff.

The Service Provider shall provide relevant insurance and health and safety documentation prior to the commencement of any contract agreement. They will always ensure that the services are carried out in a manner that does not endanger the health or safety of their employees, our customers, members of the public or Rooftop employees.

The Service Provider’s staff will be adequately trained and qualified and should wear the required protective clothing and identification. The Service Provider must allow for carrying out all operations in a safe and professional manner, including the provision of warning signs etc where necessary in order to comply with current Health and Safety at Work legislation and relevant Law.

The Service Provider shall devise and operate their own routine, representative and validatable Health and Safety control system to ensure that all the contract standards are being complied with and that the provision of the services is in a manner which will enhance the public's perception of Rooftop.

Should Rooftop at any time not be satisfied with the standard or manner of service provision, we shall take such remedial steps to rectify any deficiency at once. Rooftop shall have the right to suspend immediately any operation of the service provider that is considered to be dangerous. This could be by direct verbal direction to the service providers employees. Such instruction to be confirmed electronically to the service provider as soon as possible.

The Service Provider will be responsible for providing all appropriate equipment and chemicals, in order to deliver the services outlined. The service provider will be required to provide copies of risk assessments, method statements and where applicable COSHH documentation to Rooftop before any work within the contract can begin.

Third Party Injury/Damage to Property

The Service Provider shall take all necessary precautions when carrying out the services of this contract, to avoid causing damage to anything, object or surface including the highway, plant, street furniture, private property, vehicles, soft or hard landscaping etc.

Any damage so caused by the Service Provider shall be brought to the attention of the Rooftop immediately and shall subsequently be replaced or made good by and entirely at the expense of the service provider. The Service Provider should ensure their operations do not interrupt the free passage of vehicles and pedestrians. The service provider will deal with and be responsible for all aspects of any claims made in respect of alleged injury, damage etc, caused by its vehicles or employees or any other parts of its operation. The Service Provider must be fully insured in this respect.

Costing Requirements

Bidders are required to complete and submit Document D as part of their tender submission. Bidders are also encouraged to read Document A to understand how the costing element of the tender will be scored.

When completing the pricing submission, bidders should consider the following:

- Prices should be excluding VAT;

- The prices within your submission must be your best and final offer

- Bidder’s prices shall be treated as confidential;

- Payment terms of 30 days net from invoice should be assumed;

- Through market research and benchmarking, Rooftop has a good understanding of what competitive looks like in the current market;

- Contract Management

Representatives from Rooftop would require meetings with the Service Provider on a pre-agreed basis. This likely to be monthly initially and then become quarterly with the agreement that if standards were to fall then meetings would return to monthly. We would require a named person that will be responsible for managing the services that are within the contract.

KPI’s will be mutually agreed between Rooftop and the Service Provider. The Service provider will be required to complete a percentage of site audits and report their findings back to Rooftop. Contract meetings would review performance through the use of KPI’s and discuss audit / post inspection results.

Service Level Agreements

The bidder is required to define the applicable service level agreements when completing their responses in Document D. Following the award stage, the final service level agreement should be applied to the contract with Rooftop.

4.0	Other Requirements

## Equality and Diversity

As Rooftop is strongly committed to equality and diversity, part of this commitment is to encourage companies and organisations working with Rooftop to demonstrate equalities in employment and service delivery. Rooftop has a duty to ensure that money spent through this contract is done in a way that ensures best value, supports sustainability and is in line with the Equality Act 2010 and Public Sector Equality Duty April 2011. Rooftop therefore expects service providers to ensure that they adopt, follow, and demonstrate the same principles. Any allegation of discriminatory behaviour or harassment will be investigated thoroughly by Rooftop and appropriate action will be taken.

## Data Protection

Rooftop holds a wide range of sensitive information, both of a personal and a commercial nature. We have a duty to protect this information and ensure it is not seen or accessed by people without the legal authority to do so.

This contract will be covered by UK General Data Protection Regulation (“GDPR”), as such the successful service provider is required to comply with the relevant UK data protection legislation, all other applicable laws and regulations in any jurisdiction relating to or impacting on the processing of personal data including, Data Protection Act 2018, together with all legally binding guidance and codes of practice issued or adopted by a regulator (or group of regulators) with jurisdiction over the data processing arrangements contemplated in the contract, all as may be amended, supplemented or replaced from time to time, plus any current or future Rooftop Housing Group  Data Protection policies in the execution of the contract.

The Service Provider will be required to agree to Rooftop’s data processing agreement.

Rooftop may also conduct a Data Protection Impact Assessment (DPIA) on the Service Provider if the contract involves the processing of customer or colleague personal data. The Service Provider will be required to assist Rooftop in undertaking the DPIA.

## Social Value

Rooftop are committed to abide by the legislation introduced by the Public Services (Social Value) Act 2012 and we will always consider how we can improve the social, environmental, and economic well-being of communities when undertaking procurement activities. Rooftop will work with the appointed service provider to identify opportunities to develop social value initiatives during the contract term.

## Insurance

A copy of the relevant insurance certificates to be provided to Rooftop annually upon renewal.

- Employers’ liability – £5 million

- Public liability – £10 million

If any event occurs which may give rise to any claim or proceeding in respect of loss or damage to persons or property arising out of the services, the service provider must give notice in writing to Rooftop and the insurers. The service provider must indemnify Rooftop against any loss which may be caused by the failure to give such notice.