HM Land Registry Croydon Lift Replacement Project

Ref:

Contents

- Introduction

- Site Restrictions

- Background and Supporting Information

- Outputs

- Full Requirement

- Budget

- Proposed Programme

- LR Contact Details

Introduction

Technical Design and Project Management of Lift Replacement Project at HMLR Croydon Office

The 8-floor Croydon Office currently operates three mid-range Univers machine room less lifts manufactured, designed and maintained by ThyssenKrupp (and supplied from France). The lifts were originally installed in 2006.

Following frequent Lift failures in the last 6 months, and a lack of assurance in terms of short-term reliability, a decision has been made to replace all three Lift units.

A suitably competent specialist Lift consultant is required to develop and manage this Project, including the following outputs;

- Response to this brief outlining your recommended course of action and your Fee Proposal for the services detailed below

- Full design and specification for each phase, including;

  - Development of Technical Design (inclusive of open-protocol systems)

  - Preparation of Technical Specification for Tender competition

- Procurement, including

  - Selection of suitable Contractors for Tender competition

  - Evaluation of Tender Bids

  - Tender Report Recommendation

- Project Management of each phase of construction, including;

  - Approval of Scope of Works

  - Project Management of Installation

  - Project Handover

Site details:

Site Address: Land Registry Head Office, Trafalgar House, Bedford Park, Croydon CR0 2AQ

- The Land Registry Head Office practical completion was 2007.

- The main building is located off a main road and backs onto a rear courtyard area. A small car park is located to the rear of the building accommodating six vehicles.

- The main building is a nine-storey steel framed building, with concrete floor slabs supported by the grid work of beams. The outer leaf of the building is clad with lightweight cladding panels with inset powder coated aluminium double-glazed windows. The main roof is a flat roof structure assumed to be concrete with single ply membrane coverings. To the main roof, a metal louvered steel structure with a curved steel roof detail has been provided above the external roof top plant and roof top access stairs.

- Internally the property is fitted out with solid and glazed demountable partitions together with plastered masonry walling, suspended and concrete ceilings and timber door sets. A central core has been provided which contains the main lift shafts, WC accommodation and access stairs. A separate independent staircase is also available to the West elevation.

- The property includes a small car park located to the under croft of the first floor area to the rear of the site housing six bays. Cycle storage facilities are provided to the rear yard.

- The property is 4309m2 and comprises nine floors which are predominantly open plan.

- The building is split between Land Registry Croydon Office (Floors 2-3) and Land Registry Head Office (Floors 4-7). Building headcount is approx. 350 with frequent visitors.

- The 8th floor comprises Breakout area, Meeting Rooms and Gym.

Site Access:

All site access should be coordinated with LR Senior Facilities Business Partner

- Luke Carman (Senior Facilities Business Partner)

- Mobile: 07920 234 281

- Email: Luke.Carman@landregistry.gsi.gov.uk

Background/Supporting Information

| Appendix 1 | Building Condition Survey dated xx/xx/xx |
| --- | --- |
| Appendix 2 | Building Log book |
| Appendix 3 | LR’s Procurement Policy |
| Appendix 4 | Land Registry Compliance Policies and Guidance, including H&S, Sustainability Policies and Environmental Requirements for Building Works and Projects |

Scope of Work

Full Requirement

Review the information provided by LR including information all which has been included in this document.  and highlight what, if any, further investigations are required in order to ensure designs are viable and accurate. If further surveys/advice is required, please provide justification and costs.

Within the Response to Brief, provide a fully costed proposal to both the LR Project Lead and LR’s Procurement (see contact details) on how to develop this brief, including a quotation for developing the provided proposals to working drawings for tendering if is decided not to proceed. This should include;

- Names, disciplines, Job Titles and fee rates of the people who will be working on this project.

  - Number of hours per person to complete each of the areas outlined in this briefing

  - Where the time is dependent on any outside bodies response, stating times that are reasonable estimates could vary.

Full design and specification for each phase

- Attend site and carry out detailed survey of lift installation.

- Identify all services provisions and interfaces.

- Review all attached documentation to assess and agree accuracy and suitability for use as the basis for the design of this project.

- Provide estimated cost of project with breakdown of all aspects i.e. builders work, strip out, lift installation, electrical works, contingency sum, ongoing maintenance.

- Produce a detailed Site-Specific lift specification and design drawings compliant to all relevant legislation

- Schedule all building and services works

- Act as Principal Designer as defined by the Construction (Design and Management) Regulations 2015 (CDM 2015)   including;

  - Making F10 Notifications where necessary,

  - Producing Pre-tender H&S information,

  - assessing all contractors’ method statements and risk assessments.

  - Monitor compliance by contractor on site.

  - Ensure assembly of H&S File upon completion.

- At both pre and post-lift contractor appointment stages, seek advice from, and liaise with, HMLR’s advisors and other subject matter experts as required.

Procurement Requirement

Pre-Tender Activity

In collaboration with LR’s Procurement lead, produce tender documentation, including

- Specification and Design

- Terms and Conditions

- An Evaluation Criteria

- Recommended Method of Evaluation, e.g. Tender Board or via Report

- the recommended procurement options in accordance with LR Procurement Policy, attached at Appendix 3.

Post Tender Activity

Tender review board

Provide a tender report covering the following;

- Introduction

  - Scope of supply, ie Goods or Services

  - Scene and Context setting

- Commercial Procedure

  - Purchasing process

  - Purchasing Approach, ie How was it and how will be organised

  - Supplier Selection, ie route to market, via:

  - Justification why particular route to market

- Key issues of the contract

  - Benefits

  - Contract Form

  - Contract Value

  - Contract Period

  - Contract Terms and Payment

  - Metric, Monitoring and Improvements

  - Period of Quotation validity

- Risks, i.e. Technical, Time, Money, Communications and Information.

- Safety and Environment, how is this being arranged

- Financial Information, Anticipated payments profiles, maintenance implications.

- Project Team, Roles and Responsibilities

- Decision Matrix, to include

  - Cost Breakdown, including any Liquidated Damages

  - Against the agreed evaluation criteria, to include any or all of

    - Price

    - Quality

    - Technical Capability

    - Timeline

    - Plus, any agreed weightings

- Recommendation

Project Management Requirement

Land Registry’s Project Management requirement is as follows:

- Developing the project plan

  - Charting out the project objectives and plans, setting performance requirements, development of work program and selecting project participants.

  - Review the information provided by LR including all information included in this document.

- Managing the project stakeholders

  - Identify all stakeholders

  - Serve as a key link between LR and all contractors delivering the works

  - Communicate effectively with the contractors responsible for completing various phases of the project.

- Managing Communication

  - Develop and deliver a Communications Plan to ensure all stakeholders are fully engaged with the project.

- Managing the project risk

  - Maintain Project Risk Register

  - Monitor the progress of the construction activities on a regular basis and hold regular status meetings with contractors responsible for completing various phases of the project.

  - Maintain strict adherence to the budgetary guidelines, quality and safety standards.

  - Undertake safety inspections of the site whilst work is underway and ensuring regulations relating to health, safety and environment/sustainability are adhered to.

- Managing the project schedule

  - Oversee the construction project from start to finish in accordance with the project plan and make revisions when need arises.

  - Co-ordinate the efforts of all parties involved in delivering the project, ensuring that all construction activities are delivered in accordance with the predetermined schedule.

  - Ensure all project documents are complete.

  - Ensure all works are compliant with;

    - All relevant legislation

    - This briefing,

    - Land Registry’s policies and procedures

  - Completion of any required surveys and validation exercises to validate completion of work.

- Managing the project budget

  - Project accounting functions including managing the budget and minimizing exposure and risk in the project

- Managing the project conflicts

  - Represent LR's interest

  - Identify the elements of project design and construction likely to give rise to disputes and claims.

  - Development of effective communications and mechanisms for resolving conflicts among the various stakeholders

- Manage Project Handover

  - To manage a professionally handover of the project(s) including, but limited to, the following tasks;

    - Approve completion of Works, conduct handover of O&M manuals and manage subsequent defects period (if applicable).

    - Outline Project Close Out Activities incl. snagging – Status, Roles and Responsibilities Matrix

    - Details of all relevant Inspections

    - Detail of all Commissioning and Integrated Testing

    - Detail of Third Party Approvals

    - Provide all relevant Files, Logs and Manuals, including Operation and Maintenance Manuals and associated Health and Safety Files as applicable

    - Provide details of all Client and TFM Contractor Engagement and Training

    - Provide details of all Contractual Arrangements, including Completion Certificates and conducting a Formal Handover Meeting

    - Manage post Completion Arrangements, including Defects Close Out Strategy and Programme, Latent Defects Reporting Strategy and the capture of Lessons Learned Workshops

Proposed Programme

Proposed Project Objectives and Deadlines:

- Development of Technical Design and issue of Invitation to Tender: 15th Feb 2018

- Contract Award to Works Contractor (following competitive Tender): 31 March 2018

- Installation of complete Replacement Lift system: 31 March 2019

Guidance, Background and Supporting Information

Tender Response

- Response to Brief outlining Methodology for defined Activities and Objectives

- Fee Proposal

LR Contact Details

LR Lead(s)

| Luke Carman (Senior Facilities Business Partner) |  |
| --- | --- |
| Email | luke.carman@landregistry.gsi.gov.uk |
| Telephone Numbers | 07920 234 281 |

LR Procurement Lead

| Kevin Coxon, Procurement Manager |  |
| --- | --- |
| Email | lkevin.coxon@landregistry.gsi.gov.uk |
| Telephone Numbers | 0300 006 2614 / 07717 361175 |

Service Manager

| Nicholas Head, Head of Facilities Management, |  |
| --- | --- |
| Email | nicholas.head@landregistry.gsi.gov.uk |
| Telephone Numbers | 0300 006 6102 (Landline) 07775 702904 (Mobile) |