| Project: The Pirbright Institute (TPI) Site Steam Management and Boiler Maintenance |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date: 02/07/2021 |  |  |  |  |
| Purpose: The documents attached demonstrate the demarcation of responsibility for the maintenance of Steam systems at the Pirbright Institute between the successful Tenderer and TPI responsibility. |  |  |  |  |
| No. | Item | Drawing No. | Revision | Date checked |
| 1 | ASH STEAM P&ID | P001-WEL-STM-XX-SCH-001-PDF | 1 | 02/07/21 |
| 2 | BIGGS STEAM P&ID | P010-LEDA-STM-SCH-001 | 1 | 02/07/21 |
| 3 | ISO 11 STEAM P&ID | P011-AUS-STM-XX-SCH-002-PDF | 1 | 02/07/21 |
| 4 | ISO 11 ETP STEAM GA | P011B-LEDA-STM-XX-GA-001-PDF | 1 | 02/07/21 |
| 5 | ISO 11 ETP STEAM P&ID | P011B-LEDA-STM-XX-SCH-0001 | 1 | 02/07/21 |
| 6 | PMINCIN STEAM | P012-BAL-STM-XX-LAY-001-PDF | 1 | 02/07/21 |
| 7 | BSU STEAM P&ID | P036-BRI-STM-XX-SCH-001-PDF | 1 | 02/07/21 |
| 8 | PMI STEAM P&ID | P065-MSS-STM-XX-SCH-001-PDF | 1 | 02/07/21 |
| 9 | IS4L STEAM P&ID | P077-HBS-STM-XX-SCH-001-PDF | 1 | 02/07/21 |
| 10 | WESTERN BOILERHOUSE GA | P095-CFB-BOI-XX-ELE-001-PDF | 1 | 02/07/21 |
| 11 | WESTERN BOILERHOUSE P&ID | P095-CFB-BOI-XX-SCH-002-PDF | 1 | 02/07/21 |
| 12 | WESTERN BOILERHOUSE EXTERNAL P&ID | P095-CJB-STM-XX-SCH-001-PDF | 1 | 02/07/21 |
| 13 | PLOWRIGHT WEST STEAM P&ID | P501-SES-STM-XX-SCH-001-PDF | 1 | 05/07/21 |
| 14 | PLOWRIGHT NORTH STEAM P&ID | P502-SES-STM-XX-SCH-001-PDF | 1 | 05/07/21 |
| 15 | PLOWRIGHT EAST STEAM P&ID | P504-SES-STM-XX-SCH-001-PDF | 1 | 05/07/21 |
| 16 | EC1 WATER SERVICES | P505-SES-CHW-XX-LAY-001-PDF | 1 | 02/07/21 |
| 17 | EC1 GAS & OIL | P505-SES-OIL-XX-SCH-001-PDF | 1 | 02/07/21 |
| 18 | EC1 STEAM | P505-SES-STM-XX-SCH-001-PDF | 1 | 02/07/21 |
| 19 | 24m SAFETY VALVE SCHEDULE | N/A | 1 | 02/07/21 |
| 20 | MECHANICAL SERVICES ENERGY CENTRE COLD / SOFT / RO WATER SCHEMATIC | 6719-M-5042 RD7 | 1 | 05/07/21 |
| Closing comments |  |  |  |  |
| Drawings have been walked down and checked for accuracy. Please request any clarifications as required. |  |  |  |  |