Pass/Fail Criteria

| Mobile Solution | Can the requirement be met by the proposed solution? Answer “Yes” (pass), “No” (fail) |
| --- | --- |
| - The hosted service should be available 24 hours a day 7 days a week. |  |
| - The system must allow a PC client application or web-based solution to run on the iOS platform for remote connection |  |
| Hospital Based System | Can the equipment be met by the proposed solution? Answer “Yes” (pass), “No” (fail) |
| - The mobile solution camera will be capable of the following resolutions 720p at 30fps, 720p at 60 fps and 1080p at 30 fps at less than 1.8 Mbps. |  |
| - The mobile solution must be capable of operating separate from a mains electrical supply for a period no less than ‘2.5 Hours’ |  |
| - The ‘cart’ must be capable of housing a standard form factor Lenovo PC and have a work surface to accommodate a PC keyboard and mouse, this work surface must be adjustable in height from 0.8m to 1.1m. |  |
| - The mobile solution camera must height adjustable with a height range of 1.5m to 1.8m |  |

| Q1 | Please provide a schematic of the proposed service. |
| --- | --- |
| A1 |  |
| Q2* | Please provide details of a VaaS solution you have provided to a NHS Healthcare organisation. |
| A2 |  |
| Q3 | The supplier must provide details of the network bandwidth required at both the hospital and remote connection to support the available image resolutions. |
| A3 |  |
| Q4 | The mobile solution will provide a display that is suitable for a clinical environment and all appropriate hygiene requirements. |
| A4 |  |
| Q5 | Please describe and demonstrate how your proposed mobile solution screen will be capable of displaying: - the remote participant’s image, - self-image from the cart, - PC display simply switchable between PC and video display from the cart. |
| A5 |  |
| Q6 | Please describe and demonstrate how your proposed hospital based system will be capable of delivering sound to be adequately heard by participants in a busy ward environment. |
| A6 |  |
| Q7 | Please provide details of how the hospital based system would support the housing and connection of an NUH Lenovo desktop PC with its keyboard and mouse. |
| A7 |  |
| Q8 | The supplier must provide details of all adjustments available on the hospital based system including camera height. |
| A8 |  |
| Q9 | Please describe your proposed hospital based system high resolution camera and demonstrate that is capable of being fully controlled locally both in terms of direction (pan) and zoom. |
| A9 |  |
| Q10 | Please describe your proposed hospital based system high resolution camera and demonstrate that is capable of being fully controlled remotely both in terms of direction (pan) and zoom. |
| A10 |  |
| Q11 | Please describe how your proposed hospital based system would transmit and receive high resolution video and voice to the PC via the Trusts Wi-Fi network. |
| A11 |  |
| Q12 | Please describe and demonstrate how the mobile service can be accessed remotely from any PC, Apple Mac or iOS device. |
| A12 |  |
| Q13* | Please describe how your system allows remote PC connections from any location and any network address without any need for any reconfiguration of client or service. |
| A13 |  |
| Q14* | Please describe how the network connection from remote users will be monitored to alert users of any issues that will affect the service. |
| A14 |  |
| Q15* | The equipment leaving the hospital and the images being transmitted will need to meet NUH Information Governance requirements. Please describe how they will meet Information Governance requirements |
| A15 |  |
| Q16* | Please provide details of all of the support options available for: - system availability - on site response |
| A16 |  |
| Q17* | Please provide details of all of the support options available for: - system monitoring |
| A17 |  |
| Q18* | Please provide details of all of the support options available for: - remote access support |
| A18 |  |
| Q19* | Please provide details of all of the support options available for: - hospital based system support |
| A19 |  |
| Q20* | Please provide details of all of the support options available for: - service desk access |
| A20 |  |
| Q21* | Please provide details of all of the support options available including: • system availability |
| A21 |  |
| Q22* | Please provide details of all of the support options available for: - on site response |
| A22 |  |
| Q23* | Please describe your model of escalation after performing both telephone and remote support. |
| A23 |  |
| Q24* | Please provide details of how you will deliver the solution including but not limited to: - Detailed implementation plan - Project timescales - Resources - Associated risks - Mitigated actions - On-site training - User guides |
| A24 |  |

For those questions marked with an asterisk “*”NUH will require the Tenderer to make a formal presentation to the selection panel in support of its tender where requires clarification of the bid