FLANN MICROWAVE LIMITED

INVITATION TO TENDER – SOLAR PANEL AND BATTERY SYSTEM

REF:  NZ184

CLARIFICATIONS DOCUMENT

- A site visit is not mandatory

- Evidence of MCS and RECC membership of the tenderer is a requirement per section 6 of the ITT document.

- Half Hourly data has been uploaded as a Clarification Document via an Excel spreadsheet

- A roof survey report is not required prior to the tender submission

- Our current electricity rates are 15.364p per kWh day and 12.135 per kWh night