## 7 Electrical Van Stock
CEF Part Number | Description | Van Stock Qty | Unit Price | Total Price | Alternative Product Description | Alternative Price | Alternative Total
510/2B | 12 MOD BOARD | 1 |  | 0 |  |  | 0
MNSPE6584/3NR | 12/13 MOD BACK PLATE | 1 |  | 0 |  |  | 0
61/B10630 | 6 AMP RCBO | 4 |  | 0 |  |  | 0
61/B11630 | 16 AMP RCBO | 4 |  | 0 |  |  | 0
61/B13230 | 32 AMP RCBO | 4 |  | 0 |  |  | 0
61/B14030 | 40 AMP RCBO | 4 |  | 0 |  |  | 0
CRABTREE 543 | METAL BLANKS | 5 |  | 0 |  |  | 0
CUGN-TYPE2 | TAILS GLAND | 2 |  | 0 |  |  | 0
CUMG20 | 20MM MEMBRANE | 4 |  | 0 |  |  | 0
CUMG25 | 25MM MEMBRANE | 4 |  | 0 |  |  | 0
CUMG32 | 32 MM MEMBRANE | 4 |  | 0 |  |  | 0
25DI3 | TAILS PACK | 1 |  | 0 |  |  | 0
PH1-1000N | BATHROOM LIGHT | 2 |  | 0 |  |  | 0
EI166E | OPTICAL SMOKE | 8 |  | 0 |  |  | 0
EI164E | HEAT ALARM | 2 |  | 0 |  |  | 0
EI2110E | MULTI ALARM | 4 |  | 0 |  |  | 0
EI261ENRC | MAINS CO2 DETECTOR | 2 |  | 0 |  |  | 0
EI208 | BATTERY CO2 DETECTOR | 2 |  | 0 |  |  | 0
EI100MRF | RADIO LWK MODULE | 4 |  | 0 |  |  | 0
EI100S | BATTERY SMOKE ALARM | 2 |  | 0 |  |  | 0
CRABTREE 4170 | 1 GANG SWITCH | 10 |  | 0 |  |  | 0
CRABTREE 4172 | 2 GANG SWITCH | 10 |  | 0 |  |  | 0
CRABTREE 9047 | 1 GANG PATTRESS | 10 |  | 0 |  |  | 0
CRABTREE 9048 | 2 GANG PATTRESS | 10 |  | 0 |  |  | 0
CRABTREE 4827 | SWITCHED FUSED SPUR | 10 |  | 0 |  |  | 0
CRABTREE 4828 | UNSWITCHED SPUR | 5 |  | 0 |  |  | 0
CRABTREE 4500/3 | COOKER SWITCH | 1 |  | 0 |  |  | 0
CRABTREE 4016 | COOKER SWITCH - 1 G | 2 |  | 0 |  |  | 0
CRABTREE 4500/3 | COOKER SWITCH - 2 G | 4 |  | 0 |  |  | 0
CRABTREE 4521/1 | COOKER SWITCH - 2 G with socket | 2 |  | 0 |  |  | 0
CRABTREE 9053 | 2 GANG DEEP PATTRESS | 5 |  | 0 |  |  | 0
CRABTREE 4506 | COOKER OUTLET | 5 |  | 0 |  |  | 0
CRABTREE 9041 | 1 GANG DEEP PATTRESS | 4 |  | 0 |  |  | 0
CRABTREE 2167 | SHOWER PULL CORD | 5 |  | 0 |  |  | 0
CRABTREE 2141 | BATHROOM PULLCORD | 5 |  | 0 |  |  | 0
CRABTREE 4001 | 1 GANG BLANK PLATE | 5 |  | 0 |  |  | 0
CRABTREE 4002 | 2 GANG BLANK PLATE | 5 |  | 0 |  |  | 0
CRABTREE 9406 | CONVERSION PATTRESS | 4 |  | 0 |  |  | 0
CRABTREE 4015/3 | 20 AMP DP SWITCH | 5 |  | 0 |  |  | 0
CRABTREE 4013/3 | 32 AMP DP SWITCH | 5 |  | 0 |  |  | 0
CRABTREE 4306 | DOUBLE SOCKET | 10 |  | 0 |  |  | 0
CRABTREE 4304 | SINGLE SOCKET | 10 |  | 0 |  |  | 0
GPEN62 | PENDANT | 10 |  | 0 |  |  | 0
GBAT | BATTEN HOLDER | 5 |  | 0 |  |  | 0
CMT2SA | 16MM X 25MM TRUNKING | 6 |  | 0 |  |  | 0
CMT4SA | 38MM X 25MM TRUNKING | 6 |  | 0 |  |  | 0
HEATRAE 95980034 | 7 INCH STAT | 4 |  | 0 |  |  | 0
HEATRAE 95980035 | 11 INCH STAT | 4 |  | 0 |  |  | 0
HEATRAE 95980036 | 18 INCH STAT | 4 |  | 0 |  |  | 0
HEATRAE 95110901R | 11 INCH ELEMENT | 2 |  | 0 |  |  | 0
HEATRAE 95110905R | 27 INCH ELEMENT | 2 |  | 0 |  |  | 0
TLXP58 | 5FT FITTING + DIFF | 2 |  | 0 |  |  | 0
EFHT2S-230V | FILTERLESS 230V FAN | 2 |  | 0 |  |  | 0
EFHT2S-SELV | FILTERLESS LO-VOLT FAN | 1 |  | 0 |  |  | 0
SILENT-100T | 4 INCH SILENT FAN | 1 |  | 0 |  |  | 0
SH1844DVO | 18W LOW ENERGY SHAVER LIGHT | 2 |  | 0 |  |  | 0
SLIGHT | SHAVER LIGHT | 1 |  | 0 |  |  | 0
XCDR5 | 6W LED DRUM | 2 |  | 0 |  |  | 0
XCBH65CBO | 17W LED CIRCULAR BULKHEAD BLACK OPAL | 1 |  | 0 |  |  | 0
CRABTREE 61/B06 | 6AMP MCB | 4 |  | 0 |  |  | 0
CRABTREE 61/B16 | 16 AMP MCB | 4 |  | 0 |  |  | 0
CRABTREE 61/B32 | 32AMP MCB | 4 |  | 0 |  |  | 0
CRABTREE 61/B40 | 40AMP MCB | 4 |  | 0 |  |  | 0
SP8008ZFF | TRITON T80Z | 2 |  | 0 |  |  | 0
CSGP08W | TRITON SAFEGUARD | 1 |  | 0 |  |  | 0
SP8008ZFFTHM | TRITON FASTFIX THERMOSTATIC | 1 |  | 0 |  |  | 0
CRABTREE 380/030 | 80 Amp / 30 mA RCD | 2 |  | 0 |  |  | 0
CRABTREE 380/100 | 80Amp / 100mA RCD | 2 |  | 0 |  |  | 0
SG125 | 1 Gang Ko Box | 4 |  | 0 |  |  | 0
SG225 | 2 Gang Ko Bx | 4 |  | 0 |  |  | 0
H6242Y1.0G100 | 1.0mm Twin | 100 |  | 0 |  |  | 0
H6243Y1.0G050 | 1.0mm 3 Core | 50 |  | 0 |  |  | 0
H6242Y2.5G100 | 2.5mm Twin | 100 |  | 0 |  |  | 0
H6242Y6.0G050 | 6.0mm Twin | 50 |  | 0 |  |  | 0
H6242Y4.0G100 | 4.00mm Earth | 100 |  | 0 |  |  | 0
6491X10.0GY050 | 10.00mm Earth | 50 |  | 0 |  |  | 0
3183Y0.75W050 | .75mm 3 Core Flex | 50 |  | 0 |  |  | 0
| 3 Core Flex | 100 |  | 0 |  |  | 0
B16/835/2P OR 4P | 16 W 2D Lamp | 2 |  | 0 |  |  | 0
B28/835/2P OR 4P | 26 W 2D Lamp | 2 |  | 0 |  |  | 0
EN-DE8/30 + BEZEL | Down Lighters - LED | 4 |  | 0 |  |  | 0
T6360B1028 | Room Stat | 1 |  | 0 |  |  | 0
ST9100C1006 | Honeywell ST9100C | 2 |  | 0 |  |  | 0
ST9400C1000 | Honeywell ST9400C | 2 |  | 0 |  |  | 0
L641A1039 | Honeywell Cylinder Stat | 1 |  | 0 |  |  | 0
DT92E1000 | Wirless room stat | 2 |  | 0 |  |  | 0
ELECTRISAVER E246 | Horstmann Boost Control | 2 |  | 0 |  |  | 0
ECONOMY 7 QUARTZ | Horstmann E7 Timer | 2 |  | 0 |  |  | 0
DL4061 | Photo Cell | 2 |  | 0 |  |  | 0
DLNPC | 2omm Photo Cell | 2 |  | 0 |  |  | 0
88500032 | Triton Shower Head | 2 |  | 0 |  |  | 0
TSHG1203 | Triton Shower Hose | 2 |  | 0 |  |  | 0
TSKFLEO8000WC | Shower Kit | 1 |  | 0 |  |  | 0
2.1605.103 | Mira Shower Head | 2 |  | 0 |  |  | 0
TEC16 | Bonding Clamps - Wet or Dry Conditions | 20 |  | 0 |  |  | 0
SE10 | Speedy Earth Clamp | 10 |  | 0 |  |  | 0
ERCB1004 | Electrode | 1 |  | 0 |  |  | 0
EB2 | 100A Double pole conection box | 2 |  | 0 |  |  | 0
51228987 | Wago Set | 1 |  | 0 |  |  | 0
AVAB202B | Fan grill Gravity brown 6" | 2 |  | 0 |  |  | 0
AVAB161B | Fan grill Gravity brown 4" | 2 |  | 0 |  |  | 0
AVAB024 | Fan duct | 1 |  | 0 |  |  | 0
|  |  | Grand Total | 0 |  | Alternative Grand Total | 0