## Schedule of Areas
Schedule of Work
Napper Architects Ltd
3 Waterloo Square
Newcastle upon Tyne |  |  |  | T: 0191 2610491
Tyne & Wear |  |  |  | E: info@napperarchitects.co.uk
NE1 4DR |  |  |  | W: www.napperarchitects.co.uk
| Peterlee Fire Station | rev | date | Project no
| Contract - JCT Minor Works Contract 2024 with Contractors Design |  | 2024-06-17 | 121027 PL
The tenderers are to allow for the completion of all works as per the drawings and specification as a lump sum contract. The schedule of works below is to allow for pricing purposes and valuation of any variations. The tenderers must include for all necessary items to complete the works in accordance with the tender information and in accordance with all relevant building standards and building control requirements.
item | Description | No | unit cost | Price
A | Preliminaries
1 | Staff & Welfare
2 | Overheads
3 | Profit
4 | Temporary works / hoardings
5 | Mechanical plant
6 | Service isolations and making good
7 | Any other preliminary cost items required to complete the work
B | Work items - refer to Proposed Plan AL(0)20
1 | Demolitions & strip out
2 | Remove existing windows (4no.) and close openings as indicated
3 | Form new door opening to Kit Room
4 | New powder coated steel external door
5 | Fix new insulated linings (inner face) to external walls
6 | New internal stud partitions
7 | Form new laid to fall floor in shower cubicles
8 | New linear shower drains (4no.)
9 | New internal doorsets (5no.)
10 | New suspended ceilings (Showers, Lockers, Drying Room)
11 | New vinyl floor finish including prep work
12 | New vinyl wall finish in showers
13 | New paint finishes to walls
14 | Paint finishes to new internal doors, architraves, frames etc
15 | Sanitaryware (basins, WC pans, taps, showers)
16 | IPS panelling (including benching, vanity units)
17 | Bespoke mirrors (6no. total)
18 | New lockers (50no.)
19 | Racking for Contaminants Store
20 | Re-fitting of drying rails to Drying Room (existing to be adapted)
C | Civils
1 | Breakout existing drainage runs back to vertical stacks
2 | New drainage connections including making good to flooring
D | Mechanical & Electrical
1 | Decentralised MVHR units
2 | New heating system
3 | New drying kit in Drying Room
4 | Plumbing to new sanitary connections
5 | New lighting with relevant switching
6 | New small power
7 | Reinstall of fire detection and tannoy/ turnout system
8 | Electrical FFE (handdriers, hairdryers, etc.)
9 | Other M&E connections including commissioning
10 | Builders work in connection
E | Completion of works
1 | Cost associated with all other items to allow for the completion of the works in accordance with the documents
2 | Production of test certificates - Electrical, Fire and Smoke and alarms by NICEIC approved contractor
F | Contingency and provisional sums
1 | General contingency |  |  | 10000
Total Tender Price |  |  |  | 10000