# PART 3

# Pre-Amble

| 3.1 | All work is to be done in accordance with the ‘Preliminaries & General Conditions. Any discrepancy noted with specification should be brought to the Contract Supervisor's attention prior to submitting a tender for the work. |  |
| --- | --- | --- |
| 3.2 | The contract documents will consist of the ‘Preliminaries & General Conditions’, ‘Materials and Workmanship’ clauses this particular schedule, any drawings as supplied, appointment letter and all work may be subject to JCT Minor Works Building Contract |  |
| 3.3 | Arrangements for access to price the works are to be made with the Contract Supervisor who is to be contacted on 01752 847706 or 07712 797887 for a pre arranged appointment. |  |
| 3.4 3.5 | Services All general services are connected and are to remain so for the duration of the contract. Programme of works A programme of works will be agreed prior to commencement on site and this must be adhered to unless by prior arrangement and permission of both the contract supervisor and the client. |  |
| 3.6 | Protection of items belonging to client and which are to remain on site throughout. The premises will not be open for business and will remain so for the duration of the contract. It is therefore essential that the contractor checks with the client at the end of each working day to ensure the site is left secure. A designated person shall be appointed and named to be responsible for ensuring this at the end of each working day. The client has items of fixtures and fittings that will remain on site throughout the contract. The contractor is to ensure that these items are in a safe place and damage is not allowed to occur as a result of the works. Prior to beginning work on site plans for removal, storage and protection of clients’ fixtures, fittings and other articles such as books will be agreed with the Contract Supervisor. |  |

| 3.7 | ## GENERAL ITEMS |  |
| --- | --- | --- |
| 3.7.1 | The Contractor is to take all factors into account for pricing individual items and to include labour, etc, not specifically mentioned. Contractors should note comments in the pre tender H & S Plan regarding parking of vehicles, the general public and employees visiting the site to remove / replace books etc... |  |
| 3.7.2 | Provide, erect, maintain and clear away any no longer required scaffolding towers, handrails, staging, boarding and screens required for the proper execution of the works and completion of the works and protection of any adjoining properties. |  |
| 3.7.3 | Take all necessary steps to protect the public. All access levels must be taken down at the end of each day’s work and properly secured to prevent unauthorised use. Keep all adjoining paths, parking spaces and roads clear of debris. |  |
| 3.7.4 | Take all necessary steps to ensure no damage is caused to any adjoining property due to the carrying out of the works. Any damage made by the contractor is to be made good using matching materials at the Contractor’s expense. |  |
| 3.7.5 | Take all necessary steps to comply with current health, safety and welfare measures required under or by virtue of the provisions of any enactment or regulation or the working rules of any industry. All materials, products, etc, are to be handled in accordance with the manufacturer’s instructions and general good practice with due regard to the safety of both the operative, the public and the client. |  |
| 3.7.6 | Remove all rubbish as the work proceeds and keep the work clean and tidy. On completion of the works remove all equipment and surplus materials, clean down, include washing off of windows, hose drains and remove all debris and leave the premises clean and tidy. |  |
| 3.7.7 | Allow the sum of (see collection sheet) as a contingency to be expended and deducted at the sole discretion of the Contract Administrator. |  |
| 3.7.8 | The schedule (parts 4 & 5 of this document) is to be read in conjunction with the attached ‘Preliminaries’ and ‘Material and Workmanship Clauses’ in addition to all clauses contained in these pre-ambles. . |  |
| 3.7.9 | The price tendered should be for a fixed sum for a period of six months from the tender date. |  |
| 3.7.10 | The Contractor must give an indication of earliest start date and completion date. START DATE……………………………… COMPLETION DATE…………………….. A programme of works and payments schedule must be produced from acceptance of tender. |  |
| 3.7.11 | Client Items The Client may be ordering and paying for a number of items direct: - the contractor will be advised of this prior to start on site. |  |
| 3.8 | ## OTHER |
| 3.8.1 | It should be noted that the Town Council is an employer that pays all its employees, as a minimum, the 'living wage'. This currently stands at £9.30 per hour for all employees over 18 years of age and will only employ contractors that do similar. Any contractor tendering for the work as described in this document, by doing so, confirms that it also pays all employees over 18 years of age the 'living wage' |
| 3.8.2 3.8.3 | Saltash Town Council is committed to encouraging all their direct employees, and their external contractors & consultants to be at the forefront in minimizing the impact of the activities of the Council on the environment. Without having a document that repeats all legislation and good practice regarding this, key points for all external contractors and consultants are as follows: - Minimize waste by evaluating all operations and ensuring that they are as efficient as possible - Minimize toxic emissions through the selection and use of fleet vehicles and other sources of power - Actively promote recycling - As well as their direct employees, encourage all their sub-contractors to be aware of the above It should be noted that the works may be carried out in a phased manner or items omitted completely and, therefore, any costs associated with items in parts 1, 2, & 3 should be included at the appropriate place in part 4 and not priced as a separate whole. No allowances will be made for phasing or omitting items. |