## Invitation to Tender (ITT) Section B

## United Lincolnshire Hospitals Trust (ULHT)

## Invitation to tender for the provision of an:

## Energy Monitoring and Targeting Suite

## Authority's reference number: DN217336

## Deadline for Tenders to be received:  12:00 noon Friday 20th January 2017

SECTION B: TENDER SCHEDULES

TO BE COMPLETED AND RETURNED BY BIDDERS

TABLE OF CONTENTS

ANNEX B1 ELIGIBILITY QUESTIONS AND RESPONSES	1

ANNEX B2 SPECIFICATION	13

ANNEX B3 TENDER RESPONSE DOCUMENT	26

ANNEX B4 COMMERCIAL SCHEDULE	28

ANNEX B5 CONFIDENTIAL AND COMMERCIALLY SENSITIVE INFORMATION	29

ANNEX B6 ADMINISTRATIVE INSTRUCTIONS	31

ANNEX B7 FORM OF TENDER	32

ANNEX B1
ELIGIBILITY QUESTIONS AND RESPONSES

Summary Table

| ## Tender Schedules (to be returned by Bidders) |  |
| --- | --- |
| ## Annex B1 | ## Notes for Completion ## Supplier Information ## Grounds for Mandatory Exclusion ## Grounds for Discretionary Exclusion ## Template for Appendices |
| ## Annex B2 | ## Specification |
| ## Annex B3 | ## Tender Response Document |
| ## Annex B4 | ## Commercial Schedule |
| ## Annex B5 | ## Confidential and Commercially Sensitive Information |
| ## Annex B6 | ## Administrative Instructions |
| ## Annex B7 | ## Form of Tender |

Notes for completion

1. “Authority” means the public sector contracting authority, or anyone acting on behalf of the contracting authority, that is seeking to invite suitable suppliers to participate in this procurement process.

2. “You”/ “Your” or “Supplier” means the body completing these questions i.e. the legal entity seeking to be invited to the next stage of the procurement process and responsible for the information provided. The ‘Supplier’ is intended to cover any economic operator as defined by the Public Contract Regulations 2015 and could be a registered company; charitable organisation; Voluntary Community and Social Enterprise (VCSE); Special Purpose Vehicle; or other form of entity.

3. The Eligibility Questions in this Annex B1 have been designed to assess the suitability of a Supplier to deliver the Authority’s contract requirement(s). If you pass all Eligibility Questions, the Authority will mark Annex B2 (Specification) and Annex B3 (Tender Response Document).

4. Please ensure that all questions are completed in full, and in the format requested. Failure to do so may result in your submission being disqualified. If the question does not apply to you, please state clearly ‘N/A’.

5. Should you need to provide additional Appendices in response to the questions, these should be numbered clearly and listed as part of your declaration. A template for providing additional information is provided at the end of this document.

6. Please return a completed version of this document to the Authority in accordance with the Instructions to Bidders in Section A of this ITT.

Verification of Information Provided

7. Whilst reserving the right to request information at any time throughout the procurement process, the Authority may enable the Supplier to self-certify that there are no mandatory/ discretionary grounds for excluding their organisation. When requesting evidence that the Supplier can meet the specified requirements (such as the questions in section 7 of this Annex B1 relating to Technical and Professional Ability) the Authority may only obtain such evidence after the final tender evaluation decision i.e. from the winning Supplier only.

Sub-contracting arrangements

8. Where the Supplier proposes to use one or more sub-contractors to deliver some or all of the contract requirements, a separate Appendix should be used to provide details of the proposed bidding model that includes members of the supply chain, the percentage of work being delivered by each sub-contractor and the key contract deliverables each sub-contractor will be responsible for.

9. The Authority recognises that arrangements in relation to sub-contracting may be subject to future change, and may not be finalised until a later date.  However, Suppliers should be aware that where information provided to the Authority indicates that sub-contractors are to play a significant role in delivering key contract requirements, any changes to those sub-contracting arrangements may affect the ability of the Supplier to proceed with the procurement process or to provide the supplies and/or services required.  Suppliers should therefore notify the Authority immediately of any change in the proposed sub-contractor arrangements. The Authority reserves the right to deselect the Supplier prior to any award of contract, based on an assessment of the updated information.









Consortia arrangements



10. If the Supplier completing this Annex B1 is doing so as part of a proposed consortium, the following information must be provided;

- names of all consortium members;

- the lead member of the consortium who will be contractually responsible for delivery of the contract (if a separate legal entity is not being created); and

- if the consortium is not proposing to form a legal entity, full details of proposed arrangements within a separate Appendix.

11. Please note that the Authority may require the consortium to assume a specific legal form if awarded the contract, to the extent that a specific legal form is deemed by the Authority as being necessary for the satisfactory performance of the contract.

12. All members of the consortium will be required to provide the information required in all sections of this Annex B1 as part of a single composite response to the Authority i.e. each member of the consortium is required to complete the form.

13. Where you are proposing to create a separate legal entity, such as a Special Purpose Vehicle (SPV), you should provide details of the actual or proposed percentage shareholding of the constituent members within the new legal entity in a separate Appendix.

14. The Authority recognises that arrangements in relation to a consortium bid may be subject to future change. Suppliers should therefore respond on the basis of the arrangements as currently envisaged. Suppliers are reminded that the Authority must be immediately notified of any changes, or proposed changes, in relation to the bidding model so that a further assessment can be carried out by applying the selection criteria to the new information provided. The Authority reserves the right to deselect the Supplier prior to any award of contract, based on an assessment of the updated information.

Confidentiality

15. When providing details of contracts in answering section 6 of this Annex B1 (Technical and Professional Ability), the Supplier agrees to waive any contractual or other confidentiality rights and obligations associated with these contracts.

16. The Authority reserves the right to contact the named customer contact in section 6 regarding the contracts included in section 6. The named customer contact does not owe the Authority any duty of care or have any legal liability, except for any deceitful or maliciously false statements of fact.

17. The Authority confirms that it will keep confidential and will not disclose to any third parties any information obtained from a named customer contact, other than to the Cabinet Office and/or contracting authorities defined by the Public Contract Regulations 2015.



1 - Supplier information

| 1.1 Supplier details | Answer |  |
| --- | --- | --- |
| Full name of the Supplier completing this Annex B1 |  |  |
| Registered company address |  |  |
| Registered company number |  |  |
| Registered charity number |  |  |
| Registered VAT number |  |  |
| Name of immediate parent company |  |  |
| Name of ultimate parent company |  |  |
| Please mark ‘X’ in the relevant box to indicate your trading status | i) a public limited company | Yes |
|  | ii) a limited company | Yes |
|  | iii) a limited liability partnership | Yes |
|  | iv) other partnership | Yes |
|  | v) sole trader | Yes |
|  | vi) other (please specify) | Yes |
| Please mark ‘X’ in the relevant boxes to indicate whether any of the following classifications apply to you | i)Voluntary, Community and Social Enterprise (VCSE) | Yes |
|  | ii) Small or Medium Enterprise (SME) | Yes |
|  | iii) Sheltered workshop | Yes |
|  | iv) Public service mutual | Yes |

| 1.2 Bidding model |  |
| --- | --- |
| Please mark ‘X’ in the relevant box to indicate whether you are; |  |
| a) Bidding as a Prime Contractor and will deliver 100% of the key contract deliverables yourself | Yes |
| b) Bidding as a Prime Contractor and will use third parties to deliver some of the services If yes, please provide details of your proposed bidding model that includes members of the supply chain, the percentage of work being delivered by each sub-contractor and the key contract deliverables each sub-contractor will be responsible for. | Yes |
| c) Bidding as Prime Contractor but will operate as a Managing Agent and will use third parties to deliver all of the services If yes, please provide details of your proposed bidding model that includes members of the supply chain, the percentage of work being delivered by each sub-contractor and the key contract deliverables each sub-contractor will be responsible for. | Yes |
| d) Bidding as a consortium but not proposing to create a new legal entity. If yes, please include details of your consortium in the next column and use a separate Appendix to explain the alternative arrangements i.e. why a new legal entity is not being created. Please note that the Authority may require the consortium to assume a specific legal form if awarded the contract, to the extent that it is necessary for the satisfactory performance of the contract. | Yes Consortium members Lead member |
| e) Bidding as a consortium and intend to create a Special Purpose Vehicle (SPV). If yes, please include details of your consortium, current lead member and intended SPV in the next column and provide full details of the biding model using a separate Appendix. | Yes Consortium members Current lead member Name of Special Purpose Vehicle |

| 1.3 Contact details |  |
| --- | --- |
| Supplier contact details for enquiries about this Annex B1 |  |
| Name |  |
| Postal address |  |
| Country |  |
| Phone |  |
| Mobile |  |
| E-mail |  |

| 1.4 Licensing and registration (please mark ‘X’ in the relevant box) |  |  |
| --- | --- | --- |
| 1.4.1 | Registration with a professional body If applicable, is your business registered with the appropriate trade or professional register(s) in the EU member state where it is established (as set out in Annex XI of directive 2014/24/EU) under the conditions laid down by that member state). | Yes No If Yes, please provide the registration number in this box. |
| 1.4.2 | Is it a legal requirement in the state where you are established for you to be licensed or a member of a relevant organisation in order to provide the requirement in this procurement? | Yes No If Yes, please provide additional details within this box of what is required and confirmation that you have complied with this. |

2 - Grounds for mandatory exclusion

You will be excluded from the procurement process if there is evidence of convictions relating to specific criminal offences including, but not limited to, bribery, corruption, conspiracy, terrorism, fraud and money laundering, or if you have been the subject of a binding legal decision which found a breach of legal obligations to pay tax or social security obligations (except where this is disproportionate e.g. only minor amounts involved).

If you have answered “yes” to question 2.2 on the non-payment of taxes or social security contributions, and have not paid or entered into a binding arrangement to pay the full amount, you may still avoid exclusion if only minor tax or social security contributions are unpaid or if you have not yet had time to fulfil your obligations since learning of the exact amount due.  If your organisation is in that position please provide details using a separate Appendix. You may contact the Authority for advice before completing this form.

| 2.1 Within the past five years, has your organisation (or any member of your proposed consortium, if applicable), Directors or partner or any other person who has powers of representation, decision or control been convicted of any of the following offences? | Please indicate your answer by marking ‘X’ in the relevant box. |  |
| --- | --- | --- |
|  | Yes | No |
| - conspiracy within the meaning of section 1 or 1A of the Criminal Law Act 1977 or article 9 or 9A of the Criminal Attempts and Conspiracy (Northern Ireland) Order 1983 where that conspiracy relates to participation in a criminal organisation as defined in Article 2 of Council Framework Decision 2008/841/JHA on the fight against organised crime; |  |  |
| - corruption within the meaning of section 1(2) of the Public Bodies Corrupt Practices Act 1889 or section 1 of the Prevention of Corruption Act 1906; |  |  |
| - the common law offence of bribery; |  |  |
| - bribery within the meaning of sections 1, 2 or 6 of the Bribery Act 2010; or section 113 of the Representation of the People Act 1983; |  |  |
| - any of the following offences, where the offence relates to fraud affecting the European Communities’ financial interests as defined by Article 1 of the Convention on the protection of the financial interests of the European Communities: |  |  |
| (i) the offence of cheating the Revenue; |  |  |
| (ii) the offence of conspiracy to defraud; |  |  |
| (iii) fraud or theft within the meaning of the Theft Act 1968, the Theft Act (Northern Ireland) 1969, the Theft Act 1978 or the Theft (Northern Ireland) Order 1978; |  |  |
| (iv) fraudulent trading within the meaning of section 458 of the Companies Act 1985, article 451 of the Companies (Northern Ireland) Order 1986 or section 993 of the Companies Act 2006; |  |  |
| (v) fraudulent evasion within the meaning of section 170 of the Customs and Excise Management Act 1979 or section 72 of the Value Added Tax Act 1994; |  |  |
| (vi) an offence in connection with taxation in the European Union within the meaning of section 71 of the Criminal Justice Act 1993; |  |  |

| (vii) destroying, defacing or concealing of documents or procuring the execution of a valuable security within the meaning of section 20 of the Theft Act 1968 or section 19 of the Theft Act (Northern Ireland) 1969; |  |  |
| --- | --- | --- |
| (viii) fraud within the meaning of section 2, 3 or 4 of the Fraud Act 2006; or |  |  |
| (ix) the possession of articles for use in frauds within the meaning of section 6 of the Fraud Act 2006, or the making, adapting, supplying or offering to supply articles for use in frauds within the meaning of section 7 of that Act; |  |  |
| - any offence listed— |  |  |
| (i) in section 41 of the Counter Terrorism Act 2008; or |  |  |
| (ii) in Schedule 2 to that Act where the court has determined that there is a terrorist connection; |  |  |
| - any offence under sections 44 to 46 of the Serious Crime Act 2007 which relates to an offence covered by subparagraph (f); |  |  |
| - money laundering within the meaning of sections 340(11) and 415 of the Proceeds of Crime Act 2002; |  |  |
| - an offence in connection with the proceeds of criminal conduct within the meaning of section 93A, 93B or 93C of the Criminal Justice Act 1988 or article 45, 46 or 47 of the Proceeds of Crime (Northern Ireland) Order 1996; |  |  |
| - an offence under section 4 of the Asylum and Immigration (Treatment of Claimants etc.) Act 2004; |  |  |
| - an offence under section 59A of the Sexual Offences Act 2003; |  |  |
| - an offence under section 71 of the Coroners and Justice Act 2009 |  |  |
| - an offence in connection with the proceeds of drug trafficking within the meaning of section 49, 50 or 51 of the Drug Trafficking Act 1994; or |  |  |
| - any other offence within the meaning of Article 57(1) of the Public Contracts Directive— |  |  |
| (i) as defined by the law of any jurisdiction outside England and Wales and Northern Ireland; or |  |  |
| (ii) created, after the day on which these Regulations were made, in the law of England and Wales or Northern Ireland. |  |  |
| Non-payment of taxes 2.2 Has it been established by a judicial or administrative decision having final and binding effect in accordance with the legal provisions of any part of the United Kingdom or the legal provisions of the country in which your organisation is established (if outside the UK), that your organisation is in breach of obligations related to the payment of tax or social security contributions? If you have answered Yes to this question, please use a separate Appendix to provide further details. Please also use this Appendix to confirm whether you have paid, or have entered into a binding arrangement with a view to paying, including, where applicable, any accrued interest and/or fines? |  |  |



3. Grounds for discretionary exclusion

The Authority may exclude any Supplier who answers ‘Yes’ in any of the following situations set out in paragraphs (a) to (i);

| 3.1 Within the past three years, please indicate if any of the following situations have applied, or currently apply, to your organisation. | Please indicate your answer by marking ‘X’ in the relevant box. |  |
| --- | --- | --- |
|  | Yes | No |
| - your organisation has violated applicable obligations referred to in regulation 56 (2) of the Public Contract Regulations 2015 in the fields of environmental, social and labour law established by EU law, national law, collective agreements or by the international environmental, social and labour law provisions listed in Annex X to the Public Contracts Directive as amended from time to time; |  |  |
| - your organisation is bankrupt or is the subject of insolvency or winding-up proceedings, where your assets are being administered by a liquidator or by the court, where it is in an arrangement with creditors, where its business activities are suspended or it is in any analogous situation arising from a similar procedure under the laws and regulations of any State; |  |  |
| - your organisation is guilty of grave professional misconduct, which renders its integrity questionable; |  |  |
| - your organisation has entered into agreements with other economic operators aimed at distorting competition; |  |  |
| - your organisation has a conflict of interest within the meaning of regulation 24 of the Public Contract Regulations 2015 that cannot be effectively remedied by other, less intrusive, measures; |  |  |
| - the prior involvement of your organisation in the preparation of the procurement procedure has resulted in a distortion of competition, as referred to in regulation 41, that cannot be remedied by other, less intrusive, measures; |  |  |
| - your organisation has shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions; |  |  |
| - your organisation— (i) has been guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the selection criteria; or (ii) has withheld such information or is not able to submit supporting documents required under regulation 59 of the Public Contract Regulations 2015; or |  |  |
| (i) your organisation has undertaken to |  |  |
| (aa) unduly influence the decision-making process of the contracting authority, or |  |  |
| (bb) obtain confidential information that may confer upon your organisation undue advantages in the procurement procedure; or |  |  |
| (j) your organisation has negligently provided misleading information that may have a material influence on decisions concerning exclusion, selection or award. |  |  |

Conflicts of interest

In accordance with question 3.1 (e), the Authority may exclude the Supplier if there is a conflict of interest which cannot be effectively remedied. The concept of a conflict of interest includes any situation where relevant staff members have, directly or indirectly, a financial, economic or other personal interest which might be perceived to compromise their impartiality and independence in the context of the procurement procedure.

Where there is any indication that a conflict of interest exists or may arise then it is the responsibility of the Supplier to inform the Authority, detailing the conflict in a separate Appendix. Provided that it has been carried out in a transparent manner, routine pre-market engagement carried out by the Authority should not represent a conflict of interest for the Supplier.

Taking Account of Bidders’ Past Performance

In accordance with question (g), the Authority may assess the past performance of a Supplier (through a Certificate of Performance provided by a Customer or other means of evidence). The Authority may take into account any failure to discharge obligations under the previous principal relevant contracts of the Supplier completing this Annex B1. The Authority may also assess whether specified minimum standards for reliability for such contracts are met.

In addition, the Authority may re-assess reliability based on past performance at key stages in the procurement process (i.e. supplier selection, tender evaluation, contract award stage etc.). Suppliers may also be asked to update the evidence they provide in this section to reflect more recent performance on new or existing contracts (or to confirm that nothing has changed).

‘Self-cleaning’

Any Supplier that answers ‘Yes’ to questions 2.1, 2.2 and 3.1 should provide sufficient evidence, in a separate Appendix, that provides a summary of the circumstances and any remedial action that has taken place subsequently and effectively “self-cleans” the situation referred to in that question. The supplier has to demonstrate it has taken such remedial action, to the satisfaction of the Authority in each case.

If such evidence is considered by the Authority (whose decision will be final) as sufficient, the economic operator concerned shall be allowed to continue in the procurement process.

In order for the evidence referred to above to be sufficient, the Supplier shall, as a minimum, prove that it has;

- paid or undertaken to pay compensation in respect of any damage caused by the criminal offence or misconduct;

- clarified the facts and circumstances in a comprehensive manner by actively collaborating with the investigating authorities; and

- taken concrete technical, organisational and personnel measures that are appropriate to prevent further criminal offences or misconduct.

The measures taken by the Supplier shall be evaluated taking into account the gravity and particular circumstances of the criminal offence or misconduct. Where the measures are considered by the Authority to be insufficient, the Supplier shall be given a statement of the reasons for that decision.

Annex B1 – Template for Appendices

Appendix Number -

Annex B1 section -

Question number -

ANNEX B2
SPECIFICATION

This Specification will be inserted into Schedule 5 of the contract (Specification and Tender Response Document).

Note that references in this Annex B2 to schedules and clauses are to schedules and clauses of the contract.

Note to Bidders:

The Bidder must respond to each row of the Specification below.

Write "Confirmed" to confirm acceptance of the row.

Note:  the Bidder will not be permitted to add to this list or amend proposals to the Authority's detriment after the deadline for Tender submission.

| # Specification – Part 1: General | Bidder's response |  |
| --- | --- | --- |
| - General - The Supplier will provide Services/ Goods as follows: - Energy Monitoring and Targeting Suite |  |  |
| - General Requirements # The new system should be capable to collect all of the Trust Energy & Environmental data, consumption & cost. # Provide an innovative Dash Board to communicate and inform staff, visitors & patients. # Access to the data to provide engineering data analysis i.e. Regression, Cusum, Year on Year reports and exception reports to identify waste # The ability to normalise consumption against degree day analysis and if possible other benchmarks relevant to NHS Trusts e.g. Change of Use, hours of operation and floor area. # The ability to provide financial reports in graphical & tabular format. In particular a consumption / cost report where several years can be shown on the same report. # Consumption & Financial Forecasting. The financial forecasting to be able to accept monthly price changes. # To provide from the data collected, a standard sustainability reporting output for inclusion in the Trust Annual Report and to provide standard reporting outputs to support the correct submission of the ERIC Returns, CRC, ETS & DEC reports. # In addition provide other sustainability reports that may be required by the SDU, TDA and government. # The system must be an extremely intuitive energy suite, comprising of a number of modules which will enable the Trust to select the specific functionality required. # Data will be either manually entered or automatically imported into the system from a number of sources including smart meters, data loggers, BMS, spreadsheets, supplier data and SCADA systems. The solution should be able to pro-rata meter readings to a daily basis. Therefore eliminating the problems encountered by meter readings not being taken on the same day. # The solution should ideally have two levels of access. One for configuration and development of detailed energy analysis and another for viewing reports and entering manual meter readings. # The system to include a back end administration interface and support for updating modules, to the latest legal and policy requirements for sustainability reporting including carbon factors, reporting format and new input information on an annual basis. Please outline in your tender response how you would propose to achieve this. # You are requested to provide a tender proposal for the licences and services required including a full explanation of the options. # This document provides an overview of the requirements for the Trust. The supplier must demonstrate how their proposed solution meets the Trust requirements and the costs should be defined to meet these requirements. # You are therefore requested to provide an On-Site or Webinar demonstration of your proposed system, explaining how your proposal will meet all of the Trust requirements. # To fully comply with the Trust & NHS Information Governance requirements and as a minimum be registered with the NHS Information Governance Toolkit. |  |  |
| - Energy Analysis - To provide comprehensive analysis of energy data using a range of powerful techniques. Quickly and easily analyse data, create graphs, view data tables and save reports for future use. Utilise techniques in this module to monitor data from main & sub meters, utility contracts, carry out performance analysis such as regression, cusum and deviation analysis and normalisation of data etc. # The solution should have the ability to analyse the data in a variety of ways. These include as a minimum the areas covered below: # Analysis of energy and water consumption in graphical form. This should include a flexible range of intervals including 30 minutes, 1 hour, 1 day, 1 week and 1 month with a flexible range of periods including 1 day, 1 week, 1 month and 1or more years. It should be possible to analyse multiple traces on the same chart. # Display the processed energy data in both graphical and tabular form. # League table analysis # Degree day normalisation # Regression and CUSUM analysis # Cost analysis # Maximum demand analysis # Base load analysis # Exception Reporting # Diary tool to link noted events to performance plots. # It should be possible for any chart or table to be scheduled for automatic distribution by email. |  |  |
| - Energy Budgets - The solution should allow energy and water budgets to be created for buildings. This budget may be based on manually entered values or automatically created from the previous year’s metering data. # Actual energy data should be displayed graphically alongside the budget. It should be possible to normalise the data by factors such as degree days, floor area/heated volume or occupancy levels etc. |  |  |
| - Financial Analysis - Automatically import or manually input contract rates and convert energy usage into cost information. # To include Financial Forecasting Reports to cover both calendar and financial years suitable for monthly variable contracts. The software should have the facility to automatically email reports to multiple users on a scheduled basis. |  |  |
| - Reporting - To provide access to a wide range of pre-configured report templates. To be able to run reports on an ad-hoc basis against different areas of the organisation or use a Report Scheduler to automatically distribute reports by email. # The software should have the facility to automatically email reports to multiple users on a scheduled basis. This facility should be user configurable and allow the report to be selected, list user email addresses and selected frequency of distribution. |  |  |
| - Data Exchange - Automatic import of data from a wide range of systems and data formats. To automatically manage the quality of data received and auto-fill missing data. |  |  |
| - Exception Reporting - To be able to create various alarms at individual meter level (e.g. Profile, Range, Average, Budget Deviation) or to set alarms in bulk across the organisation. Forward alarms out by email or SMS text message depending on the severity level of each alarm. Use alarm techniques to notify when data is missing, budgets have been exceeded, or when unexpected trends occur. |  |  |
| - Virtual / Calculated Meters - To be able to create calculated or virtual metering channels to perform calculations of metering data. Calculate power efficiency, aggregate data, the use of look-up tables to facilitate quick-creation of complex calculations. Once created, calculated meters should be graphed as “normal physical” data points. # The calculations and any assumptions are to be transparent enough to be credible |  |  |
| - Benchmarking and Baseline Establishment - In addition to a league table analysis, a full benchmarking facility should be available within the aM&T solution. This should allow sites energy consumption to be comprehensively compared to both national standards and also locally created standards. This facility should take into consideration factors such as the building size, building type, percentage of energy used on heating etc. # Display benchmark reports on screen or as a PDF report. |  |  |
| - Bill Verification - To accept supplier utility bills for a range of fuel types, and to compare bill values against collected meter data, presenting any anomalies or verifying that the utility bill is correct. Provides graphical representations of both data sets for easy comparison. |  |  |
| - Sustainability and Regulatory Reporting - To provide a Reporting module to enable the Trust to quickly and easily access data and produce Sustainability Reports, including Foot Print Reports compatible with the SDU Reporting Template and latest carbon factors; # Link to SDU reporting template for information :- # http://www.sduhealth.org.uk/search/resources.aspx?q=sustainability+reporting+template&zoom_query=sustainability+reporting+template # Provide easy access to data to support the generation of CRC Annual Reports and Evidence Pack. Eric Returns, ETS & DEC reports. # This module to have the ability to deduct energy consumption from non ULHT buildings or areas, using direct sub-metering or weighted floor areas. # Sustainability reporting standards are evolving, meaning inputs and outputs need to be flexible for future data requirements. Please outline how you would propose to achieve this. |  |  |
| - Data Points - For the purpose of this tender please allow for 150 data points, and identify the cost for additional data points. |  |  |
| - Annual User Licences - For the purpose of this tender please allow for 6 concurrent users. i.e. system access for 6 users at any time. But to allow for 12 user accounts. # Each user should be provided with an individual username and password. |  |  |
| - Energy Dashboard - The solution should include the facility to create a user dashboard which includes charts and tables. This will be displayed automatically when the user has logged in. # To Publish energy data and savings in an extremely user-friendly and imaginative dashboard display in various locations within the Trust To convert savings into interesting intuitive facts such as trees planted, or cars off the road. Designed in an eye-catching configuration. |  |  |
| - Installation and Commissioning - Your tender proposal should include for full installation & commissioning at each hospital site i.e. Lincoln County Hospital, Pilgrim Hospital and Grantham Hospital. # Any pre-requisites for the installation must be discussed with the Trust before you submit your tender. The server specification is important and should be discussed and agreed with the Trust and in addition who will supply the server. # The Trust will require the supplier to install and configure the aM&T software on the selected server. The supplier will be required to configure all metering channels and the automatic import of metering data into the aM&T solution. # Following the configuration of metering and the import of data, the Trust may require the supplier to configure a number of specific reports to assist in the management of energy and finance. Please include in your tender a PC sum to configure 3 reports. |  |  |
| - Data Transfer - The system should allow for a wide range of existing drivers and methods to enable automatic import of data. # Your tender should allow for the transfer of existing / historical data from the current system to the new. Going back a minimum of 10 years identifying 2007/08 as a base line year for sustainability reporting. |  |  |
| - Hosted Option - You are also requested to provide an alternative tender proposal for a Hosted Services Option. Where the system will be hosted at your Data Centre and accessed over the internet. The cost should include for the provision of hardware, internet access and database backups. Your proposal should include an overview of the security structure to prevent data breach or loss, to maintain business continuity. # For this option the service provider Must be able to comply with Trust and NHS Information Governance requirements and as a minimum be registered with the Information Governance Toolkit. # The link to the Information Governance Toolkit can be found below :- # https://nww.igt.hscic.gov.uk/ |  |  |
| - Training - Your proposal should include for the training of up to 12 users; 6 at advanced user level, preferably on a ULHT site. To include User Guides & Manuals # You are also requested to submit your recommendations for annual refresher training. |  |  |
| - Technical Support - Please provide details of the technical support service options that are available with your proposed system. Those which are included in your tender submission and those which are at an additional cost |  |  |
| - Calorific Value and Degree Day Service - Calorific Values (CV) enable the conversion of gas meter readings into energy. With accurate CV data the system should be able to translate gas consumption into kWh. # Degree Day data is essential to understanding the relationship between energy consumption and outside air temperature. Many of the energy analysis techniques including Regression analysis, Benchmarking and League Tables rely on accurate Degree Day data. # Your system should be able to accept a Degree Day and CV Import service (manual or automatic) to update the database with monthly Calorific Values and Degree Day data. |  |  |
| - Additional Services - If you have additional module options available within your system suite that have not been included in this briefing document. Please provide further information in a separate document. e.g. # Projects Module. ( Including a project verification tool for analysing benefit against ROI on energy initiatives) # Bureau Service. (Identifying wasted energy consumption) # Metering Map Strategy per site. # Business Unit Area and Tennant Recharging # Please provide information of meter reading tools compatible with your system that can automatically download manual meter reads. e.g. Meter Pad |  |  |
| - Tender Response - You are requested to provide in your tender proposal, the following options for Trust consideration :- # Purchase direct with an annual licence / maintenance charge # To lease purchase over 5 years, with an all-inclusive monthly charge over 60 months. # To provide a Hosted Services Option. # In addition can you please provide separately costs for a bureau service, to identify Waste and support the Trust in minimising & fine tuning energy consumption. # The cost broken down into the different elements of the project. # The proposed approach to meeting our requirements including evidence of past work delivering this type of solution preferably within the NHS |  |  |
| - Evidence of Technical Capability # The following information will be required for all personnel carrying out or managing work on Authority sites: - Evidence of qualifications/ experience - Skill / Training Matrix |  |  |
| - Health and Safety ## The Contractor is responsible for the Health & Safety of all personnel employed on each specific project. |  |  |
| - Equipment ## The Contractor must provide all equipment to enable the Contract to be carried out in a safe and efficient fashion in line with the manufacturer’s guidelines. All equipment and machinery is the Contractors responsibility and must be kept in good working order. The Contractors staff must have had sufficient training and taken any appropriate qualifications as necessary to be able to use the equipment and machinery in the safe and proper manner. ## The Contractor will not be able to store and / or leave any equipment on site (including grounds) without prior written agreement of the Authority or leave any equipment unattended in public areas. ## The Contractor shall on instruction of the Authorised Office remove from site any equipment considered unsafe or dangerous |  |  |
| - Variations to Schedule ## The Authority from time to time may vary the Contract by: - Deleting from or adding to the schedule any premises or parts thereof. - Increase or decrease number of locations - Increase or decrease servicing requirements - System changes ## Any variation of the schedule will be actioned in writing by the Authority and an updated Schedule 1 published. No additional administration fee may be charged for variations to the schedule. All subsequent prices must be in line with submitted tender costs and no penalties will be paid by the Authority for any deletions. |  |  |
| - Staff ## All operatives working on this Contract must be qualified to a minimum of City in Guilds 235 Part B or NVQ Level 3 in electrical installation work or equivalent. The Contractor must be able to provide certificates of employees on request. ## No apprentices shall work unaccompanied or be left on site alone. The Contractor must ensure that their staff are staff are supervised by a qualified member of staff where appropriate. ## The Contractor must comply with Schedule 3, Information Governance Provisions (NHS Terms and Conditions of Services – Contract Version). ## The Contractor must comply with Schedule 2, General Terms and Conditions 5, staff ((NHS Terms and Conditions of Services – Contract Version). ## Smoking is not permitted on any healthcare site; this includes car park areas and smoking in Contractors vehicles whilst on a healthcare sites. ## The Contractor’s employees and/or agents must not drink alcohol, take drugs, smell of alcohol, or be under the influence of alcohol or drugs whilst on the Authority sites. ## The Contractor’s employees and/or agents are required to carry current photo ID, wear a clearly identifiable uniform and wear hi-visibility jackets/vests at all times when on site. ## It is the Contractors responsibility to ensure that all staff in attendance on site are of suitable appearance and are advised that a dress code is required by the Authority, i.e. no shorts, only full length trouser and tops to always be worn. It will be the Contractors responsibility to advise and inform their employees/agents of the dress code and to ensure all employees/agents wear it at all times when on Authority sites. ## The Contractor shall ensure their staff sign in and out of each premise. No work shall commence until the Contractor has read and signed the premises handbook. ## In the event of the Contractor’s staff being injured whilst on NHS premises, this must be reported immediately to the Authorised Estates Officer in line with NHS procedures, and appropriate paperwork completed. ## Where new employees/agents are utilised the Contractor must provide continuity of service and ensure the quality of service is not lost. ## The Contractor is reminded of the absolute necessity for maintaining in strict confidence any information or knowledge which may come into their possession relating to the NHS, any of its staff and/or patients under this Contract. ## Employees/agents must at all times display a caring sympathetic and conscientious attitude towards patients and staff. ## The Contractor’s employees and/or agents shall work in such a way as to maintain the patients’ privacy and dignity at all times. ## The Contractor’s employees and/or agents shall not carry any article of any description to or from any patient. ## The Contractor shall draw attention of his employees and/or agents employed in connection with the Contract to the peculiar vulnerability of health care premises in the event of fire and shall instruct them to take all precautions to obviate fire risks. ## It is the Contractor’s responsibility to ensure that their employees/agents who may be engaged on any part of the Contract are fully informed and aware of the appropriate clauses. ## The Contractor must ensure that all personnel connected with the Contract are familiar with all the Authority’s relevant policies and procedures, especially those concerned with Health & Safety and cross infection and abide by the requirement of the NHS Values and Constitution. Further information can be found at: ## www.ulh.nhs.uk ## http://www.nhs.uk/choiceintheNHS/Rightsandpledges/NHSConstitution/Documents/2013/the-nhs-constitution-for-england-2013.pdf ## http://www.nhs.uk/NHSEngland/thenhs/about/Pages/nhscoreprinciples.aspx ## The Contractor’s vehicles must be parked responsibly and with due consideration to other site users. Access and egress to all sites must remain clear at all times to allow for emergency vehicles. ## The Contractor shall ensure that their employees/agents are accredited by the appropriate professional body and hold current certification. |  |  |
| - Policies and Procedures - The Contractor must be able to demonstrate to the Authority that is has the following polices in place or provide a reasonable explanation of any are not available: - Health & Safety - Environmental & Sustainability - Complaints - Equality - Staff Code of Conduct - Data Protection & Confidentiality - Emergency Procedures & Business Continuity Plan ## Note: Contractors with less than 5 employees must comply with the Health & Safety Executive guidance and provide the Authority with a statement to cover all policies and procedures required. - The successful Contractor must provide the Authority with evidence of their policies prior to the award of the Contract. - The Authority is to have access to view and audit the Contractors policies, procedures and controls to ensure they are acceptable, complete and up to date throughout the life of the Contract. ## The Contractor’s employees/agents must be aware of and comply with the safeguarding statutory frameworks of the Authority. The Authority’s safeguarding policies and procedures provide the local interpretation of the national framework agreements and are available on the Authority’s websites: ## www.ulh.nhs.uk ## The safeguarding policies are reviewed and revised at least annually and it is the Authority’s intention to make necessary amendments in the future, in accordance with new operating arrangements emerging through transitions and / or evidence from Serious Case Review on a regular basis. |  |  |
| - Waste ## The Contractor is to remove off site all superfluous materials and equipment in connection with the work in accordance with current legislation and safe system of work. After completion of each service/ job and at the end of each working day the removal of waste, flammable materials, chemicals and alike must be undertaken in line with the Authority’s directive. ## Non and hazardous waste is to be disposed of in accordance with Local Authority or Environmental agency regulations, a waste transfer note must accompany the waste and a copy handed to the Authority. ## For hazardous waste a Waste Carriage Licence must be submitted as part of the tender process. |  |  |
| - Environmental ## The Contractor will work wherever possible to reduce their carbon footprint by reducing travel eliminating waste. |  |  |
| - Meetings and Monitoring ## The Contractor will be required to supply a contactable e-mail address for all correspondence. ## The Contractor will address complaints and resolve queries to a satisfactory outcome. |  |  |
| - Reporting 33.1 The Contractor must be flexible and be able to provide a variety of reports to the Authority as they require them. |  |  |
| - Invoices and Payments ## Invoices will be submitted by the Contractor to the Authority as agreed with the authorising officer. ## Purchase Orders will be issued to the successful Contractor by the Authority. Failure to quote the correct order numbers on the invoices will result in the invoices being returned. ## The Authority may require invoices to be laid using certain information; this will be given to the Contractor. The Contractor must take a flexible approach and ensure that the Authority receive the invoices as they require them. Supporting information and breakdowns must also be provided if requested. ## The Authority preferred method of receiving invoices is via e-mail to: ## United Lincolnshire NHS Hospitals Trust ## account.payable@ulh.nhs.uk |  |  |

Specification – Part 2:  Services only

ANNEX B3
TENDER RESPONSE DOCUMENT

## Note to Bidders:  Your response to this Annex B3 will be included in Schedule 5 (Specification and Tender Response Document) of the contract.  As such, it will form part of your contractual obligations to the Authority if you are awarded a contract.

- TECHNICAL AND QUALITY QUESTIONS AND METHOD STATEMENTS

# Overview

Please provide a concise summary highlighting the key aspects of the proposal.  (This response is not evaluated and should be used to contextualise your detailed responses).

## Response (500 maximum word limit)

See Annex B2, which you must complete.

Method Statement Questions (boxes below can be expanded to suit)

Q1. Management Overview Can you confirm that your proposal is totally compliant to the Trust Briefing document and why to believe it to be? If not please identify areas of non-compliance e.g. financial reporting

Please respond here (boxes do expand as you type)

Q2. Information Governance Please Confirm your compliance and registration to NHS Information Governance toolkit. If not already registered the Trust must have confirmation that you will complete all its Information Governance and NHS registration requirements prior to the beginning of the contract. (If not already registered, any order is subject to successful registration).

Please respond here (boxes do expand as you type)

Q3. Reporting Please explain how your proposed system will streamline & speed up the reporting process for ERIC, CRC, ETS, DEC and ESOS reports and give examples of these Also please explain where this has been successful implemented and the benefits achieved.

Please respond here (boxes do expand as you type)

Q4. Forecasting/Reports Please expand on how your system will provide dynamic forward forecasting on energy usage and give examples of where this has been achieved and the results.

Please respond here (boxes do expand as you type)

Q5. Forecasting/Reports Does your system include a project verification tool for analysing benefit, against ROI on energy initiatives? If so please explain how it works and the benefits to the Trust of having this functionality.

Please respond here (boxes do expand as you type)

Q6. Implementation Your proposal should include a high level Project Plan identifying individual areas to be completed to deliver a fully agreed and signed off project? Please include a narrative on this as well as a Microsoft Project Plan or similar GANTT Chart.

Please respond here (boxes do expand as you type)

Q7. Technical Support Please provide details of the technical support service options that are available with your proposed system. Those which are included in your tender submission and those which are at an additional cost.

Please respond here (boxes do expand as you type)

# Sub-contractors

Please specify any areas or elements for which you wish to use a subcontractor and provide the following details:

    - which subcontractor you wish to use and for what elements;

    - what reasons you have for such subcontracting;

    - why particular third parties would be chosen;

    - any existing relationship with each such subcontractor; and

    - how you would ensure that appropriate management controls would be put in place.

Please explain what contractual arrangements you have (if any) with subcontractor(s) to ensure that your obligations to the Authority will adequately flow down to the subcontractor(s).

## Response

ANNEX B4
cOMMERCIAL SCHEDULE

- GENERAL INSTRUCTIONS

All pricing should be in pound sterling (£GBP).  If applicable please convert you currency into UK sterling using the rate published by the European Central Bank on the date you submit your Tender.

Costs should be quoted exclusive of VAT.  Please confirm this in your Commercial Schedule, and indicate if the project will attract VAT and at what rate.

If your proposal includes costs for sub-contractors these costs must be identified and shown inclusive of any VAT they will charge you.

- PRICING MODEL AND CONNECTED QUESTIONS

Please complete the following costs model. Please give information on your overall approach to the following:

    - how charges will be calculated for each element of the services; and

    - the proposed payment profile over time.

Please break down your price by completing the tables below.  This should include your total charges for all of the services, which should be broken down into individual service elements and as specified in the tables.

Insert appropriate cost model tables for completion by Bidder

- Please refer to Excel spreadsheet: a&MT Options Price Matrix & Provisional Sums 081216

ANNEX B5
CONFIDENTIAL AND COMMERCIALLY SENSITIVE INFORMATION

- INFORMATION SUPPLIED BY THE AUTHORITY

All the information that the Authority supplies as part of this contract may be regarded as Confidential Information as defined in Schedule 4 of the NHS Terms and Conditions.

- INFORMATION THAT THE BIDDER CONSIDERS TO BE EXEMPT FROM DISCLOSURE

The Bidder considers that the type of information listed below is exempt from disclosure under the Freedom of Information Act 2000 ("FOIA") and/or the Environmental Information Regulations 2004 ("EIR") for the reasons given below.

| ## Information considered exempt from disclosure (include page/paragraph reference) | ## Reason for FOIA/EIR exemption | ## Period exemption is sought |
| --- | --- | --- |

ANNEX B6
ADMINISTRATIVE INSTRUCTIONS

## Note to Bidders:  Please complete this Annex.  If you are awarded a contract, the details you provide here will be copied into Schedule 1 of the contract (Key Provisions).

- CONTRACT MANAGERS

For the Supplier, the Contract Manager at the commencement of the contract will be as follows (see clause 3):

| ## Name | ## Insert name |
| --- | --- |
| ## Contact details | ## Insert address, e-mail address |
| ## Role | ## Insert details |

- NOTICES

Any notices served on the Supplier under the contract are to be delivered to (see clause 4):

| ## Name | ## Insert name |
| --- | --- |
| ## Address | ## Insert address |
| ## Role | ## Insert details |

- MANAGEMENT LEVELS FOR DISPUTE RESOLUTION

The management levels at which a dispute will be dealt with are as follows (see clause 5):

| ## Level | ## Supplier representative |
| --- | --- |
| ## 1 | ## Contract manager |
| ## 2 | ## Insert role |
| ## 3 |  |

ANNEX B7
FORM OF TENDER

DECLARATIONS BY THE BIDDER (TO BE SIGNED AND RETURNED BY THE BIDDER)

## FORM OF TENDER, NON-COLLUSION, CONFLICTS OF INTEREST AND ANTI-CANVASSING

## DECLARATIONS

TO: United Lincolnshire Hospitals Trust (ULHT)

## PROPOSAL TO PROVIDE Energy Monitoring and Targeting Suite

REFERENCE NUMBER: DN217336

## Form of Tender

## We have examined the invitation to tender ("ITT") dated 8th December 2016 and all accompanying annexes and schedules.  This Tender is made subject to the terms of the ITT, including but not limited to the instructions to Bidders.

## We declare that to the best of our knowledge the answers submitted in response to the Eligibility Questions (Annex B1 of the ITT) are correct.

## We tender against the requirements, and offer to enter into a contract with the Authority comprising the following:

the NHS Terms and Conditions (Annex A1 of the ITT);

the Specification (Annex B2 of the ITT) (including our response to the Specification);

our responses to the Tender Response Document (Annex B3 of the ITT); and

our response to the Commercial Schedule (Annex B4 of the ITT).

## Accordingly, this Tender is a contractual offer capable of acceptance by the Authority.  If the Authority accepts this Tender, we will execute any agreement that the Authority produces to record in one place the offer and acceptance.

## We undertake to keep the Tender open for acceptance by the Authority for a period of ninety (90) days  from the deadline for receipt of Tenders.

## We understand that you are not bound to accept the lowest priced, or any, Tender.

## Non-collusive tendering

## In recognition of the principle that the essence of tendering is that the Authority, shall receive bona fide competitive Tenders from all those tendering, we certify that this Tender is a bona fide Tender that is intended to be competitive.

## We have not fixed or adjusted the amount of this Tender under, or in accordance with, any agreement or arrangement with any other person.

## We have not done, and we undertake that, we will not do at any time before the hour specified for the return of the Tender any of the following acts:

communicate to a person other than the Authority the amount or approximate amount of the proposed Tender (except where the disclosure, in confidence, of the approximate amount of the Tender was essential to obtain insurance premium quotations required for the preparation of the Tender);

agree with any person that they shall refrain from tendering or as to the amount of any Tender to be submitted; and

offer to pay or give any sum of money or valuable consideration directly or indirectly to any person for doing or having done or causing or having caused to be done in relation to any other Tender any act or thing of the sort described above.

- Conflicts of interest

- We acknowledge that we are responsible for ensuring that no conflicts of interest exist between us (and our advisers) and the Authority.

- So far as any possible conflict of interest has arisen, we have notified the Authority promptly in writing of that potential conflict of interest and have taken any steps agreed with the Authority to avoid the conflict.

- We acknowledge that if we fail to comply with this requirement, we may be disqualified from the procurement at the discretion of the Authority.

Anti-canvassing confirmation

We have not canvassed or solicited any member, officer or employee of the Authority, in connection with the proposed contract award and to the best of our knowledge and belief nor has any person employed by us or acting on our behalf done any such act.

We further undertake that we will not in the future canvass or solicit any member, officer or employee of the Authority, in connection with the proposed contract and that no person employed by us or acting on our behalf will do any such act.

Name of person duly authorised to sign tenders:

Date:	.............................................................................

Name:	.............................................................................

in the capacity of: ................................................................

duly authorised to sign tenders for and on behalf of:

............................................................................................

By completing this Form of Tender and submitting your Tender you have agreed that the statements in this Form of Tender are correct and that you have complied, and will continue to comply, with the Authority's policies on non-collusion, conflicts of interest and anti-canvassing.

See EU definition of SME: http://ec.europa.eu/enterprise/policies/sme/facts-figures-analysis/sme-definition/