Questions at KEM main supplier event

Q. Does the tallest building (Stamps building) have a slate roof?
A. No. It is an asbestos sheet to be replaced with fibre cement sheet.

Q. If this is public money, why isn’t it down to cost?
A. 40% of the project is related to a quality element. It also requires experience of restoration.

Q. Is it a public path on the opposite side of the fence west of the Events field?
A. Yes; past the fence will be out of bounds.

Q. Are we expecting to use stone found on the grounds?
A. Yes; you will need to find as much as possible for repairing the South Condurrow Engine House.

Q. Are there temporary works associated with the café building?
A. A temporary roof is planned over the central part.

Q. Are both of the chimneys on the café building included in these stages and are they brick?
A. Under review but please price the scheme tendered.

Q. Is all of the café build included in the cost?
A. Yes.

Q. Do you want the boiler house to have temporary over-roof during repair?
A. Yes.

Q. Will the boiler house roof be wet laid?
A. Yes using salvaged and reclaimed slate

Q. Will there be over-roofing on the mill house?
A. It isn’t expected here but there is a requirement to protect the mill machinery

Q. When will the mill house be available to work on?
A. Work will be possible from the date of possession till sectional handover; planned reopening for Trevithick Day end of April 2016.

Q. Where do the funding sources come from?
A. The main sources are HLF and architectural heritage fund.

Q. What are the collateral warranties?
A. There is a requirement for an Employer / Subcontractor warranty for the mechanical and electrical installations. Appendix D Section D to be ticked on the standard form. There will be no funder warranties.

Q. Will there be CDP?
A. None in the M&E but see Appendix D Section 6 (timber frame, external balustrading, kitchen and above ground drainage in Assay plus single layer warm deck roofing