Questions Asked:

- Will we require skylights to be put back in place of the existing skylights to provide natural light?

PHC will not require the installation of skylights. The intention is to clad over the existing roof, including the skylights. Light to the upstairs units will be supplied with the installation of LED lights.