## OVERVIEW
RIMNET Asset Register
Summary of main components
| Item | Count
| R2 Fixed Monitors – Control Unit & Probe: | 93*
| *Internal Locations | 45
| *Unmanned Locations (Field cabinets) | 48
| Fixed Monitors - Control Unit only (spare) | 2
| Fixed cabinets - spare | 10
| GM tube spares (both variants) | 52*
| R3M monitors (Fixed & cone) – field | 162
| R3M monitors (Fixed & cone)- spare | 16
| R3M monitors - 3rd party owned | 44
| SARA probes | 11
13/12/2021 - Issue 1.0
R2 Fixed Monitor & Probe
R3M Monitor
SARA Probe

## R2 Fixed Monitors
R2 Fixed Monitors
Site Name | Monitor ID | Location | Installed Probe | Scheduled Visit Month | Battery Replaced | Notes
Aberdaron | 2001 | External | 91/095 | 2022-05-01 | 2019-06-26
Aberporth | 2206 | Internal | 91/046 | 2022-09-01 | 2019-08-01
Albemarle | 3008 | External | 91/125 | 2022-07-13 | 2019-07-12
Aldergrove | 2303 | Internal | 91/093 | 2022-03-30 | 2020-01-30
Alderney | 3006 | Internal | 91/045 | 2022-08-01 | 2019-08-08
Applecross | 2416 | External | 91/007 | 2022-07-23 | 2019-07-11
Aultbea | 2419 | External | 91/004 | 2022-07-22 | 2019-07-10
Aviemore | 2415 | Internal | 91/049 | 2022-04-15 | 2020-05-12
Ballypatrick Forest | 2302 | External | 91/042 | 2022-08-13 | 2019-08-26
Benbecula | 2425 | External | 91/021 | 2022-08-25 | 2019-05-29
Bishopton | 2126 | External | 91/112 | 2022-02-03 | 2020-01-28
Boscombe Down | 2213 | Internal | 91/012 | 2022-09-10 | 2019-09-11
Boulmer | 2018 | n/a | 91/075 | n/a | 2014-06-19 | Monitor not currently installed, but will be external
Brize Norton | 2108 | Internal | 91/009 | 2022-03-22 | 2020-05-01
Brooms Barn | 2123 | External | 91/069 | 2022-06-02 | 2019-07-31
Camborne | 2218 | Internal | 91/103 | 2022-05-27 | 2020-06-08
Cardington | 3007 | Internal | 91/031 | 2022-06-01 | 2019-07-09
Carlisle | 2017 | External | 91/129 | 2022-05-14 | 2020-05-19
Carmoney | 2301 | Internal | 91/014 | 2022-06-03 | 2019-05-28
Charterhall | 2404 | External | 91/122 | 2022-11-19 | 2019-12-03
Clunie | 2411 | External | 91/011 | 2022-04-15 | 2020-05-12
Coleshill | 2125 | External | 91/138 | 2022-03-01 | 2020-02-04
Coningsby | 2009 | Internal | 91/094 | 2022-08-26 | 2019-08-07
Cromer | 3012 | External | 91/061 | 2022-03-12 | 2020-05-05
Dalcross | 2417 | External | 91/127 | 2022-05-13 | 2020-06-04
Dyce | 2414 | External | 91/026 | 2022-12-22 | 2019-11-06
East Malling | 2114 | External | 91/024 | 2022-08-04 | 2019-05-31
Enniskillen | 2305 | External | 91/033 | 2022-09-23 | 2019-09-30
Eskdalemuir | 2403 | Internal | 91/053 | 2022-12-23 | 2019-12-11
Exeter | 2215 | External | 91/111 | 2022-03-22 | 2020-03-26
Fylingdales | 2010 | Internal | 91/067 | 2022-08-27 | 2019-08-30
Gatwick | 2112 | Internal | 91/062 | 2022-11-18 | 2019-07-10
Glenanne | 2304 | External | 91/036 | 2022-04-09 | 2020-03-10
Guernsey | 2120 | Internal | 91/016 | 2022-10-14 | 2021-12-06
Heathrow | 2109 | External | 91/131 | 2022-11-02 | 2019-11-18
Herstmonceux | 2118 | Internal | 91/081 | 2022-07-13 | 2020-07-13
Hurn | 2116 | Internal | 91/056 | 2022-07-20 | 2019-07-16
Inverbervie | 2412 | External | 91/128 | 2022-08-11 | 2019-08-28
Jersey | 2121 | Internal | 91/017 | 2022-06-17 | 2020-04-29
Kirkwall | 2423 | External | 91/126 | 2022-03-26 | 2015-03-27
Lake Vyrnwy | 2003 | External | 91/116 | 2022-06-24 | 2019-06-27
Langdon Bay | 2111 | Internal | 91/117 | 2022-06-03 | 2020-01-17
Leconfield | 2012 | External | 91/120 | 2022-08-27 | 2019-08-30
Leeming | 2041 | Internal | 91/108 | 2022-06-18 | 2019-06-18
Lerwick | 2424 | Internal | 91/102 | 2022-07-25 | 2019-07-25
Leuchars | 2407 | Internal | 91/080 | 2022-05-11 | 2020-05-12
Linton | 3010 | Internal | 91/013 | n/a | 2019-09-19 | Due to be decommissioned due to RAF base closure
Liscombe | 2212 | External | 91/019 | 2022-03-22 | 2020-01-29
Lossiemouth | 2418 | Internal | 91/119 | 2022-05-13 | 2020-06-04
Lydd | 2115 | External | 91/092 | 2022-11-03 | 2019-11-19
Machrihanish | 2405 | External | 91/054 | 2022-11-09 | 2019-10-04
Manston | 2110 | Internal | 91/025 | 2022-01-22 | 2019-12-02
Marham | 2101 | Internal | 91/090 | 2022-08-06 | 2019-07-31
Milford Haven | 2207 | Internal | 91/040 | 2022-06-10 | 2019-06-28
Mumbles Head | 2208 | Internal | 91/107 | 2022-06-30 | 2019-05-23
Nottingham | 2020 | Internal | 91/015 | 2022-09-22 | 2019-08-02
Oban | 2410 | Internal | 91/085 | 2022-12-15 | 2019-12-19
Odiham | 2122 | Internal | 91/039 | 2022-01-18 | 2019-11-21
Pershore | 2211 | External | 91/113 | 2022-12-06 | 2019-11-14
Plymouth | 2216 | External | 91/136 | 2022-09-17 | 2019-09-16
Portland | 2119 | Internal | 91/084 | 2022-09-28 | 2019-09-02
Prestwick | 2402 | Internal | 91/005 | 2022-02-03 | 2020-01-28
Rhyl | 2004 | External | 91/020 | 2022-04-22 | 2020-04-30
Ronaldsway | 2019 | Internal | 91/066 | 2022-07-30 | 2019-07-26
Rostherne | 3009 | External | 91/133 | 2022-10-15 | 2019-10-23
Rothamsted | 3011 | External | 91/101 | 2022-09-15 | 2020-01-16
Scilly | 2219 | External | 91/072 | 2022-09-18 | 2019-09-06
Shawbury | 2201 | Internal | 91/030 | 2022-07-14 | 2019-07-25
Shin | 2420 | Internal | 91/023 | 2022-08-31 | 2019-09-04
Shobdon | 2204 | External | 91/132 | 2022-12-10 | 2019-12-12
Shoeburyness | 2107 | External | 91/028 | 2022-06-01 | 2020-05-01
Squires Gate | 2011 | External | 91/079 | 2022-07-14 | 2019-07-25
St Athan | 2129 | External | 91/060 | 2022-05-15 | 2019-07-11
St Catherines Lighthouse | 2130 | Internal | 91/106 | 2022-08-04 | 2019-07-25
St Mawgan | 2217 | Internal | 91/078 | 2022-05-27 | 2020-08-03
Stoer Head | 2127 | Internal | 91/115 | 2022-07-27 | 2019-09-24
Stornoway | 2426 | External | 91/110 | 2022-04-30 | 2015-05-14
Strathallan | 2409 | External | 91/037 | 2022-10-12 | 2019-09-19
Thorney Island | 2117 | External | 91/074 | 2022-09-15 | 2019-08-29
Tiree | 2427 | External | 91/051 | 2022-05-23 | 2019-05-23
Trawscoed | 2205 | External | 91/064 | 2022-04-12 | 2020-04-03
Tulloch Bridge | 2413 | External | 91/044 | 2022-11-09 | 2019-09-19
Turnhouse | 2408 | External | 91/010 | 2022-12-09 | 2019-12-18
Valley | 2002 | Internal | 91/059 | 2022-04-22 | 2020-04-30
Waddington | 2007 | Internal | 91/135 | 2022-08-26 | 2019-08-07
Walney Island | 3013 | External | 91/121 | 2022-03-18 | 2020-05-14
Warcop Range | 2013 | External | 91/096 | 2022-05-14 | 2020-05-19
Wattisham | 2104 | Internal | 91/048 | 2022-06-02 | 2019-07-24
West Freugh | 2401 | External | 91/124 | 2022-05-12 | 2020-05-14
Wick | 2421 | Internal | 91/055 | 2022-11-16 | 2019-09-25
Wilsden | 2006 | Internal | 91/134 | 2022-09-29 | 2019-09-26
Wittering | 2202 | External | 91/071 | 2022-11-25 | 2019-11-13
Yeovilton | 2214 | Internal | 91/088 | 2022-09-18 | 2020-09-18

## R2 Fixed Probes
R2 Fixed Probes
Serial No. | Status | Location
91/095 | Installed | Aberdaron | Installed: | 93
91/046 | Installed | Aberporth | Floating stock | 40
91/125 | Installed | Albemarle | Usable probes | 133
91/093 | Installed | Aldergrove
91/045 | Installed | Alderney
91/007 | Installed | Applecross
91/004 | Installed | Aultbea
91/049 | Installed | Aviemore
91/042 | Installed | Ballypatrick Forest
91/021 | Installed | Benbecula
91/112 | Installed | Bishopton
91/012 | Installed | Boscombe Down
91/075 | Installed | Boulmer
91/009 | Installed | Brize Norton
91/069 | Installed | Brooms Barn
91/103 | Installed | Camborne
91/031 | Installed | Cardington
91/129 | Installed | Carlisle
91/014 | Installed | Carmoney
91/122 | Installed | Charterhall
91/011 | Installed | Clunie
91/138 | Installed | Coleshill
91/094 | Installed | Coningsby
91/061 | Installed | Cromer
91/127 | Installed | Dalcross
91/026 | Installed | Dyce
91/024 | Installed | East Malling
91/033 | Installed | Enniskillen
91/053 | Installed | Eskdalemuir
91/111 | Installed | Exeter
91/067 | Installed | Fylingdales
91/062 | Installed | Gatwick
91/036 | Installed | Glenanne
91/016 | Installed | Guernsey
91/131 | Installed | Heathrow
91/081 | Installed | Herstmonceux
91/056 | Installed | Hurn
91/128 | Installed | Inverbervie
91/017 | Installed | Jersey
91/126 | Installed | Kirkwall
91/116 | Installed | Lake Vyrnwy
91/117 | Installed | Langdon Bay
91/120 | Installed | Leconfield
91/108 | Installed | Leeming
91/102 | Installed | Lerwick
91/080 | Installed | Leuchars
91/013 | Installed | Linton
91/019 | Installed | Liscombe
91/119 | Installed | Lossiemouth
91/092 | Installed | Lydd
91/054 | Installed | Machrihanish
91/025 | Installed | Manston
91/090 | Installed | Marham
91/040 | Installed | Milford Haven
91/107 | Installed | Mumbles Head
91/015 | Installed | Nottingham
91/085 | Installed | Oban
91/039 | Installed | Odiham
91/113 | Installed | Pershore
91/136 | Installed | Plymouth
91/084 | Installed | Portland
91/005 | Installed | Prestwick
91/020 | Installed | Rhyl
91/066 | Installed | Ronaldsway
91/133 | Installed | Rostherne
91/101 | Installed | Rothamsted
91/072 | Installed | Scilly
91/030 | Installed | Shawbury
91/023 | Installed | Shin
91/132 | Installed | Shobdon
91/028 | Installed | Shoeburyness
91/079 | Installed | Squires Gate
91/060 | Installed | St Athan
91/106 | Installed | St Catherines Lighthouse
91/078 | Installed | St Mawgan
91/115 | Installed | Stoer Head
91/110 | Installed | Stornoway
91/037 | Installed | Strathallan
91/074 | Installed | Thorney Island
91/051 | Installed | Tiree
91/064 | Installed | Trawscoed
91/044 | Installed | Tulloch Bridge
91/010 | Installed | Turnhouse
91/059 | Installed | Valley
91/135 | Installed | Waddington
91/121 | Installed | Walney Island
91/096 | Installed | Warcop Range
91/048 | Installed | Wattisham
91/124 | Installed | West Freugh
91/055 | Installed | Wick
91/134 | Installed | Wilsden
91/071 | Installed | Wittering
91/088 | Installed | Yeovilton
91/003 | Ready for use | Field Stores
91/008 | Ready for use | Field Stores
91/022 | Ready for use | Field Stores
91/027 | Ready for use | Field Stores
91/029 | Ready for use | Field Stores
91/032 | Ready for use | Field Stores
91/041 | Ready for use | Field Stores
91/043 | Ready for use | Field Stores
91/047 | Ready for use | Field Stores
91/050 | Ready for use | Field Stores
91/058 | Ready for use | Field Stores
91/063 | Ready for use | Field Stores
91/068 | Ready for use | Field Stores
91/070 | Ready for use | Field Stores
91/073 | Ready for use | Field Stores
91/077 | Ready for use | Field Stores
91/082 | Ready for use | Field Stores
91/083 | Ready for use | Field Stores
91/086 | Ready for use | Field Stores
91/087 | Ready for use | Field Stores
91/091 | Ready for use | Field Stores
91/097 | Ready for use | Field Stores
91/098 | Ready for use | Field Stores
91/099 | Ready for use | Field Stores
91/100 | Ready for use | Field Stores
91/105 | Ready for use | Field Stores
91/109 | Ready for use | Field Stores
91/114 | Ready for use | Field Stores
91/118 | Ready for use | Field Stores
91/123 | Ready for use | Field Stores
91/130 | Ready for use | Field Stores
91/137 | Ready for use | Field Stores
91/139 | Ready for use | Field Stores
91/158 | Ready for use | Field Stores
91/002 | Return for calibration | Field Stores
91/057 | Return for calibration | Field Stores
91/065 | Return for calibration | Field Stores
91/089 | Return for calibration | Field Stores
91/018 | Return for calibration | Field Stores
91/038 | Return for calibration | Field Stores
91/006 | Faulty-spares only | Ultra Factory
91/035 | Faulty-spares only | Ultra Factory
91/104 | Faulty-spares only | Ultra Factory
Locations correct as of 08/12/21

## R3M Monitors
R3M Monitors
Monitor Serial No | Mobile No. | Network | Fixed/Mobile | Cal Date | Location | Notes | Summary | Qty
4013 | 07970975150 | O2 | Mobile | 2020-03-20 | Magnox |  | R3M monitors – field | 162
4014 | 07970637435 | O2 | Mobile | 2020-03-20 | Magnox |  | R3M monitors – spare | 4 fixed (3 faulty), 12 cone
4015 | 07738039630 | O2 | Mobile | 2017-06-05 | Magnox |  | R3M monitors – 3rd party locations | 44
4016 | 07527386543 | O2 | Mobile | 2017-04-03 | Magnox
4017 | 07540670283 | O2 | Mobile | 2017-06-05 | Magnox
4018 | 07885932285 | O2 | Mobile | 2017-03-23 | Magnox
4019 | 07912799821 | O2 | Mobile | 2017-03-23 | Magnox
4020 | 07772117377 | O2 | Mobile | 2017-04-20 | Magnox
4021 | 07921029082 | O2 | Mobile | 2017-09-18 | Magnox
4022 | 07872422205 | O2 | Mobile | 2017-09-18 | Magnox
4023 | 07971313400 | O2 | Mobile | 2017-03-23 | Magnox
4024 | 07814090314 | O2 | Mobile | 2017-06-05 | Magnox
4025 | 07785928702 | O2 | Mobile | 2017-03-23 | Magnox
4026 | 07912799853 | O2 | Mobile | 2017-04-20 | Magnox
4027 | 07787105878 | O2 | Mobile | 2017-09-14 | Magnox
4028 | 07515189238 | O2 | Mobile | 2017-09-14 | Magnox
4029 | 07595087724 | O2 | Mobile | 2017-04-03 | Magnox
4030 | 07850072323 | O2 | Mobile | 2017-04-03 | Magnox
4031 | 07860528158 | O2 | Mobile | 2017-04-03 | Magnox
4032 | 07743840814 | O2 | Mobile | 2012-05-28 | Magnox | Location unknown- Not returned to Ultra since 2012
4033 | 07739654922 | O2 | Mobile | 2012-05-29 | Magnox | Location unknown- Not returned to Ultra since 2012
4034 | 07738694707 | O2 | Mobile | 2017-04-03 | Magnox
4035 | 07715000070 | O2 | Mobile | 2017-09-14 | Met Office | Stored at Ultra
4036 | 07715000071 | O2 | Mobile | 2018-08-23 | Met Office | Stored at Ultra
4037 | 07715000072 | O2 | Mobile | 2021-06-16 | Met Office
4038 | 07773 098206 | EE | Mobile | 2021-03-02 | Sellafield | Sellafield owned and supplies own SIM card
4039 | 07885804749 | O2 | Mobile | 2017-06-15 | Sellafield | Sellafield owned and supplies own SIM card
4040 | 07885804750 | O2 | Mobile | 2017-04-04 | Met Office | Stored at Ultra
4041 | 07885804751 | O2 | Mobile | 2017-04-03 | Met Office | Stored at Ultra
4042 | 07885804752 | O2 | Mobile | 2017-11-22 | Met Office
4043 | 07885804753 | O2 | Mobile | 2017-04-04 | Met Office | Stored at Ultra
4044 | 07885804755 | O2 | Mobile | 2017-04-03 | Met Office | Stored at Ultra
4045 | 07885804756 | O2 | Mobile | 2017-04-03 | Met Office | Stored at Ultra
4046 | 07885804757 | O2 | Mobile | 2016-09-20 | Met Office
4047 | 07885804758 | O2 | Mobile | 2021-04-29 | Met Office
4048 | 07885804759 | O2 | Mobile | 2016-09-20 | Met Office | Stored at Ultra
4049 | 07885804760 | O2 | Mobile | 2016-09-21 | Met Office | Stored at Ultra
4050 | 07885804761 | O2 | Mobile | 2016-10-03 | Met Office | Stored at Ultra
4051 | 07885804762 | O2 | Fixed | 2016-10-03 | Met Office | At Ultra awaiting cal- To be used as Linton replacement
4052 | 07885804765 | O2 | Mobile | 2018-08-23 | Met Office | Sent to BEIS - RREMS Development Team
4053 | 07885804766 | O2 | Mobile | 2016-12-07 | Met Office | Stored at Ultra
4054 | 07885804767 | O2 | Mobile | 2016-12-06 | Met Office | Stored at Ultra
4055 | 07885804768 | O2 | Fixed | 2019-01-22 | Met Office
4056 | 07527386705 | O2 | Fixed |  | Magnox
4057 | 07527386732 | O2 | Fixed |  | Magnox
4058 | 07527386722 | O2 | Fixed |  | Magnox
4059 | 07764132698 | O2 | Fixed |  | Magnox
4060 | 07545420027 | O2 | Fixed |  | Magnox
4061 | 07885804779 | O2 | Fixed | 2012-06-15 | Met Office | Sent to Suffolk CC but they appear to have lost unit
4062 | 07885804780 | O2 | Fixed | 2017-09-06 | Met Office
4063 | 07885804783 | O2 | Fixed | 2021-09-15 | Met Office
4064 | 07885804784 | O2 | Fixed | 2021-09-15 | Met Office
4065 | 07885804785 | O2 | Fixed | 2017-09-06 | Met Office
4066 | 07885804787 | O2 | Fixed | 2018-07-04 | Met Office
4067 | 07885804789 | O2 | Fixed | 2021-09-15 | Met Office
4068 | 07885804791 | O2 | Fixed | 2017-09-06 | Met Office
4069 | 07885804793 | O2 | Fixed | 2019-01-22 | Met Office
4070 | 07885804794 | O2 | Fixed | 2019-09-24 | Met Office
4071 | 07885804796 | O2 | Fixed | 2017-09-06 | Met Office
4072 | 07885804798 | O2 | Fixed | 2021-01-04 | Met Office
4073 | 07841030607 | O2 | Fixed | 2017-12-20 | Met Office
4074 | 07715000073 | O2 | Fixed | 2019-03-04 | Met Office
4075 | 07841030608 | O2 | Fixed | 2017-12-20 | Met Office
4076 | 07885804802 | O2 | Fixed | 2021-08-19 | Met Office
4077 | 07841030609 | O2 | Fixed | 2021-04-29 | Met Office
4078 | 07885804813 | O2 | Fixed | 2021-04-29 | Met Office
4079 | 07970006941 | EE | Fixed | 2021-06-16 | Met Office
4080 | 07970006973 | EE | Fixed | 2021-09-07 | Met Office
4081 | 07885804821 | O2 | Fixed | 2020-08-17 | Met Office
4082 | 07885804822 | O2 | Fixed | 2020-08-17 | Met Office
4083 | 07885804823 | O2 | Fixed | 2021-06-16 | Met Office
4084 | 07885804824 | O2 | Fixed | 2012-06-26 | Met Office | Internal corrosion -Spare parts only (Ultra stores)
4085 | 07885804828 | O2 | Fixed | 2017-12-20 | Met Office
4086 | 07773 098192 | EE | Mobile (was Fixed) | 2021-01-07 | Sellafield | Sellafield owned and supplies own SIM card
4087 | 07773 098187 | EE | Mobile (was Fixed) | 2020-11-26 | Sellafield | Sellafield owned and supplies own SIM card
4088 | 07773 098211 | EE | Mobile (was Fixed) | 2021-03-02 | Sellafield | Sellafield owned and supplies own SIM card
4089 | 07773 098196 | EE | Mobile (was Fixed) | 2021-01-07 | Sellafield | Sellafield owned and supplies own SIM card
4090 | 07773 098193 | EE | Mobile (was Fixed) | 2021-01-06 | Sellafield | Sellafield owned and supplies own SIM card
4091 | 07773 098202 | EE | Mobile (was Fixed) | 2021-03-02 | Sellafield | Sellafield owned and supplies own SIM card
4092 | 07773 098198 | EE | Mobile (was Fixed) | 2021-01-07 | Sellafield | Sellafield owned and supplies own SIM card
4093 | 07773 098191 | EE | Mobile (was Fixed) | 2020-11-26 | Sellafield | Sellafield owned and supplies own SIM card
4094 | 07718 203663 | O2 | Mobile (was Fixed) | 2019-02-12 | Sellafield | Sellafield owned and supplies own SIM card
4095 | 07773 098204 | EE | Mobile (was Fixed) | 2021-03-02 | Sellafield | Sellafield owned and supplies own SIM card
4096 | 07773 098203 | EE | Mobile (was Fixed) | 2021-03-02 | Sellafield | Sellafield owned and supplies own SIM card
4097 | 07773 098197 | EE | Mobile (was Fixed) | 2021-01-07 | Sellafield | Sellafield owned and supplies own SIM card
4098 | 07773 098190 | EE | Mobile (was Fixed) | 2021-11-25 | Sellafield | Sellafield owned and supplies own SIM card
4099 | 07773 098207 | EE | Mobile (was Fixed) | 2020-11-26 | Sellafield | Sellafield owned and supplies own SIM card
4100 | 07773 098189 | EE | Mobile (was Fixed) | 2020-11-26 | Sellafield | Sellafield owned and supplies own SIM card
4101 | 07970006954 | EE | Fixed | 2021-06-16 | Met Office
4102 | 07970006942 | EE | Fixed | 2017-12-19 | Met Office
4103 | 07885804860 | O2 | Fixed | 2016-09-21 | Met Office
4104 | 07885804862 | O2 | Fixed | 2017-12-19 | Met Office
4105 | 07885804864 | O2 | Fixed | 2021-01-04 | Met Office
4106 | 07885804865 | O2 | Fixed | 2021-09-15 | Met Office
4107 | 07885804866 | O2 | Fixed | 2020-08-17 | Met Office
4108 | 07885804867 | O2 | Fixed | 2020-08-17 | Met Office
4109 | 07841030589 | O2 | Fixed | 2021-04-29 | Met Office
4110 | 07885804869 | O2 | Fixed | 2021-01-04 | Met Office
4111 | 07885804871 | O2 | Fixed | 2021-06-16 | Met Office
4112 | 07885804873 | O2 | Fixed | 2021-01-04 | Met Office
4113 | 07885804876 | O2 | Fixed | 2021-09-15 | Met Office
4114 | 07885804877 | O2 | Fixed | 2019-03-04 | Met Office
4115 | 07885804878 | O2 | Fixed | 2020-08-17 | Met Office
4116 | 07885804879 | O2 | Fixed | 2020-08-17 | Met Office
4117 | 07885804880 | O2 | Fixed | 2020-08-17 | Met Office
4118 | 07885804881 | O2 | Fixed | 2020-08-17 | Met Office
4119 | 07885804882 | O2 | Fixed | 2021-08-19 | Met Office
4120 | 07885804884 | O2 | Fixed | 2019-03-04 | Met Office
4121 | 07970006940 | EE | Fixed | 2021-08-10 | Met Office
4122 | 07885804887 | O2 | Fixed | 2020-08-17 | Met Office
4123 | 07885804888 | O2 | Fixed | 2018-08-21 | Met Office
4124 | 07885804889 | O2 | Fixed | 2020-08-17 | Met Office
4125 | 07885804890 | O2 | Fixed | 2020-08-17 | Met Office
4126 | 07841030590 | O2 | Fixed | 2021-08-19 | Met Office
4127 | 07885804893 | O2 | Fixed | 2019-01-22 | Met Office
4128 | 07885804894 | O2 | Fixed | 2021-06-16 | Met Office
4129 | 07841030591 | O2 | Fixed | 2021-09-15 | Met Office
4130 | 07841030592 | O2 | Fixed | 2019-10-21 | Met Office
4131 | 07885804898 | O2 | Fixed | 2019-01-22 | Met Office
4132 | 07841030593 | O2 | Fixed | 2019-10-21 | Met Office
4133 | 07885804902 | O2 | Fixed | 2018-05-10 | Met Office
4134 | 07885804903 | O2 | Fixed | 2018-05-11 | Met Office
4135 | 07841030601 | O2 | Fixed | 2019-10-21 | Met Office
4136 | 07885804907 | O2 | Fixed | 2021-04-29 | Met Office
4137 | 07885804909 | O2 | Fixed | 2020-03-16 | Met Office
4138 | 07885804910 | O2 | Fixed | 2021-06-16 | Met Office
4139 | 07885804911 | O2 | Fixed | 2021-09-15 | Met Office
4140 | 07885804913 | O2 | Fixed | 2021-09-15 | Met Office
4141 | 07885804914 | O2 | Fixed | 2018-05-14 | Met Office
4142 | 07885804917 | O2 | Fixed | 2018-05-10 | Met Office
4143 | 07970006939 | EE | Fixed | 2021-09-15 | Met Office
4144 | 07970006936 | EE | Fixed | 2018-08-22 | Met Office
4145 | 07885804922 | O2 | Fixed | 2018-08-21 | Met Office
4146 | 07841030603 | O2 | Fixed | 2019-10-21 | Met Office
4147 | 07841030604 | O2 | Fixed | 2021-08-19 | Met Office
4148 | 07841030605 | O2 | Fixed | 2018-07-04 | Met Office
4149 | 07841030606 | O2 | Fixed | 2019-11-25 | Met Office
4150 | 07885804927 | O2 | Fixed | 2020-06-03 | Met Office
4151 | 07885804928 | O2 | Fixed | 2020-08-17 | Met Office
4152 | 07885804934 | O2 | Fixed | 2018-05-10 | Met Office
4153 | 07885804936 | O2 | Fixed | 2021-09-15 | Met Office
4154 | 07885804937 | O2 | Fixed | 2021-01-04 | Met Office
4165 | 07841777104 | O2 | Fixed | 2020-06-22 | Met Office
4166 | 07841777105 | O2 | Fixed | 2021-04-29 | Met Office
4167 | 07841777106 | O2 | Fixed | 2021-09-15 | Met Office
4168 | 07841777107 | O2 | Fixed | 2021-04-29 | Met Office
4169 | 07841777109 | O2 | Fixed | 2021-06-16 | Met Office
4170 | 07841777110 | O2 | Fixed | 2021-09-23 | Met Office
4171 | 07841777116 | O2 | Fixed | 2020-06-22 | Met Office
4172 | 07841777117 | O2 | Fixed | 2021-09-15 | Met Office
4173 | 07841777119 | O2 | Fixed | 2019-03-04 | Met Office
4174 | 07841777121 | O2 | Fixed | 2021-09-15 | Met Office
4175 | 07841777122 | O2 | Fixed | 2016-09-06 | Met Office
4176 | 07841777123 | O2 | Fixed | 2018-08-22 | Met Office
4177 | 07841777125 | O2 | Fixed | 2018-08-22 | Met Office
4178 | 07841777126 | O2 | Fixed | 2018-05-10 | Met Office
4179 | 07841777130 | O2 | Fixed | 2016-09-06 | Met Office
4180 | 07841777131 | O2 | Fixed | 2021-04-29 | Met Office
4181 | 07841777132 | O2 | Fixed | 2021-06-16 | Met Office
4182 | 07841777136 | O2 | Fixed | 2018-05-10 | Met Office
4183 | 07841777137 | O2 | Fixed | 2021-04-29 | Met Office
4184 | 07841777138 | O2 | Fixed | 2018-05-10 | Met Office
4185 | 07841777139 | O2 | Fixed | 2018-05-10 | Met Office
4186 | 07841777140 | O2 | Fixed | 2016-09-06 | Met Office
4187 | 07841777141 | O2 | Fixed | 2016-09-05 | Met Office
4188 | 07841777142 | O2 | Fixed | 2016-09-05 | Met Office
4189 | 07841777143 | O2 | Fixed | 2021-03-02 | Met Office
4190 | 07885804829 | O2 | Fixed | 2021-03-02 | Met Office
4191 | 07885804830 | O2 | Fixed | 2019-11-26 | Met Office
4192 | 07885804831 | O2 | Fixed | 2021-01-04 | Met Office
4193 | 07885804834 | O2 | Fixed | 2020-01-06 | Met Office
4194 | 07885804835 | O2 | Fixed | 2020-01-06 | Met Office
4195 | 07885804836 | O2 | Fixed | 2021-04-29 | Met Office
4196 | 07885804837 | O2 | Fixed | 2021-04-29 | Met Office
4197 | 07885804840 | O2 | Fixed | 2021-08-19 | Met Office
4198 | 07885804841 | O2 | Fixed | 2021-08-19 | Met Office
4199 | 07885804842 | O2 | Fixed | 2021-04-29 | Met Office
4200 | 07885804847 | O2 | Fixed | 2016-09-21 | Met Office
4201 | 07885804851 | O2 | Fixed | 2016-09-21 | Met Office
4202 | 07885804854 | O2 | Fixed | 2020-11-25 | Met Office
4203 | 07885804855 | O2 | Fixed | 2020-06-03 | Met Office
4204 | 07885804856 | O2 | Fixed | 2021-06-16 | Met Office
4205 | 07885804772 | O2 | Fixed | 2021-04-29 | Met Office
4206 | 07885804773 | O2 | Fixed | 2016-09-29 | Met Office
4207 | 07885804774 | O2 | Fixed | 2020-11-25 | Met Office
4208 | 07885804775 | O2 | Fixed | 2016-09-29 | Met Office | Faulty - Currently at Ultra
4209 | 07384254615 | Vodafone | Fixed | 2019-04-29 | Met Office
4300 | 07885804800 | O2 | Fixed | 2021-06-16 | Met Office
4301 | 07885804868 | O2 | Fixed | 2021-01-04 | Met Office
4302 | 07885804892 | O2 | Fixed | 2018-08-22 | Met Office
4303 | 07384252362 | Vodafone | Fixed | 2018-08-22 | Met Office | Faulty - Currently at Ultra
4304 | 07885804896 | O2 | Fixed | 2018-08-22 | Met Office
4305 | 07715000076 | O2 | Fixed | 2021-01-04 | Met Office
4306 | 07970006965 | EE | Fixed | 2018-08-29 | Met Office
4307 | 07885804906 | O2 | Fixed | 2018-08-22 | Met Office
4308 | 07885804923 | O2 | Fixed | 2018-08-21 | Met Office
4309 | 07885804924 | O2 | Fixed | 2018-08-29 | Met Office
4310 | 07885804925 | O2 | Fixed | 2021-04-29 | Met Office
4311 | 07885804926 | O2 | Fixed | 2018-05-11 | Met Office
4312 | 07885804900 | O2 | Fixed | 2020-01-06 | Met Office
4313 | 07885804799 | O2 | Fixed | 2020-08-17 | Met Office
4314 | 07885804801 | O2 | Fixed | 2018-08-22 | Met Office
4315 | 07885804805 | O2 | Fixed | 2021-08-19 | Met Office
4316 | 07885804817 | O2 | Fixed | 2018-08-29 | Met Office
4317 | 07885804818 | O2 | Fixed | 2018-08-29 | Met Office
4318 | 07885804857 | O2 | Fixed | 2020-08-17 | Met Office
4319 | 07885804858 | O2 | Fixed | 2015-11-11 | Met Office
4320 | 07885804885 | O2 | Fixed | 2018-08-29 | Met Office
4321 | 07885804918 | O2 | Fixed | 2018-08-29 | Met Office
4322 | 07885804919 | O2 | Fixed | 2021-06-16 | Met Office
4323 | 07715000074 | O2 | Fixed | 2021-04-29 | Met Office
4324 | 07715000075 | O2 | Fixed | 2021-08-19 | Met Office
4325 | 07841030575 | O2 | Fixed | 2019-03-04 | Met Office
4326 | 07841030577 | O2 | Fixed | 2019-01-22 | Met Office
4327 | 07841030578 | O2 | Fixed | 2019-03-04 | Met Office
4328 | 07841030579 | O2 | Fixed | 2019-03-04 | Met Office
4329 | 07841030580 | O2 | Fixed | 2019-01-21 | Met Office
4330 | 07841030582 | O2 | Fixed | 2021-09-15 | Met Office
4331 | 07841030583 | O2 | Fixed | 2019-03-04 | Met Office
4332 | 07841030585 | O2 | Fixed | 2019-03-04 | Met Office
4333 | 07841030586 | O2 | Fixed | 2019-04-29 | Met Office
4334 | 07970006971 | EE | Fixed | 2021-01-04 | Met Office

## RIMNET Spares
RIMNET Spare Parts
Ultra Part Number | Part Description | Qty | Location | Notes
611/1/31985/000 | RIMNET ENVIRONMENTAL CABINET | 5 | Ultra Stores
N/A | RIMNET Control Monitor (Complete unit) | 2 | Ultra Stores | Decommissioned units from previous site installations
611/7/32079/001 | RIMNET CHECK DEVICE | 18 | Ultra Stores
414/4/01878/000 | TUBE GEIGER MULLER ZP1221/01S - R2 Probes | 15 | Ultra Stores
414/4/01878/001 | TUBE GEIGER MULLER ZP1221/01HPA - R3M ONLY | 37 | Ultra Stores
611/1/46705/000 | R3M Battery Charger - Outdoor/Waterproof Version | 4 | Ultra Stores | S/No's: 4366-4369
611/1/46706/000 | R3M Battery Charger - Non-Waterproof Version | 30 | Ultra Stores
605/4/08688/002 | RIMNET Monitor PSU 85-265V I/P 12V 8.5A 100W | 9 | Ultra Stores | S/No's: 0041, 0046, 0047, 0053, 0057, 0058, 0060, 0067, 0071
611/1/31977/500 | RIMNET CONTROL UNIT MOD KIT (includes control board assembly) | 10 | Ultra Stores | S/No's: 421112 to 421121
611/1/46402/000 | RIMNET Control Board complete assemb;y | 4 | Ultra Stores | S/No's: 420918, 420913, 419732, 419737
611/1/47100/000 | R3M MONITOR - FIXED - MOUNTING FRAME ASSEMBLY | 25 | Ultra Stores
611/1/31985/000 | RIMNET ENVIRONMENTAL CABINET | 5 | Field Stores | S/No's: 421483, 421484, 421485, 421486, 421487
611/2/32030/000 | RFI O Ring | 59 | Field Stores
611/1/32074/000 | Lightning Protection unit (for probe stand) | 9 | Field Stores
611/1/32075/000 | LPU PCB Only | 3 | Field Stores
611/1/46402/000 | Control Unit PCB Assy | 4 | Field Stores
611/1/46403/000 | CONTROL UNIT PANEL ASSY | 1 | Field Stores
611/1/46404/000 | CONTROL UNIT PSU ASSY | 1 | Field Stores
516/4/97069/000 | Surge protector | 1 | Field Stores
408/4/50698/000 | Thermostat (for environmental Cab) | 1 | Field Stores
422/4/97018/000 | 2 Amp Mains suppression filter (incoming supply to monitor) | 2 | Field Stores
516/4/97070/000 | 16 Amp circuit breaker (for environmental Cab) | 1 | Field Stores
403/4/14322/000 | 6va transformer (for monitor) | 2 | Field Stores
418/4/97883/000 | Heater (for environmental Cab) | 13 | Field Stores
516/4/97069/000 | Circuit Breaker (for environmental Cab) | 8 | Field Stores
605/4/08688/002 | PSU (for Control unit) x 7 | 7 | Field Stores

## SARA Equipment
Envinet Spectroscopic Equipment
SARA Probes
Serial No. | Mobile Network | Location | Notes
0224 | O2 | Met Office | Not deployed
0252 | O2 | BEIS RREMS Development Team | Not deployed
0267 | O2 | Met Office | Not deployed
0268 | O2 | Met Office | Not deployed
0269 | O2 | Met Office | Not deployed
0270 | O2 | Ultra | Faulty - Awaiting BEIS decision
0271 | O2 | Ultra | Faulty - Awaiting BEIS decision
0272 | O2 | Met Office | Not deployed
0273 | O2 | Met Office | Not deployed
0274 | O2 | Met Office | Not deployed
0100 | O2 | Ultra | Test Probe
SARA NMC Servers and Ancillary Kit
Serial No/Asset ref | Equipment | Description | Notes
CZ23120MSN | SARA NMC Server 1 | HP ProLiant ML350p (OS Win Server 2012)
CZ23120MRX | SARA NMC Server 2 | HP ProLiant ML350p (OS Win Server 2012)
21622B3402375 | Network Switch | Netgear GS108 - 8 port switch
354037051423030 | GSM Modem | Cinterion GSM Modem | Fitted with O2 SIM card (SMS function)
TABKC1029187 | Serial/Ethernet Converter | MOXA Nport 5150
R3701BC000064 | Network Storage Drive | D-Link NS-315 Network Drive
3C83020547 | UPS for Server 1 | HP T1000 G3 UPS
3C83020544 | UPS for Server 2 | HP T1000 G3 UPS
CZJ41505D3 | SARA SMTP Server | HP ProLiant DL160 Server (Rackmount)