|  |  |  | Bay 3/21 Spring Place 105 Commercial Road Southampton SO15 1EG United Kingdom |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| All Applicants for the Hazardous Area PPE Via Contracts Finder |  | Tel: Fax: E-mail: | +44 (0)20 381 72173 contracts@mcga.gov.uk |  |  |
|  |  | Our ref: |  | TCA 3/7/1038 |  |
|  |  | 6th February 2018 |  |  |  |

Dear All

HAZARDOUS AREA PPE

We have received some questions from a potential supplier for the above-mentioned contract, and to ensure that all applicants have access to the same information, we have copied the question and our answer to you:

Question:

Is Zone 0 essential? Zone 0 is classified as someone working in a live explosive atmosphere for more than 1000 hrs/yr. Gas detectors measuring CO2 use IR based sensors which are generally not Zone 0 rated and so make the whole instrument drop from Zone 0 rated to Zone 1 rated.

Answer:

This is desirable not mandatory

Question:

Do the area monitors need to communicate directly with the area monitors or simply share a common software platform when downloading or be the same brand?

Answer:

It is desirable that they communicate directly. No product will be assessed as a pass or fail.

Question:

Is this a mandatory requirement or a desirable requirement: The area monitors should be GPS and Bluetooth enabled, to allow them to transmit alerts, with GPS coordinates, to laptops and/or other Bluetooth enabled devices. There are only two area monitors on the market that have GPS location services

Answer:

This is a desirable requirement but again will not be assessed as pass or fail.

Question:

Is this a mandatory requirement or a desirable requirement: The requirement includes a bump test and calibration docking station for these measuring kits to carry out tests internally. We wish to be able to bump test and calibrate four monitors at a time. Area monitors generally don’t have a docking station as they are too large and are calibrated manually, only one product on the market has a dedicated docking station.

Answer:

This is a desirable requirement and will not be assessed as a pass or fail.

I hope this provides all the information you require

Kind Regards

Amanda

MCA Procurement Strategy &Corporate Services