Request for Quotation

RFQ158

External Work 2020

Issued 21/09/2020

# Table of Contents

Table of Contents	2

Confidentiality Statement	4

Open Procedure	4

Submission Details	4

Submission Deadlines	4

Submission Delivery Address	5

Submission Questions and Clarifications	5

Electronic Submissions	5

Introduction and Executive Summary	6

Business Overview & Background	6

Our Vision … is where our future lies	6

Our Mission … is what we focus on each and every day	6

Background	7

Detailed Requirement	7

Work Timescales	8

Security	8

Specific conditions applicable to this quotation	8

Working Requirements	8

Electricity At Work Act 1989	8

IEE regulations	8

Health & Safety	9

Noise Control	9

Certification and Forms of Completion	9

Environmental	9

Redundant Services and Equipment	9

Provision of Materials, Plant and Equipment	10

Construction (Design and Management) Regulations 2015	10

Conduct of Work	11

Delivery of Plant and Materials	11

Tender Timescales	11

Written submission	12

Pricing	12

Terms and Conditions	12

Validity	13

Selection Criteria	13

Award Price	13

Scoring	14

Assessment of Quotations	14

Freedom of Information Act 2000	15

general data protection Regulation (GDPR) 2018	15

Agreement Conditions Acceptance and Declaration	15

Supporting Documentation	15

# Confidentiality Statement

This document, and any attachments thereto, regardless of form or medium, is intended only for use by the addressee(s) and may contain legally privileged and/or confidential, copyrighted, trademarked, patented or otherwise restricted information viewable by the intended recipient only. If you are not the intended recipient of this document (or the person responsible for delivering this document to the intended recipient), you are hereby notified that any dissemination, distribution, printing or copying of this document, and any attachment thereto, is strictly prohibited and violation of this condition may infringe upon copyright, trademark, patent, or other laws protecting proprietary and, or, intellectual property.  In no event shall this document be delivered to anyone other than the intended recipient or original sender and violation may be considered a breach of law fully punishable by various domestic and international courts. If you have received this document in error, please respond to the originator of this message or email him/her at the address below and permanently delete and/or shred the original and any copies and any electronic form this document, and any attachments thereto and do not disseminate further.

Thank you for your consideration, City College Plymouth.

Where no notice is given, all information contained herein is Copyright 2020 City College Plymouth.

# Open Procedure

The College fully adheres to the requirements of the Public Contracts Regulations 2015, including for opportunities which are under threshold amounts.

Any Contractor who directly or indirectly canvasses any Member or Officer of the Institution, or advisor concerning the award of the contract for the provision of the services, or who directly or indirectly obtains or attempts to obtain information from any such member or Officer concerning any Tender or proposed Tender for the service will be disqualified from having his/her Tender considered.

# Submission Details

## Submission Deadlines

All submissions for responding to this Request for Quote must be submitted via email as stated below, no later than:

Monday 5th October 2020

12:00 Noon

Any submissions received after this date will not be considered.

## Submission Delivery Address

All submissions should be submitted electronically as below.

## Submission Questions and Clarifications

You may contact the following person if you have any questions or require clarification on any topics covered in this Request for Quotation, by Monday 28th September

Adam Baker

Procurement Assistant

City College Plymouth

Phone: 01752 305313

Email:	tenders@cityplym.ac.uk

All correspondence during the Tender should be channeled via the Procurement Officer using the above details only. Bidders found to have gained an unfair advantage shall be disqualified from the current opportunity and future opportunities with the College for a minimum of three (3) years.

## Electronic Submissions

Electronic submissions in response to this Request for Quotation must meet the following criteria:

Sent via email to: tenders@cityplym.ac.uk quoting reference RFQ114

Document standards:

Text must be in Microsoft Word format;

Price tables must be in Microsoft Excel format (using pricing schedule in Appendix A);

Supportive evidence may additionally be submitted in PDF format;

Images, Designs, and other supporting evidence may be in either JPEG or PDF format

Completed Appendix C Suitability Assessment & Selection Questionnaire (Including Mandatory & Discretionary Exclusions) Parts 1, 2 and 3. - Please note this suitability assessment will not be viewed unless you are shortlisted for the presentation stage. Failure at this stage may prevent the contract from being awarded.

Signed Agreement Acceptance and Declaration Appendix D

- Please note that the College is able to accept submissions sent in a compressed or “.zip” file format, so long as the files contained meet the standards described above.

- WARRANTY:

- By submitting your tender bid, you are warrantying to the College that you have not breached our canvassing or soliciting clause.

- If any successful tenderer awarded a contract is found to have provided an inaccurate warranty, then the College reserves the right to terminate the awarded contract with immediate effect and re-tender the contract from which the successful tenderer will be excluded from re-bidding and shall be disqualified from any future opportunities for a period of four years.

# Introduction and Executive Summary

City College Plymouth is looking to carry out external works over the October half term of 2020, due to the nature of the works and the timescale these are being advertise as a basket of works.

All prospective contractors will be required to complete the suitability assessment questionnaire (appendix C).

# Business Overview & Background

The College currently operates on two main sites within the city, serving 12,897 students and employing over 500 staff. The College operates year round, with opening times from 0800-2100 on some days.

## Our Vision … is where our future lies

We are a College with a national reputation for promoting enterprise, employability and science, technology, engineering and mathematics (STEM).

## Our Mission … is what we focus on each and every day

To be the South West’s leading provider of innovative, technical, professional education and training by supporting partnerships for growth, raising aspirations and fostering wealth creation

## Background

City College Plymouth is one of the largest providers of innovative, technical and professional, education in the South West with a national reputation for promoting enterprise, employability and science, technology, engineering and mathematics (STEM). The College plays a central role in the educational, cultural and economic life of the region and works with strategic partners to facilitate growth, raise aspirations and foster wealth creation.

The College was awarded the Teaching Excellence Framework Gold award for its university-level provision and its most recent Ofsted inspection confirmed that the College continues to be ‘Good’ with outstanding features. The College was rated first in the South West and second nationally for student satisfaction in the latest FE Choices student satisfaction survey.

City College supports the region’s employers with their award-winning Apprenticeship provision, as well as providing a range of courses and bespoke training programmes which enable employees to upskill or retrain to better support their business’ requirements. Their successful partnership working with the local business community resulted in a 99.5% satisfaction rate in the Government’s national ‘FE Choices employer satisfaction survey 2016 to 2017’ - placing them first in the country for general further education colleges.

City College Plymouth offers a wide range of academic and vocational courses in a variety of subjects. The total number of students supported by the College is 12,533 - which comprises of: 3,569 full-time students, including 765 higher education students and 179 non EU students; 8,964 part-time students; and 1,599 apprentices. The College also employs over 500 staff.

# Detailed Requirement

The anticipated cost of the works are shown as per the detail in appendix A

The planned works are detailed as followed;

Monterey House Decking

- Remove old timber decking and balustrade keeping original framework in place

- Install new anti-slip decking and balustrade

- Carry out above keeping layout and style same as original

Entrance Barrier

- Remove existing barrier and support post

- Install new lockable manual 8m barrier to include a support post

Exit Barrier

- Remove existing barrier and support post

- Install new lockable manual 5m barrier to include a support post

Please contact the Premises Manager Alison Hicks on 01752 305302 to arrange a site viewing.

Prospective contractors can bid for one or both of the opportunities as they wish but we would expect to receive assurances that they can complete the jobs within the given timeframes. Please note any contractor who cannot meet the require timeframes will be discounted from bidding.

## Work Timescales

All of the works listed in appendix A need to be carried out within the period 26th-30th October.

## Security

The College requires that all contractors, prior to undertaking work on the College site, will have been subject to a (DBS) English Disclosure Barring and Services check. This requirement may be suspended where works are undertaken during the college holiday breaks or outside of the main school week, providing the College is satisfied any risk to students who may be on site for revision or taster sessions is adequately managed.

All staff on site will be required to comply with health and safety requirements at all times and to wear appropriate identification.

All staff will be required to sign in and sign out when on College premises.

# Specific conditions applicable to this quotation

## Working Requirements

### Electricity At Work Act 1989

The contractor is to comply with the Act at all times. If LIVE WORKING cannot be avoided, the contractor is to inform the Estates Engineer of the reasons and the proposed action to be taken, to implement a safe system of working.

### IEE regulations

Electrical work must be carried out by an electrical contractor on the roll of the National Inspection Council for Electrical Installation Contracting, or other approved certification body e.g. NAPIT, ECA etc, and conform to the requirements of current IEE Regulations (BS7671) and the local electricity supply company

### Health & Safety

The contractor is responsible for carrying out a detailed risk assessment of the work to be done. This must be issued to the Estates Engineer at least two weeks before work commences, along with method statements, which explain how the work is to be carried out, and the safety controls to be employed.

In addition to the Electricity at Work Act 1989, all work must be carried out in a safe manner, and in accordance with all relevant Health & Safety Regulations, without risk of harm to the people carrying out the work, students and staff of the college, and members of the public.

The College operates a Signing In/Out, and a permit to work system which must be strictly adhered to.

The contractor is responsible for arranging all safe access to work areas (e.g. scaffolding) and for maintaining safe working conditions (e.g. edge protection, temporary lighting) within the work area.

### Noise Control

The Contractor shall comply with The Noise at Work Regulations 1989.  He must take all reasonable steps to control and curtail the level of noise whilst carrying out the works.

### Certification and Forms of Completion

The Contractor is to prepare all forms of completion as prescribed in the relevant section of the current IEE regulation.

- The NICEIC or NAPIT forms are preferred.

- The forms are to be presented in a clean condition.

### Environmental

All work must be carried out with a responsible attitude to environmental concerns. All waste arising from the work is the responsibility of the contractor, and must be handled and disposed of in accordance with the current waste and all relevant environmental legislation.

### Redundant Services and Equipment

All redundant services arising from the work must be completely removed back to the distribution board. Where this is difficult, impractical or potentially costly, this must be discussed with the Estates Engineer before commencing.

Redundant equipment arising from the works (e.g. light fittings), may if requested, be retained by the college for future use. If this is not the case, the contractor must arrange for disposal from site. Redundant metal materials can be disposed of in the college’s scrap metal skip only by agreement with the Estates Engineer or the Sustainability Officer. In the case of light fittings, lamps, diffusers and electronics must be removed before the metal casing is placed in the skip.

### Provision of Materials, Plant and Equipment

- Unless otherwise specified, the contractor must supply all materials, plant, tools and equipment required, to effectively complete the works detailed in this specification.

- For all equipment, fittings and accessories, where a manufacturer is not specified, good quality units compliant with the relevant British Standards and EN Standards must be used.

- Any deviation from the specified fitting’s, must be agreed with the Estates Engineer.

### Construction (Design and Management) Regulations 2015

The Contractor must comply with the requirements of the CDM Regulations and notify the other parties to the contract immediately it becomes aware that they are or likely to be in breach of these Regulations.

All building and maintenance work now falls under CDM Regulations.

All building and maintenance work will now require a Construction Health & Safety Plan, even if it is not notifiable. The level of detail and planning required will be proportionate to the scale and complexity of the project.

All projects involving more than one Contractor must have a Health & Safety File.

Projects will be notifiable to the HSE where:-

- The work will last longer than 30 working days AND involve more than 20 workers on site simultaneously.

OR

- The work exceeds 500 person days.

The Contractor must notify the Contract Administrator in writing, with their quotation or tender, if they foresee the above criteria for notification being exceeded during the works. The Contractor must also notify the Contract Administrator if they foresee that additional contractors are required to complete the work.

### Conduct of Work

The Contractor is to arrange their work as to avoid interference with routine use of occupied premises and must co-operate with persons occupying or using the premises whilst he is working.

The Contractor shall protect and keep free from damage the buildings, fences, walls, roads, paths kerbs and all other parts of the work location.

The Contractor shall remove or cover up and protect all furniture, fittings and the like if in a position affected by the works and replace or remove protection as relevant and upon completion make good any loss or damage.

The Contractor shall supply all requisite watching, lighting and barriers during the progress of the work.

### Delivery of Plant and Materials

The contractor is responsible for the supply, delivery and off-loading of all plant, materials and equipment into final positions. The contractor must liaise with site services staff to identify suitable storage areas, although these cannot be guaranteed.

## Tender Timescales

These are timescales for the selection process-

| Action | Date |
| --- | --- |
| Tender Issued | 21/09/2020 |
| Tender Response Date | 05/10/2020 |
| Award of contract | 09/10/2020 |
| Works Start Date | 26/10/2020 |
| Works to be completed by | 30/10/2020 |

# Written submission

You are required to submit a brief written document that outlines how you will meet our requirements and how you intend to work with the college, with particular regard to the following:

- Contract management, including a named contact and how you would manage the works including Covid management.

- Response timescales and capacity to meet given timescales

Demonstrate competence and relevant registrations/professional memberships in the trades you are quoting for. If you fail to do so you will be discounted from further participation in this tender opportunity.

Please note any contractor who cannot meet the require timeframes will be discounted from further participation in this tender opportunity.

You should also confirm your understanding of our DBS requirements and that you will be able to comply.

You are also required to complete a suitability and assessment questionnaire, attached at Appendix C. This document is not used during the selection process, but will be viewed if you are the shortlisted contractor.

Your document will be scored in accordance with the table on page 13.

# Pricing

Bidders should provide their pricing for each of the opportunities in Appendix A

There should be no additional cost incurred.

# Terms and Conditions

The College’s normal business terms are 1-2 months from the date of invoice.  Payment will become due subject to the above upon the College’s full acceptance of the goods/services.   This Request for Quotation and any resulting purchase order will be subject to the College’s General Terms and Conditions of Purchase of Goods/Services – see Appendix B.

# Validity

Bidder’s offers should be open and valid for acceptance for a period of no less than ninety [90] days from the date of submission.

# Selection Criteria

The successful supplier will have provided the Most Economically Advantageous Tender (MEAT) to the college. It should be noted that the bidder with the lowest submitted prices will not necessarily be down-selected.  All bidders will be notified via email of the results of the outcome no later than ninety [90] days form the date of submission. The date of contract award will be provided within that email.

The marking criteria are described in the table below:

| Category | Weighting |
| --- | --- |
| Price | 90% |
| Contract Management | 10% |
| Professional Memberships/Registrations | Pass/Fail |
| Ability to adhere to timescales | Pass/Fail |

Please see table overleaf for more details on the scoring method.

## Award Price

Lowest quote price divided by quote price multiplied by 100.

## Scoring

| Assessment | Score | Interpretation |
| --- | --- | --- |
| Excellent | 4 | Comprehensive response supported by examples Description fully supported by details that demonstrate the applicant’s ability to provide the required services. |
| Good | 3 | Broad response supported by relevant examples. Description well supported by details that demonstrate the applicant’s ability to provide the required services. |
| Satisfactory | 2 | Reasonable response supported by some evidence. Description adequately supported by details that demonstrate the applicant’s ability to provide the required services. |
| Poor | 1 | Limited response not well supported by evidence. Description inadequately supported by details that demonstrate the applicant’s ability to provide the required services. |
| Unacceptable | 0 | No response or insufficient information provided. |

# Assessment of Quotations

Bidders must ensure that their quotation fully addresses all information requested within this RFQ document. Bidders must ensure that any quotation fully meets the specification required. The College reserves the right to discount any quotation which does not fully meet the specification.

The College reserves the right to seek clarification with bidders upon receipt of quotations.

# Freedom of Information Act 2000

Under the Freedom of Information Act 2000 the College cannot guarantee that information provided by bidders during the course of this RFQ procedure or any resulting contract will be held a confidential.  The College will not routinely release information to interested parties unless required to do so in order to meet our statutory obligations.

# general data protection Regulation (GDPR) 2018

All bidders must comply with the General Data Protection Regulation (GDPR) 2018 in respect of using and processing personal information. Bidders must have in place technical and organisational safeguards to protect personal data from unauthorised use, disclosure or loss.

The College reserves the right to request a copy of your privacy statement if you are the successful bidder.

# Agreement Conditions Acceptance and Declaration

Bidders are required to sign and return the attached Agreement Conditions Acceptance and Declaration, Appendix D.

# Supporting Documentation

Appendix A		Pricing Schedule.

Appendix B	Standard Terms and Conditions for the Purchase of Goods and Services.

Appendix C 	Suitability Assessment & Selection Questionnaire (Including Mandatory & Discretionary Exclusions) Parts 1, 2 and 3.

Appendix D	Agreement Conditions Acceptance and Declaration.