## Sheet1
Door Ref | Customer Stated Fire Resistance | Location | Grading Level Assigned: | Recommendation | ARTs Required |  | Fire Stopping | Gaps | Lipping | Repair gouges & splinters | Holes/dents | Paint touch up | Tight gaps | Adjust stops | Alter Frame FS | Remove/reinstall door | Repair frame | New architraves | New stops | Seals | Router out grooves for seals | Drop down face fixed | New drop down routered | 3 new hinges | 6 new hinges | Alter hinges | Oil push bar | Dorgard | Sashlock KA KIT | New sashlock only | New handle on rose | Euro cylinder KA | New pull handle medium | New push plate | Alter closer | New Closer | New escutcheons | Glazing | Signs | Intumescent for keypad | Fire resisting overhead panel | New fire door, frame, hardware and fire stopping behind the architrave. | Cost exc.vat | Notes
EDSO | FD30s | First floor | 2 | Maintenance work required | ART 4 ART11 ART 8 ART 10 ART 5 | Single | [36 empty] | 0
CDUS | FD30s | Basement | 2 | Replacement doorset requiredCut down door. No evidence to suggest it's a fire door | ART 4 ART 10 ART 10 ART 10 ART 12 ART 5 ART 19 | Single | [36 empty] | 0
DcRS | FD30s | Ground floor | 2 | Replacement doorset requiredRebated head of leaf replace | ART 6 ART 4 ART 17 ART 10 ART 22 ART 19 | Single | [36 empty] | 0 | Overhead panel: This price includes making a separate frame above the door using 2 sheets of fire rated mdf back to back.
DDS | FD30s | Ground floor | 2 | Maintenance work required | ART 1 ART 6 ART 4 ART 11 ART 5 | Double | [36 empty] | 0
Srtc | FD30s | Basement | 2 | Replacement doorset requiredHead of door rebated | ART 6 ART 4 ART 17 ART 10 ART 5 ART 19 | Single | [36 empty] | 0 | Overhead panel: This price includes making a separate frame above the door using 2 sheets of fire rated mdf back to back.
Ro | FD30s | Ground floor | 2 | Maintenance work required | ART 4 ART 11 ART 22 | Single | [36 empty] | 0
Ro2 | FD30s | Ground floor | 2 | Maintenance work required | ART 4 ART 11 | Single | [36 empty] | 0
Ddsr(1) | FD30s | Ground floor | 2 | Maintenance work required | ART 4 ART 11 ART 8 ART 19 | Double | [36 empty] | 0
Sr | FD30s | Ground floor | 2 | Replacement doorset required | ART 1 ART 4 ART 17 ART 11 ART 8 ART 5 ART 19 | Single | [36 empty] | 0 | This new door does not include a new vent
Lrd | FD30s | Ground floor | 2 | Replacement doorset required | ART 1 ART 4 ART 17 ART 11 ART 8 ART 10 ART 19 | Single | [36 empty] | 0 | This new door does not include a new vent
Rrdh | FD30s | Ground floor | 2 | Maintenance work required | ART 4 ART 10 | Single | [36 empty] | 0
Rr | FD30s | Ground floor | 2 | Maintenance work required | ART 1 ART 6 ART 4 ART 11 ART 8 ART 10 ART 19 | Double | [36 empty] | 0
DCRSR | FD30s | Ground floor | 2 | Maintenance work required | ART 4 ART 11 ART 10 ART 5 ART 19 | Single | [36 empty] | 0
DICN | FD30s | Ground floor | 2 | Maintenance work required | ART 4 ART 10 ART 10 ART 19 | Single | [36 empty] | 0
DMRI | FD30s | Ground floor | 2 | Maintenance work required | ART 1 ART 4 ART 16 ART 10 ART 10 ART 5 ART 19 | Single | [36 empty] | 0
DKSR | FD30s | Ground floor | 2 | Replacement doorset requiredStable door new door set required | ART 10 ART 5 ART 19 | Single | [36 empty] | 0
DSRI | FD30s | Ground floor | 2 | Maintenance work required | ART 4 ART 10 ART 10 ART 10 ART 10 ART 10 ART 19 | Single | [36 empty] | 0 | 20
Cd | FD30s | Ground floor | 2 | Maintenance work required | ART 1 ART 4 ART 11 ART 22 ART 8 ART 5 ART 14 ART 19 | Double | [36 empty] | 0 | The fire stopping is around doors not around combination frames
Ddgs | FD30s | Ground floor | 2 | Maintenance work required | ART 4 ART 11 ART 8 ART 5 | Double | [36 empty] | 0
Gd | FD30s | Basement | 2 | Maintenance work required | ART 1 ART 6 ART 4 ART 16 ART 21 ART 11 ART 8 ART 10 ART 5 ART 19 | Double | [36 empty] | 0
Dmk | FD30s | Ground floor | 2 | Maintenance work required | ART 4 ART 16 ART 10 ART 8 ART 5 ART 19 | Single | [36 empty] | 0 | This price includes an estimate for the overhead panels, which need to be made fire resistant.
Ddsr | FD30s | Ground floor | 2 | Maintenance work required | ART 4 ART 11 ART 22 ART 8 ART 12 ART 5 | Single | [36 empty] | 0
Ddss | FD30s | Ground floor | 2 | Maintenance work required | ART 4 ART 11 ART 22 ART 8 | Single | [36 empty] | 0
Dsc | FD30s | Ground floor | 2 | Maintenance work required | ART 1 ART 6 ART 4 ART 21 ART 11 ART 22 ART 8 ART 5 ART 19 | Single | [36 empty] | 0
Ddc | FD30s | Ground floor | 2 | Maintenance work required | ART 1 ART 4 ART 21 ART 11 ART 8 ART 10 ART 19 | Single | [36 empty] | 0
Ddw | FD30s | Ground floor | 2 | Maintenance work required | ART 1 ART 6 ART 4 ART 16 ART 10 ART 8 ART 5 ART 14 | Double | [36 empty] | 0
Ddec | FD30s | First floor | 2 | Maintenance work required | ART 6 ART 4 ART 16 ART 11 ART 22 ART 8 ART 5 | Double | [36 empty] | 0
Ddfs | FD30s | First floor | 2 | Maintenance work required | ART 6 ART 4 ART 16 ART 11 ART 8 ART 10 ART 5 | Double | [36 empty] | 0 | This price assume oiling will fix push bar issue and a new push bar will not be required.
Dmsk | FD30s | First floor | 2 | Maintenance work required | ART 4 ART 21 ART 11 ART 22 ART 8 ART 10 ART 5 | Single | [36 empty] | 0
Dms | FD30s | First floor | 2 | Maintenance work required | ART 1 ART 6 ART 4 ART 11 ART 22 ART 8 ART 10 ART 5 ART 19 | Double | [36 empty] | 0
Sc | FD30s | First floor | 2 | Maintenance work required | ART 6 ART 4 ART 11 ART 8 ART 10 | Single | [36 empty] | 0
Cc | FD30s | First floor | 2 | Maintenance work required | ART 6 ART 4 ART 11 ART 8 ART 10 ART 19 | Single | [36 empty] | 0 | This price includes an estimate for the overhead panels, which need to be made fire resistant.
Mhh | FD30s | First floor | 2 | Maintenance work required | ART 6 ART 4 ART 11 ART 8 ART 5 | Double | [36 empty] | 0
Dyo | FD30s | First floor | 2 | Maintenance work required | ART 4 ART 11 ART 8 | Double | [36 empty] | 0
Dgo | FD30s | First floor | 2 | Maintenance work required | ART 6 ART 4 ART 11 ART 22 ART 8 ART 5 | Single | [36 empty] | 0
[7 empty] | 0 | [35 empty] | 0