SPECIALIST SUPPLIERS/MANUFACTURERS/ETC	Section 9.00

Details of companies are within the scope of works

The Trusts Specialist Contractors

Fire Detection and Alarm system/ Access Control

Debco Rentals LTD Fire and Security Sensor House 32 Queensway Enfield, Middlesex, EN3 4SA Tel: 020 8443 5080

Nurse call

Static Systems Group PLC Heath Mill Road, Wombourne, Staffordshire. WV5 8AN United Kingdom Tel: +44 (0)1902 895551 Fax: +44 (0)1902 324969

Medical Gas

K & H Medical Ltd 20-21 Twyford Business Park, London Road, Bishop’s Stortford Herts, CM23 3YT Tel: 01279 757835 F: 01279 757837 M: 07767 447372 E-mail: chris@khmedical.co.uk Website: www.khmedical.co.uk Alex Mitchell Technical Operations Manager D&L Medical Unit 9, Mead Business Centre Mead Lane Hertford SG13 7BJ Tel. 0870 753 2003 Direct Line. 01992 514746 Mobile 07799 792990 Email. alex@dlmedical.co.uk

Electrical Stream Engineering Ltd 96 Downhall Park Way Rayleigh, Essex, SS6 9QZ Andy Smart Tel: 01268 786746 Mob: 07899961400

Telephone & IT Data Services

Matrix Communications LTD, Matrix House, 9a Chapel Hill, Halstead, Essex. CO9 1JJ. Tel: 08707605855 Mobile: 07771 676882

Cubicle Track

Blinds to windows to be roller style flame retardant slow rise style

White Mova track cubicle track system Manor Supplies Old Forge Hall Lane Upminster Essex RM14 1TT Tel: 01708 377518 Include all fittings and curtain

New Windows

From:- Regency Design & Installation Ltd

General Glass and Glazing Unit 1 Stone Shot Business Units Stone Shot Farm Hoe Lane Nazeing Essex EN9 2RW Tel 01992 89 30 30

Heating/ Cooling

Kenmar Cooling 30 Graham Avenue Broxbourne Hertfordshire EN10 7DP Tel: 0800 511 8686 Mob: 07766503264

Floor Coverings

J. Welch Carpet & Flooring 48 Proctors Way Bishop’s Stortford Herts CM23 3HE Tel 01279 757 794

Internal Signs

Internal and external wayfinding signage – in accordance with new NHS Wayfinding Guidelines. Supplied by:- Masson Seeley and Company Ltd Howdale Downham Market Norfolk NE38 9AL Tel: 01366 388000 Designs to be approved by the contract administrator

New stud work partitions

British Gypsum Partition System British Gypsum Ltd Technical Services East Leake Loughborough Leicestershire LE12 6JT Tel:0115 945 6123

Larfarge Plasterboard Ltd Marsh Lane Easton-in-Gordano Bristol BS20 0NF Tel:01275 377789

Suspended Ceiling

Suspended ceiling system. Modular HD Acoustique 90 RH ceiling. Tegular ceiling tiles Microlook from CEP Ltd, Include for Microlook grid system. Available from:- CEP Ceilings Ltd Verulam Road Stafford ST16 3EA ARMSTRONG WORLD INDUSTRIES Armstrong House 38 Market Square Uxbridge Middlesex UB8 1NG Telephone 01895 251 122 ECOPHON INTERNATIONAL LTD Old Brick Kiln Ramsdell Basingstoke Hants RG26 5PP

Internal Joinery

Doors

Leaderflush doors and frames Heavy duty solid core ash veneered fire rated type to BS476 include intumnescent/ brush strips in accordance with BS476 Pencil round architraves

Vision Panels

Pyrodur fire resistant glazing in all vision panels and screens, from Pilkington Glass

Door Furniture

Allow for centurion 790 Suite 22 Series lever with spring back plates to incorporate oval cylinder locking where indicated on door schedule. Suited locks latch furniture from the L800 Series is to be used. Anodised aluminium kick plates, and push plates. Toilet doors will be provided with sash lock type From:- IR Laidlaw - Tel: 01902 600400

Centurion Super door closers with stainless type D31000 to all ½ hour fire doors

Satin anodised aluminium Centurion door stops

Steel ball bearing butt hinges type H37802 – 1 ½ pairs per door

# Window Film

Solar / security film – Scotchfield Available from:- Durable Southview Park Caversham Reading RG4 5AF Tel: 0870 240 2480

Security Windows

Barlow Architectural & Security Ltd Broadfield Road Sheffield S8 0XU Tel: 0114 244 2203

Mechanical Services

# Waste water pumps specified to be Sanimax – MF waste water pump Sanimax Pumps available from:- All Pumps Ltd 44B Brightside Lane Sheffield S9 2SP Tel: 0114 244 2203

Temperature control valves to be Aquamix MMV From:- Martin Orgee Ltd Cherry cottage overwood cleopbury mortimer Kidderminster Worcestershire Tel 01299 271177 Fax 01299 271188

Radiators To be myson low surface temperature

Sanitary Ware

Wash hand basin to clinical areas to be Portman 400 (LBGS) Nuastyle Thermostatic Level mixer Pillar Tap include 75mm seal white plastic bottle trap of Armitage Shanks Healthcare or Twyford medical equivalent range Wrist or elbow taps as defined on data sheets to all clinical basins to be Robert Pearson & Co range. Allow to supply and fix all soap dispensers and paper towel dispensers in positions to be agreed on site.

Sinks taps and drench shower to lab areas specified separately (part of benching specification)

# Pipework and drains for sinks to be of a suitable material and style for the specific area in accordance with regulations

Thermostatic Mixing Valves, Sensor WC Flush and Sensor Tap

Robert Pearson & Company Post Office House Post Office Lane Stockton, Warminster Wilshire BA12 0SE Tel: 01985 850954

Dirty Utilities Stainless Steel Sanitary Ware

Simply Washrooms Stainless Greengate Metal Components Ltd Unit 1, Greengate, Middleton Junction Manchester M24 1RU Tel: 0161 643 8484

To toilet areas only WC of Armitage Shanks Healthcare Contour HD Assisted Wheelchair Type with Concealed Cistern or Twyford medical equivalent range To include sensor no touch cistern flush by Robert Pearson & Co. Include white seat, cover and back rest. cistern to operate within concealed duct situation Allow for fixing paper roll and towel dispensers together with soap dispenser Supplied by others. Disabled WC from Twyfords special needs range

# Toilet Duct System

Optima range of panel system with vertical edges postformed with heavy duty lockable fixings. Available from:- Amwell Laminates Ltd Tel: 01920 486763.

# Water Cooler

free standing cool-water dispenser type Acrospa as indicated on drawing. Available from:- Acrokool Unit 1, The Shires Saffron Walden Essex CB11 3AN Tel: 01799 513336

# Water Boiler

Lincat EB3 hot water boiler Include Flowtech cartridge and filter head. All available from:- Gratte Brothers 3 Crompton Road Stevenage SG1 2XP Tel: 01438 750022

Fixed Furniture

Lab Benching and Cabinetry Benching including Sinks and taps to lab areas to be from???

Metal drug cupboards Available from:- Hospital Metalcraft Ltd Blanford heights Dorset DT11 7TE Tel: 01258 451338

David Bailey Furniture Systems Ltd. 12 Lysander Close, Pysons Road Industrial Estates, Broadstairs, Kent CT10 2YJ

Kitchen / Utility Cupboards

David Bailey Furniture Systems Ltd. 12 Lysander Close, Pysons Road Industrial Estates, Broadstairs, Kent CT10 2YJ

Vinyl Sheet

Polyflor Ltd. P. O. Box 3 Radcliffe New Road Whitefield Manchester M45 7NR Tel 0161 767 1122

Toilet Wall Cladding

Carpet –

Carpet to office areas Heckmondwike care plus carpet finish Available from:- Heckmondwike FB Ltd Box 7 Wellington Mills Liversedge West Yorkshire WF15 7XA

Fire Signage

Reference from:- Stocksigns Ltd Ormside Way Redhill Surrey RH1 2LG Tel: 01737 764764 Fax: 01737 763763

Wall / Column Guards

SPM INTERNATIONAL Unit 4 Houndhill Park Bolton Road Wath-upon- Dearne – South Yorkshire S63 7JY Tel: 01709 871 111

INTRAD Ltd St Albans Road West Hatfield Hertfordshire AL10 0TF Tel: +44 (0)1707 266726

Electrical

All electrical accessories to be MK manufacture Light switches to be 20amp rating Sub mains to be low smoke

Distribution boards & consumer control units

Merlin Gerin

Roof Light

Brett Martin Daylight Systems, Sandford Close, Alderman's Green Ind Estate Coventry, West Midlands CV2 2QU TEL: 024 7660 2022