## Cost Model
AW5.2 Price Schedule
SOURCING REFERENCE: | FM20099 |  |  | Bidders are required to complete all red highlighted cells. For the avoidance of doubt the total compiled within cell E104 will be used for the evaluation of this procurement.
SOURCING DOCUMENT TITLE: | Build of 6 x Control Panels
BIDDER NAME | [Bidder to add name]
Section 1 - This equipment must be used in the construction of the control panels. Any deviation must be agreed with the STFC engineer. |  |  |  |  | Notes & Comments
Item Number | Description | Quantity | List | Total
|  |  | Price | Price
Required Equipment | 1.1 Motion Axis
2198-DB20-F | 20 Amp three phase EMC line filter, Kinetix 5500 | 1 | 0 | 0
2198-R004 | Kinetix 5700 400W Shunt Resistor | 1 | 0 | 0
2198-P031 | Kinetix 5700 10A DC Bus Supply, 480VAC 3-ph, 55mm | 1 | 0 | 0
2198-D006-ERS4 | 2x2.5 Arms continuous, 2x6.0 Arms Peak output current - Advanced Safety | 2 | 0 | 0
VPL-B0752E-WK14AA / LP070S-MF2-35-1D1 | VPL Low Inertia Motors | 2 | 0 | 0
VPL-B0631T-WJ12AA | VPL Low Inertia Motors | 1 | 0 | 0
2090-CSBM1DE-18AF18 | Kinetix Single Cable 18 AWG AWG, Continuous-flex, Single Motor Power With Brake Wires, 18 meters | 1 | 0 | 0
2090-CSBM1DE-18AF12 | Kinetix Single Cable 18 AWG AWG, Continuous-flex, Single Motor Power With Brake Wires, 12 meters | 1 | 0 | 0
2090-CSBM1DE-18AF03 | Kinetix Single Cable 18 AWG AWG, Continuous-flex, Single Motor Power With Brake Wires, 03 meters | 1 | 0 | 0
2198-TCON-24VDCIN36 | Kinetix 5700 Shared-bus T-connector kit | 1 | 0 | 0
2198-H040-P-T | T-connector and bus-bars for control power on Frame 1 or 2 follower drives | 1 | 0 | 0
CPP-x06V48A-SA-USB | Electrocraft Servo Amplifier | 1 | 0 | 0
Required Equipment | 1.2 PLC and Input/Output Units
5069-L310ERMS2 | Compact GuardLogix5380 Safety Controller | 1 | 0 | 0
5069-RTB64-SCREW | Compact 5069 I/O 4+6 pins type Terminal | 1 | 0 | 0
5069-IB16 | Compact I/O 16 Channel 24VDC Sink Input | 3 | 0 | 0
5069-OB16 | Compact I/O 16 Channel 24VDC Source Output | 2 | 0 | 0
5069-RTB18-SCREW | Compact 5069 I/O 18pins type Terminal | 5 | 0 | 0
5069-IF8 | Analog Input 8 Channel | 1 | 0 | 0
5069-OF8 | Analog Output 8 Channel | 1 | 0 | 0
Required Equipment | 1.3 PLC Safety Point I/O
1734-AENT | 1-Port EtherNet I/O Adapter Module | 1 | 0 | 0
1734-IB8S | POINT Guard I/O Safety Module - 8 Point Input Module (Compatible with terminal bases with 8 terminations) | 1 | 0 | 0
1734-OB8S | POINT Guard I/O Safety Module - 8 Safety Sourcing Output Module (Compatible with terminal bases with 8 terminations) | 1 | 0 | 0
1734-TOP | 8 POSITION TERM BLOCK SCREW CLAMP | 6 | 0 | 0
1734-TOPS | 8 POSITION TERM BLOCK SPRING CLAMP | 6 | 0 | 0
1734-AENT | 1-Port EtherNet I/O Adapter Module | 1 | 0 | 0
5069-OF8 | Analog Output 8 Channel | 1 | 0 | 0
Required Equipment | 1.4 Network Equipment
1783-BMS10CGP | Stratix 5700 Switch, Managed, 8 Fast Ethernet Copper Ports, 2 Gigabit Ethernet Combo Ports, Full Software, CIP Sync, DLR | 1 | 0 | 0
1585J-M4TBJM-2 | Ethernet Media,RJ45,2m Unshielded 24AWG High | 2 | 0 | 0
Required Equipment | 1.5 Safety Devices
RU440T-MRPSE110A | Panel Mount Rotary Key Sw 20amp Code A | 1 | 0 | 0
440T-AKEYE100A | Interlock,Key,Standard Key,Code,0A | 1 | 0 | 0
RU440T-MDALE100A0B | Dual Key Access Lock Coded A/B | 1 | 0 | 0
854J-24TL4 | Light Module,Steady LED,Red,24V AC/DC | 1 | 0 | 0
854J-24TL5 | Light Module,Steady amb,,24V AC/DC | 1 | 0 | 0
854J-24TL3 | Light Module,Steady LED,Green,24V AC/DC | 1 | 0 | 0
854J-B24SA3 | 40MM STACK SOUNDER 24V | 1 | 0 | 0
854J-BQ10C | Mounting Base,10cm Quick Release/Base Bulkhead Housing | 1 | 0 | 0
Section 2 - Supplier may offer a suitable alternative if evidence is proven that it meets the same British or European standards and is of equivalent build quality.
Preferred Equipment | 2.1 Control Panel
VX 8884.000 | 1800 x 800 x 400 Rittal Panel | 1 | 0 | 0
VX 8184.245 | Side Panel (2 Pack) | 1 | 0 | 0
SZ 4315.810 | Door Switch for Compact light | 1 | 0 | 0
SZ 4140.830 | 24VDC Compact Light | 1 | 0 | 0
SK 3114.200 | Digital Thermostat | 1 | 0 | 0
SZ 2589.000 | 29mm Conduit for door wiring (25M) | 1 | 0 | 0
SZ 2591.000 | 29mm Conduit Holder for door wiring (20 Pk) | 1 | 0 | 0
VX8640.003 | 100mm Front and rear plinth (800mm wide) | 1 | 0 | 0
VX8640.031 | 100mm Plinth Sides (400mm Depth) | 1 | 0 | 0
SK 3240.100 | 180M3/h Fan | 1 | 0 | 0
SK 3239.200 | 204 x 204mm Fan Outlet Filter | 1 | 0 | 0
Preferred Equipment | 2.2 Power Supplies
CP5.241 | PULS 48VDC 5.4A PSU | 1 | 0 | 0
CP10.481 | PULS 24VDC 5A PSU | 3 | 0 | 0
Preferred Equipment | 2.3 Distribution
0 048 86 | Legrand 11 Pole - 4 Busbar | 1 | 0 | 0
2CDL210001R1012 | Insulated MCB Busbar | 1 | 0 | 0
A9F54320 | Schneider C20 MCB | 1 | 0 | 0
A9F54106 | Schneider C6 MCB | 4 | 0 | 0
A9D10816 | Schneider C16 RCBO | 1 | 0 | 0
Preferred Equipment | 2.4 Terminals
9503310000 | Weidmuller KDKS1 2 Tier Fused Terminal | 6 | 0 | 0
383560000 | Weidmuller EW35 Terminal End stop | 30 | 0 | 0
264-711 | Wago Terminal 2 way grey | 120 | 0 | 0
264-734 | Wago Terminal 4 way grey | 100 | 0 | 0
264-737 | Wago Terminal 4 way earth | 100 | 0 | 0
Preferred Equipment | 2.5 Operator Interface
Supplier choice | 4 Pole red and yellow panel mount isolator | 1 | 0 | 0
XB4BS8442 | Schneider Harmony 40mm Emergency Stop Button with 1 NC | 1 | 0 | 0
XBE101 | Schneider NO Contact | 1 | 0 | 0
M22-XGPV | Eaton Emergency stop Guard | 1 | 0 | 0
XB4BW31B5 | Schneider White illuminated Pushbutton | 1 | 0 | 0
Preferred Equipment | 2.6 Labelling
829559 | Carrier | 5 | 0 | 0
829520 | Cover | 5 | 0 | 0
828778 | 17x15 Snap In Label | 20 | 0 | 0
828777 | 27x15 Snap in Label | 20 | 0 | 0
Preferred Equipment | 2.7 Miscellaneous
PE1663PI | ILME 16A 230V 2P + E Panel Mount Outlet | 1 | 0 | 0
10450054 | 75 x 50mm Betaduct Trunking | 5 | 0 | 0
10450074 | 75 x 75mm Betaduct Trunking | 3 | 0 | 0
467-406 | TS35 Din Rail | 6 | 0 | 0
1046-021 | Hebotec MSB 30mm Busbar bracket for EMC Cable Clamps | 3 | 0 | 0
1046-001 | Hebotec 10 x 3 x 1000 Busbar for EMC Cable Clamps | 1 | 0 | 0
Other | Labour
Labour Costs associated with the Build of the Control Panels |  | 1 | 0 | 0
Other | Delivery
Delivery Costs |  | 1 | 0 | 0
TOTAL |  |  |  | 0
All prices are firm and fixed.
All prices are exclusive of VAT