## Heating Rates
Heating Cost Model 2017.18
Address:
|  | Value | Qty. | Total
Please see Specification for further details, including product details etc
1 | Boiler Swap - Combi Boiler (Appendix B specification) |  |  | 0
| Carefully remove existing combi boiler and associated pipework/ancillaries and make good all works disturbed |  |  | 0
| Install new combi boiler with associated pipework, flue, electrical works, controller and programmer, earthing and bonding |  |  | 0
| New condensate pipe to appropiate drain |  |  | 0
| New 22mm Magnaclean Pro magnetic filter |  |  | 0
| Carry out minor builderswork and making good finishes disturbed e.g. patching holes and sealing around flue terminal |  |  | 0
| Powerflush using Magna clean system |  |  | 0
| Test, commision and provide necessary certificates |  |  | 0
2 | Boiler Swap - Conventional Boiler (Appendix B specification) |  |  | 0
| Carefully remove existing boiler and associated pipework/ancillaries and make good all works disturbed |  |  | 0
| Install new conventional boiler with associated pipework, flue, electrical works, earthing and bonding |  |  | 0
| New condensate pipe to appropiate drain |  |  | 0
| New 22mm Magnaclean Pro magnetic filter |  |  | 0
| Carry out minor builderswork and making good finishes disturbed e.g. patching holes and sealing around flue terminal |  |  | 0
| Powerflush using Magna clean system |  |  | 0
| Test, commision and provide necessary certificates |  |  | 0
3 | Boiler Upgrade - from System to Combi Boiler (Appendix B specification) |  |  | 0
| Carefully remove wall hung boiler, hot water cylinder, storage tanks, control systems and associated pipework/ancillaries and make good all works disturbed |  |  | 0
| Carry out pipework alteration to convert system. |  |  | 0
| Install new combi boiler with associated pipework, flue, electrical works, controller and programmer, earthing and bonding |  |  | 0
| New condensate pipe to appropiate drain |  |  | 0
| New 22mm Magnaclean Pro magnetic filter |  |  | 0
| Carry out minor builderswork and making good finishes disturbed e.g. patching holes and sealing around flue terminal |  |  | 0
| Powerflush using Magna clean system |  |  | 0
| Test, commision and provide necessary certificates |  |  | 0
4 | Back Boiler Upgrade - to Combi Boiler (Appendix C specification) |  |  | 0
| Carefully remove existing BBU and fire, hot water cylinder, storage tanks, control systems and associated pipework/ancillaries and make good all works disturbed |  |  | 0
| Carry out pipework alteration to convert system. |  |  | 0
| Install new combi boiler with associated pipework, flue, electrical works; controller and programmer; earthing and bonding |  |  | 0
| New condensate pipe to appropiate drain |  |  | 0
| New 22mm Magnaclean Pro magnetic filter |  |  | 0
| Carry out minor builderswork and making good finishes disturbed e.g. patching holes and sealing around flue terminal and board up the opening following the BBU removal and make good |  |  | 0
| Powerflush using Magna clean system |  |  | 0
| Test, commision and provide necessary certificates |  |  | 0
5 | Full Gas Heating Installation - Bedsit property |  |  | 0
| Carefully remove existing boiler (any type), fire, hot water cylinder, storage tanks, control systems and associated pipework/ancillaries and make good all works disturbed |  |  | 0
| Remove any radiators and associated pipework and make good works disturbed |  |  | 0
| New gas carcassing pipework from meter position to gas appliances (boiler and cooker point) |  |  | 0
| Install new combi boiler with associated pipework, flue, electrical works; controller and programmer; earthing and bonding |  |  | 0
| New condensate pipe to appropiate drain |  |  | 0
| New 22mm Magnaclean Pro magnetic filter |  |  | 0
| New 2-3 radiators as required, complete with appropiate TRV's and other valves and appropiate pipework |  |  | 0
| Carry out minor builderswork and making good finishes disturbed e.g. patching holes and sealing around flue terminal |  |  | 0
| Test, commision and provide necessary certificates |  |  | 0
6 | Full Gas Heating Installation - 1 Bedroom property |  |  | 0
| Carefully remove existing boiler (any type), fire, hot water cylinder, storage tanks, control systems and associated pipework/ancillaries and make good all works disturbed |  |  | 0
| Remove any radiators and associated pipework and make good works disturbed |  |  | 0
| New gas carcassing pipework from meter position to gas appliances (boiler and cooker point) |  |  | 0
| Install new combi boiler with associated pipework, flue, electrical works; controller and programmer; earthing and bonding |  |  | 0
| New condensate pipe to appropiate drain |  |  | 0
| New 22mm Magnaclean Pro magnetic filter |  |  | 0
| New 3-4 radiators as required, complete with appropiate TRV's and other valves and appropiate pipework |  |  | 0
| Carry out minor builderswork and making good finishes disturbed e.g. patching holes and sealing around flue terminal |  |  | 0
| Test, commision and provide necessary certificates |  |  | 0
7 | Full Gas Heating Installation - 2 Bedroom property |  |  | 0
| Carefully remove existing boiler (any type), fire, hot water cylinder, storage tanks, control systems and associated pipework/ancillaries and make good all works disturbed |  |  | 0
| Remove any radiators and associated pipework and make good works disturbed |  |  | 0
| New gas carcassing pipework from meter position to gas appliances (boiler and cooker point) |  |  | 0
| Install new combi boiler with associated pipework, flue, electrical works; controller and programmer; earthing and bonding |  |  | 0
| New condensate pipe to appropiate drain |  |  | 0
| New 22mm Magnaclean Pro magnetic filter |  |  | 0
| New 5-6 radiators as required, complete with appropiate TRV's and other valves and appropiate pipework |  |  | 0
| Carry out minor builderswork and making good finishes disturbed e.g. patching holes and sealing around flue terminal |  |  | 0
| Test, commision and provide necessary certificates |  |  | 0
8 | Full Gas Heating Installation - 3 Bedroom property |  |  | 0
| Carefully remove existing boiler (any type), fire, hot water cylinder, storage tanks, control systems and associated pipework/ancillaries and make good all works disturbed |  |  | 0
| Remove any radiators and associated pipework and make good works disturbed |  |  | 0
| New gas carcassing pipework from meter position to gas appliances (boiler and cooker point) |  |  | 0
| Install new combi boiler with associated pipework, flue, electrical works; controller and programmer; earthing and bonding |  |  | 0
| New condensate pipe to appropiate drain |  |  | 0
| New 22mm Magnaclean Pro magnetic filter |  |  | 0
| New 7-8 radiators as required, complete with appropiate TRV's and other valves and appropiate pipework |  |  | 0
| Carry out minor builderswork and making good finishes disturbed e.g. patching holes and sealing around flue terminal |  |  | 0
| Test, commision and provide necessary certificates |  |  | 0
9 | Replacement Gas Heating Installation - 4+ Bedroom property |  |  | 0
| Carefully remove existing boiler (any type), fire, hot water cylinder, storage tanks, control systems and associated pipework/ancillaries and make good all works disturbed |  |  | 0
| Remove any radiators and associated pipework and make good works disturbed |  |  | 0
| New gas carcassing pipework from meter position to gas appliances (boiler and cooker point) |  |  | 0
| Install new combi boiler with associated pipework, flue, electrical works; controller and programmer; earthing and bonding |  |  | 0
| New condensate pipe to appropiate drain |  |  | 0
| New 22mm Magnaclean Pro magnetic filter |  |  | 0
| New 9+ radiators as required, complete with appropiate TRV's and other valves and appropiate pipework |  |  | 0
| Carry out minor builderswork and making good finishes disturbed e.g. patching holes and sealing around flue terminal |  |  | 0
| Test, commision and provide necessary certificates |  |  | 0
Variations to Central Heating Installation works
10 | Extra over for Wireless Room Thermostat and Programmer (additional cost from standard programmer) |  |  | 0
11 | Condensate Pump - Grundfoss (Spec to be confirmed by FPC) |  |  | 0
12 | Soakaway |  |  | 0
13 | Plume Management Kit |  |  | 0
14 | Scaffolding ( to be agreed dependant upon detail ). |  |  | 0
14A | Scaffolding - 3 Storey |  |  | 0
15 | Vertical flue - (slate, flashing, 1m high) |  |  | 0
16 | Flue Extension |  |  | 0
17 | Additional Flue bends |  |  | 0
18 | Flue Boxing with Hatches |  |  | 0
19 | 15mm Copper pipe (new pipework to radiators etc, not for boiler alteration pipework) |  |  | 0
20 | 22mm Copper pipe (new pipework to radiators etc, not for boiler alteration pipework) |  |  | 0
21 | Replacement of Gas Supply from meter to new boiler and cooker (if the cooker supply is the same supply/direction as the boiler supply) |  |  | 0
22 | Replacement of Gas Supply from meter to cooker (if the cooker supply is on a different run/direction to the boiler supply) |  |  | 0
23 | Install TRV and lockshield to radiator |  |  | 0
24 | Install 2nr lockshield to radiator |  |  | 0
25 | Replace Radiators - 600X600mm single K1 |  |  | 0
26 | Replace Radiators - 600X800mm P+ |  |  | 0
27 | Replace Radiators - 600X1000mm K2 |  |  | 0
28 | Replace Radiators - 600X1400mm K2 |  |  | 0
29 | Replace Radiators - 600X2000mm K2 |  |  | 0
30 | New electric focal fire with switched fused spur and other electrical installation (Bromley/Colstrum/Dimplex type) |  |  | 0
31 | Extended Hearth to focal fire |  |  | 0
32 | Airing Cupboard - move 2nr shelves to bottom of airing cupboard with new softwood bearers, make good floor with new 18mm chipboard flooring - approx 1m2 |  |  | 0
33 | 22mm Mid Position Valve |  |  | 0
34 | Central Heating Pump |  |  | 0
35 | Cylinder Stat |  |  | 0
36 | Cylinder Replacement - 36x18 Only |  |  | 0
37 | Block Up Fire Opening, Skim & Vent |  |  | 0
38 | Vanity Panel |  |  | 0
39 | CO2 Detector |  |  | 0
40 | Condensafe - Condensate Neutraliser |  |  | 0
| overhaul tap |  |  | 0
0
|  |  | Total | 0