Cemetery Requirements for Cremated remains plots.

Specification for cremated remains plots

Remove turf and top soil to a depth of 175mm over 1 Square meter per plot

Lay 38 number 100x100x100mm cube granite sets to form a kerb 900mm externally  per plot on 75mm 3 to 1 sand to portland cement. Carefully point joints between sets and  prevent smearing of cement onto surfaces of granite.

Allow a minimum of 24 hours before filling centres with clean top soil and turfing outside edges as required.

Remove all waste to authorised tips off site

Excavation/ work area to be secured with high visibility temporary mesh screening

The tender should be based on a minimum of 10 plots.