**Clarifications to Bidders Question**

Bidders are reminded a site visit is recommended.

Question 1 : Could you clarify the step arrangement at the southern end of the new extension.

Answer 1 : The southern end of the new extension will need to be a standard step foundation due to the sloping nature of the site