Clarifications to Bidders Question

Bidders are reminded a site visit is recommended.

Question 1	: Could you clarify the step arrangement at the southern end of the new extension.

Answer 1	: The southern end of the new extension will need to be a standard step foundation due to the sloping nature of the site