## Sheet1
LANDSCPING BOLSOVER TOWN SQUARE for OLD BOLSOVER TOWN COUNCIL |  |  |  |  | Thread Architects ltd
Pricing Analysis Document |  |  |  |  | Andrew Hopkin Q.S. Services
Issue Rev.B - November 23rd 2023 |  |  |  |  | Contractor: .................................................................
Item No. | Work Item | Refer to Spec page | Refer to Drawings No. | £ P | Pricing Notes
1 | Demolitions
1.1 | items listed in spec doc. | 2 and 3 | Architect 0.02; 0.04; 0.05; 0.06; 0.07; 0.08 |  | Price removal of existing paving, etc here but excavation and stone sub-base in preparation for new works see below
1.2 | Include removal of two bow windows behind boarding | - | Architect 00.07
2 | CDM Regulations
2.1 | Public space items listed in spec doc. | 4 and 5 | Architect 0.03; Appendix 1. |  | Allow contractors costs in connection with
2.2 | Services items listed in spec doc. | 4 and 5 | Architect 0.02 and 0.03; Appendix 1. |  | Allow contractors costs in connection with
2.3 | Surroundings as listed | 4 and 5 | Architect 0.03; Appendix 1. |  | Allow contractors costs in connection with See also separate preliminaries doc.
3 | Repairs
3.1 | Wall repairs | 6 | Architect 0.08 |  | Locally only see photos
|  | 6 | Architect 1.06 |  | Locally newly exposed stonework below level of existing ramp being removed
3.2 | Ramp repairs | 7 | Architect 0.06; 0.07; 0.08; 1.07 |  | End of wall only see photos
3.3 | Handrail repairs and removal | 7 | Architect 0.03 and 0.08 |  | End of handrail only see photos
3.4 | Existing boarded windows | 8 | Architect 0.07 and 01.08 |  | Assume access only available externally
3.5 | Take up and relay 2No end rows of existing granite setts adjacent Cotton Street |  | Architect 01.02
4 | New Flag Paving |  |  |  | Refer to Manufacturers Technical Sheets - Appendix 2
4.1 | Excavation | 2 | Architect 00.01 and 01.02 |  | Before digging carry out CAT scan to locate underground services, advise Architect of findings. Allow excavation and off-site disposal. Finished levels/falls to remain unchanged.
4.2 | Preparation | 2 | Engineer |  | Stone sub-base to Engineers spec
4.3 | Marshalls Conservation X Smooth paving to general areas | 9 | Architect 01.02 |  | Include tarmacamdam base course
4.4 | Ditto to base of steps | 9 and 10 | Architect 01.02 |  | Single row only
4.5 | Alternative Tobermore Mayfair flag paving | 10 | Architect 01.02 |  | Include insitu concrete base. NOTE this item to be offered as part of optional tender (see form of tender)
5 | New Block Paving |  |  |  | Refer to Manufacturers Technical Sheets - Appendix 2
5.1 | Tobermore Artro block paving in contrasting bands | 10 | Architect 01.02 |  | Include tarmacamdam base course
6 | Kerbs |  |  |  | Refer to Manufacturers Technical Sheets - Appendix 2
6.1 | Marshalls 63x150 Conservation X kerbs | 11 | Architect 01.02 and 01.09
6.2 | Ditto 225x205 to top of steps | 11 | Architect 01.02
7 | Tactile Paving |  |  |  | Refer to Manufacturers Technical Sheets - Appendix 2
7.1 | Marshalls Tactile Hazard Warning paving | 11 | Architect 01.02 |  | Include tarmacamdam base course
7.2 | Alternative Tobermore Hazard Warning paving | 11 | Architect 01.02 |  | Include insitu concrete base. NOTE this item to be offered as part of optional tender (see form of tender)
8 | Steps |  |  |  | Refer to Manufacturers Technical Sheets - Appendix 2
8.1 | Hardcore, formwork and concrete construction all as Engineers detail plus Marshalls Conservation X textured steps | 12 | Architect 01.06 and 1.07; Engineer |  | Refer to Architects dimensions 1.07
9 | Slot Drainage |  |  |  | Refer to Manufacturers Technical Sheets - Appendix 2
9.1 | Marshalls Drexus | 12 | Architect 01.04 and 01.10 |  | Incl. slot top, access covers and associated fittings. Across site North to South. Drain set in concrete surround
10 | Gulley Cover
10.1 | Ductile iron D400 | 12 | Architect 01.04 |  | Clean out gulley and prepare to receive new
11 | Service Bollards
11.1 | Furnitubes Zenith service bollards 2No. | 12 |  |  | Allow ducted feeds from existing electric cabinet in S.E. Corner
12 | Handrail
12.1 | 2No. New handrail and upright assemblies either side of new steps | 13 | Architect 01.06 and 1.07 |  | Fabricate off site and securely fix (method to be agreed with Architect). Paint black insitu upon completion
13 | Fixed Furniture
13.1 | Remove furniture: 4 picnic benches (table and pair of benches), 4 benches and 4 bar tables. | 13 | Architect 00.05 |  | Existing street furniture being retained to be handled with care and transported to Bolsover Council depot at rear of Assembly Rooms. Break out associated concrete fixing pads
13.2 | Refix existing benches and tables listed in spec | 13, 14 | Architect 01.01 and 01.03 |  | Assume suitable for reuse. Collect from Bolsover Council depot at rear of Assembly Rooms. Prepare made ground and cast concrete pads at ground level for bolted connections
14 | Contingency
14.1 | Include the Contingency Sum of £10,000 |  |  | 10000 | Other possible works only as directed by Architect
|  |  | Total to Form of Tender | 10000
|  |  | Total to Optional Form of Tender |  | All works but using optional paving materials specified