Schedule D

Tender Ref HSL/ T34 1516 Spark Generator for production of Nano Particles

Evaluation Criteria

Tenderers are required to demonstrate and provide evidence that meets or exceeds the specification (schedule A). Tender Submissions will be scored on the following criteria

| Score | Scoring of Tenders |
| --- | --- |
| 4 | Fully meets requirements and may offer a degree of additional benefits |
| 3 | Meets requirements, but with some minor reservations. |
| 2 | Meets some of the requirement, but with major reservations. |
| 1 | Unlikely to be able to deliver what HSE wants. |
| 0 | Cannot deliver what HSE wants or does not address the requirement. |

| Weighting | Description |
| --- | --- |
| 3 | Critical |
| 2 | Important |
| 1 | Standard |

See over page for evaluation  criteria table

Schedule D

Tender Ref HSL/ T34 1516 Spark Generator for production of Nano Particles

| Tender Evaluation - Scoring Criteria |  |  |  |
| --- | --- | --- | --- |
| Criteria | Score (0-4) | Weighting (1-3) | Weighted Score |
| Capability to produce carbonaceous nanoparticles in the range 20 nm – 200 nm based upon a spark discharge process with the ability to produce other metallic nanoparticles. |  | 3 |  |
| Mass flow of up to 10 mg/hour |  |  |  |
| Ability to produce nanoparticle output for at least 5 hours stable |  |  |  |
| Volume dilution output from generator ideally using mass flow controllers for precision control |  | 2 |  |
| Warranty Period (24 Months) |  | 1 |  |
| On Site Training |  | 1 |  |
| Maintenance |  | 1 |  |
| Delivery |  | 1 |  |
|  |  | Total Score |  |