Hook Parish Council – Christmas Light Tender June 2022 – March 2027

Hook Parish Council is looking for an experienced and reliable Christmas light contractor who is based within a reasonable distance of Hook, Hampshire.

Hook Parish Council is fortunate to own all the Christmas Light displays for the village centre, therefore we will only consider a company that is able to store, service and install all held lights and be able to offer a maximum 24 hour call out in the unfortunate case of a light not working, as well as providing an option to rent a motif if one or more lights fail.

Please see appendices 1a, b and c for additional information.

Interested parties must have a proven track record and provide evidence of previous and/or current experience. Applicants must provide at least one relevant reference with the application as well as a current copy of a HERS certificate.

The successful applicant will work closely with the Environment and Community Administrator throughout the year, to ensure that licences are completed in a timely manner.

Interested parties who meet all the requirements are welcome to apply and provide an estimated breakdown of cost per year, with the option to upgrade on light schemes in the future.

Please contact Sarah McMeeken (amenities@hook.gov.uk)

Please complete cost template below for a five-year contract:

| Item | Description | Year One 2022 (£) | Year Two 2023 (£) | Year Three 2024 (£) | Year Four 2025 (£) | Year Five 2026 (£) | Total Cost (£) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Storing and Testing of all light motifs owned by Hook Parish Council | Checking all the lighting as detailed in Appendix 1a, to repair or replace the lights where necessary, to ensure all lighting displays are working prior to installation. |  |  |  |  |  |  |
| Testing lighting brackets | In accordance with the current British standards of structural fixtures (BS5080) all lighting fixtures must be tested and if required repaired and re-tested. |  |  |  |  |  |  |
| Installation | Installation of all 20 LED Lantern lights Please cost per motif and total cost |  |  |  |  |  |  |
| Installation | Installation of 6 artificial (half size) Christmas trees with lights and 40m of 24v LED Icicle lights above the shops in Grand Parade. |  |  |  |  |  |  |
| Installation | Installation of Led Lights, 9 x 50cm and 9 x 80cm Snowflake lights Icicles for the three trees in Grand parade. |  |  |  |  |  |  |
| Removal | Removal of all lighting infrastructure and lights returned to storage. |  |  |  |  |  |  |
| Additional Equipment Hire | - Wooden picket fence to surround the Christmas tree - Mixed baubles and lights for the Christmas Tree display - Cost to rent additional motifs, if Hook Parish Council owned lights fail. |  |  |  |  |  |  |
| Call out cost for Ad HOC Repairs | Any reported issues with lights when they are on display will require a maximum 24 hour response. |  |  |  |  |  |  |
| Emergency Call out (normal working hours) 08.00 – 18.00 Monday - Friday | If a motif needs urgent repair and is a danger to the public an emergency call out will be required. Please provide an hourly rate for an emergency call out. |  |  |  |  |  |  |
| Emergency call out (Out of office hours) 18.00 – 08.00 Monday – Friday (all weekend) | Please provide an hourly rate for an out of hours call out. |  |  |  |  |  |  |

Signed:									Print Name:

Company Address (where lights will be stored): 				Date:

Please return this completed document and additional information required to amenities@hook.gov.uk  before 12pm on Monday 25th April 2022. Failure to do so will result in your tender application not being considered for further review.