SCHEDULE D – service information

Annex h – gENERAL BUILDING MANAGEMENT

DEPARTMENT FOR WORK AND PENSIONS

FURTHER COMPETITION UNDER

FM SERVICES FRAMEWORK AGREEMENT (RM1056)

LOT 1

–

TOTAL FACILITIES MANAGEMENT

CONTENTS

1.	MULTI-SKILLED OPERATIVES – CONTEXT AND BACKGROUND	3

2.	Multi-skilled operatives – future requirement	3

3.	MAIL AND MESSENGER SERVICES	3

4.	RECEPTION SERVICES	4

5.	MANAGEMENT OF THE EMPLOYER’S WORKING ENVIRONMENT	4

6.	HEALTH AND SAFETY	6

7.	APPENDICES	6

# MULTI-SKILLED OPERATIVES – CONTEXT AND BACKGROUND

## The Employer currently enjoys a full building management service through an all-encompassing PFI contract which allows the incumbent supplier to deploy personnel to deliver a number of on-site services in a flexible manner through a role known as the Site Representative (SR). SRs report to local and regional Facilities Managers and Portfolio Managers within the incumbent supplier’s management chain.

## SR tasks and responsibilities are integrated and combined to provide a flexible team approach to dealing with local issues.  These range from dealing personally with general housekeeping duties to one of site team leader and co-ordinator of work.

## There will usually be a nominated SR for each facility over 1,000 M².

## In most cases, SR duties are allocated to security service partner staff with additional responsibilities that could include manned guarding services, reception and customer stewarding duties. Other on-site activities such as mail and messenger services are currently carried out under a separate office services contract.

# Multi-skilled operatives – future requirement

## The Employer’s future Estates Target Operating Model (TOM) envisages all on-site tasks (excluding security service specific tasks) being carried out by the Contractor.

## This will include, but not be limited to:

### Handyman Services and first response to Reactive Work;

### Visitor reception duties (where required);

### Receipt of deliveries; and

### Mail and messenger duties.

### General housekeeping and building management duties including co-ordination of work and liaison with the Employer’s Supply Chain Integrator (see Annex G – Integrator Scope and Systems Requirements of Services of Schedule D – Service Information) and other contractors.

### Health and Safety management and delivery of a safe and accessible working environment.

## Contractor Personnel shall be required to adopt a proactive approach to housekeeping and general maintenance, carrying out minor reactive tasks as required and logging these (and any other rectification works that may require the Employer’s approval) with the Employer’s Supply Chain Integrator via the CAFM system.

## The Contractor shall be expected to provide the most advantageous options in relation to the deployment of Contractor Personnel, to deliver the required Services in the most efficient, cost effective and sensible manner. Full cooperation and liaison with the security supplier will be required to determine the most effective solutions to some on-site services, such as Reception Services.

# MAIL AND MESSENGER SERVICES

## Schedule D - Annex A – Service Matrix and Service Level Requirements details those sites requiring Mail and Messenger Services and activity volumes are included within Attachment 8 – Data Pack.

## A full description of the service requirement is included in Schedule D Annex T – Mail and Messenger Services and the Contractor shall be required to consider this in line with other activities required at site level, with a view to achieving a fully integrated service.

# RECEPTION SERVICES

## Schedule D - Annex A – Service Matrix and Service Level Requirements details those sites requiring a Reception Service. Site specific volumetric data relating to Reception Service activities is not available, but indicative number of visitors per week are included in Table 1 below:

## An estimate of 3 large corporate centres, (Quarry House, Five Ways House and Caxton House) have large numbers of visitors per week (1500+). All figures should be treated as indicative only and the Contractor may wish to carry out their own on-site surveys during the Mobilisation Period.

## Table 1

| Number of visitors per week | Percentage of applicable sites | Typical sites |
| --- | --- | --- |
| <50 | 62% | Back of house sites for processing DWP services such as pensions and Personal Independence Payments (PIP). Small or medium sized Jobcentres |
| 51-100 | 13% | Larger Jobcentres or mixed use sites – e.g. sites containing conferencing/meeting room facilities |
| 101-200 | 9% | Larger back of house sites. May also include other services such as conferencing facilities or Medical Examination Centres (MECs) which contribute towards larger visitor numbers |
| 201-350 | 16% | Medium or large corporate sites Larger mixed use sites – e.g. combined Jobcentres/Service Centres, back of house sites containing MECs |

# MANAGEMENT OF THE EMPLOYER’S WORKING ENVIRONMENT

## The Contractor shall ensure full cooperation and integration with the Supply Chain Integrator’s systems and services, to ensure an acceptable working environment for the Employer’s staff and visitors, complying with all legislative and Health and Safety requirements and any specific business requirements that may be notified.

## Through efficient operation of building management systems, and/or through appropriate local measures, internal temperatures during Operational Working Hours or whenever the building is occupied, in areas used for office purposes shall be maintained between 16°C and 28°C, or the appropriate maximum level as agreed with the Employer for the use concerned.

## The noise levels on sites must not exceed 50dB (A) for more than 10% of Operational Working Hours.

## All facilities utilised by users, visitors or the public shall have suitable and sufficient lighting to comply with legislative requirements, allowing safe and healthy working, free from limiting glare, flicker or other adverse influence and suitable for the task being carried out.

## The Contractor will be required to monitor sites for the issues in Paras 5.2, 5.3 and 5.4 and take action, or recommend solutions to maintain the required standards.

# HEALTH AND SAFETY

## Annex G – Integrator Scope of Services and Systems Requirements of Schedule D – Service Information details the roles and responsibilities of the Supply Chain Integrator. The Contractor shall work in collaboration with the Supply Chain Integrator to define the need for site based risk assessments and to carry out these risk assessments as required, including carrying out any rectification works/actions that may arise from them.

## Examples of typical risk assessments that may be required are included at Appendix 1 to this Annex H document. Please note this list is not exhaustive and the need for new risk assessments may arise in response to the Employer’s changing business practices. Generic workplace risk assessments are to be included in the Lump Sum Price.

## The Contractor may be requested to conduct off-site risk assessments for the Employer’s business activities in other locations. Off-site risk assessments shall be requested as an ad-hoc requirement and shall follow the New Works process.

## The Contractor shall take a proactive role in the on-site management of health and safety issues, engaging with the Employer’s staff and participating in local/regional Health and Safety groups as required.

## The Contractor shall engage fully with the Supply Chain Integrator and other service delivery agencies to ensure that all the Employer’s health and safety requirements are met and that new legislation or issues arising from the Employer’s business changes are identified and acted on appropriately.

# APPENDICES

## Appendix 1 - Risk Assessments