## DWP Risk Assessment Requirement
Risk Assessment to be undertaken by …
No. | Risk Requiring Assessment | No. Undertaken 2015/16 | The Supply Chain Integrator | 3rd Party | Assurance undertaken by the Supply Chain Integrator | Outline of Risk Assessment | Frequency Risk Assessment Undertaken | How Risk Assessments are currently performed
1 | Allergies, (e.g. latex) | Zero | YES |  |  | This Risk Assessment covers the general risks and control measures that may be required in relation to staff who may have been previously diagnosed or come into contact and be sensitised via exposure to products that may contain latex. | Ad-hoc following a request from the Employer. | Ad-hoc following a request from the Employer. Such is a medical / OH matter and as such is not within the scope of the contract which is primarily building fabric related however guidance and advise will be and is given.
2 | Asbestos | dependant on asbestos type either - annual or 3 yearly - not done via work order system |  | FM Contractor | YES | Periodic review to determine condition of asbestos containing materials. | Amphibole annually, other materials risk assessed to determine risk of exposure if damaged. Low risk materials 3 yearly review. | Surveys commissioned with accredited Asbestos Consultants. Any suspected ACM or damaged areas should be reported on discovery and such are then appropriately dealt with
3 | Battery Collection for Recycling | one per site pa |  | FM Contractor | YES | This assessment covers to storage of domestic batteries as part of an environmental initiative, and covers: - storage/placement of storage containers - environmental factors - disposal of the batteries - handling of batteries/containers | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology (CRAM).
4 | Call Centres; (Working Practices) | one per site pa |  | FM Contractor | YES | This assessment covers those staff who work in a call centre environment. It does not cover normal use of telephony equipment. Areas covered include: - posture/workstation - use of headsets - environmental factors - noise - work targets | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
5 | Car Parks | one per site pa |  | FM Contractor | YES | The main area covered in this assessment is the protection of pedestrians and the layout of the car park | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
6 | Children in the Workplace | one per site pa | YES |  |  | This assessment covers planned Bring Your Children to Work initiatives. It does not cover: - young persons working - work experience - staff bringing children onto site on an ad hoc basis (e.g. New baby) The assessment includes: - pre-visit checks - supervision requirements - child restrictions - security - evacuation | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology. We have standard letters re same however much of this (Actual management and supervision etc.) is a matter for the Employer / site management to undertake based on our assessment
7 | COSHH | one per site pa |  | FM Contractor | YES | This assessment covers the use of substances on site that staff may come into contact with. Refer to the relevant COSHH assessment for specific controls for substances | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
8 | Display Screen Equipment | 4600 | YES |  |  | Periodic review of ergonomic work station set-up following significant changes or moves. Training and assessment is via online e learning | As required - the Employer's policy is every 3 years unless significant changes or issues etc. | On-line assessment undertaken with identified actions being discharged by the Line Manager and/or the Facility Manager.
9 | E-Learning Privacy screens | one per site pa | YES |  |  | This assessment covers the installation, moving, storage and use of e-learning screens | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
10 | Electrical Equipment | one per site pa |  | FM Contractor | YES | This assessment covers staff using electrical equipment as part of their normal work. It covers: - installation - use - maintenance/repair - environmental/sitting requirements It does not provide an assessment for individual pieces of equipment. In the event a particular piece of equipment does require to be risk assessed, this should be done separately. | Annual | Annual risk assessment undertaken by the Facility Manager using standard guidance in the Consolidated Risk Assessment Methodology. It should be noted that we do not assess all items specifically as we do not do so were we do not provide or maintain individual electrical items used by staff ( other than fixed wiring as above) and items such as fans, heaters and white goods which are provided as part of the contract via Amaryllis. Portable Appliance Testing (PAT) for the Employer etc. items is undertaken via Amaryllis for items provided within the scope of the contract
11 | Electrical Equipment, (fixed wiring) | 333 |  | FM Contractor | YES | An Electrical Installation Condition Report (EICR) to determine the condition of electrical systems in terms of design and safety. | Quinquennial | Electrical circuits are inspected by competent external engineers. The wiring of each circuit is tested to make sure the wiring is safe and that the circuit is wired correctly. The testing will also establish that the earthing and bonding is sufficient. A certificate is issued.
12 | Equality (ex DDA) Reviews | one per site pa | YES |  |  | Site Specific Access/Evacuation Information for staff and public who are covered by the Equality Act | Annual | Annual risk assessment undertaken by Facility Manager using a standard proforma
13 | Fire Alarm Failure | one per site pa |  | Security Contractor | YES | This assessment relates to control measures to be implemented when the site fire alarm system is out of action (either unplanned or due to maintenance, etc.) It covers: - site restrictions - communications - fire patrols - interim evacuation requirements | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology. Fire alarms and systems are inspected and tested via external sub contractors
14 | Fire Risk | 294 |  | Security Contractor | YES | Statutory assessment of Fire Risks of building |  | Risk assessment undertaken by external Fire Consultants
15 | First Aid Assessment of Needs | one per site pa | YES |  |  | Assessment to cover the amount of staff that need to be First Aid trained and the facilities required for the level of risk on site | Annual | Annual risk assessment undertaken by Facility Manager using a standard proforma
16 | Fitness Centres | one per site pa |  | FM Contractor | YES | This assessment covers sites that have a fitness centre/gym on the premises. It covers: - use of equipment (including out of hours) - evacuation - supervision | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
17 | Flat Roofs | one per site pa |  | FM Contractor | YES | Assessment completed on offices with flat rooves that may be accessed by FM's and others | Annual review | Annual risk assessment undertaken by Facility Manager using a standard proforma
18 | Fork Lift Trucks | one per site pa |  | FM Contractor | YES | This assessment covers sites where fork-lift trucks are being used. This is separate from the Workplace Transport Safety risk assessment. This covers: - use of fork-lift trucks - pedestrian interface - workplace layout - maintenance/charging of batteries - falling materials | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology. There are very few sites with such and those that have are probably not used by the Employer staff but sub contractors.
19 | Glazing; window, transparent or translucent doors, gates /walls | Zero |  | FM Contractor | YES | A review to establish whether there is a risk of anyone being hurt if people or objects come into contact with the glazing, or if it breaks. | Every 10 years or following an incident such as a member of public breaking a JCP window | A risk assessment is undertaken by the Facility Manager using a standard pro forma.
20 | Hand Sanitizers | one per site pa |  | FM Contractor | YES | This assessment covers the provision, use and storage of hand sanitiser in public and non-public areas. | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
21 | Home working (contractual, not occasional) | 50 | YES |  |  | A review of the clients homeworking environment, checking DSE, manual handling, document security. Following a pre-visit questionnaire | Ad-hoc following a request from the Employer for staff who meet the criteria of working more than 3 days a week at home. | A risk assessment undertaken by the Facility Manager using a standard pro forma.
22 | Infectious Diseases | Zero | YES |  |  | A risk assessment for those who may come into contact with others who may have occupational infectious diseases (e.g. Hepatitis, HIV, TB). This includes where staff have such diseases as well. | Annual | This is a medical / OH matter which is not within the scope of the contract which is primarily building fabric related however guidance and advise will and is given.
23 | IT Equipment Rooms | one per site pa |  | FM Contractor | YES | This assessment applies to those entering IT equipment rooms for cleaning/inspection purposes (e.g. FM's, cleaners, Quarterly Inspection Teams) It does not cover access undertaken by technical persons (e.g. Maintenance) for other reasons | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
24 | Kitchen/Tea points and kitchen equipment | one per site pa |  | FM Contractor | YES | This assessment covers the use of toasters, kettles, hot water heaters, microwaves, cookers, fridges and dishwashers |  | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
25 | Lift Malfunction and Passenger Entrapment | one per site pa |  | FM Contractor | YES | This assessment covers the local protocol and communications for when lifts malfunction | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
26 | Lone Working | one per site pa | YES |  |  | This assessment covers those staff who may undertake lone working- it is important to consider the difference between lone and remote working. | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology. the Employer have also issued internal correspondence on similar "End of day process"
27 | Manual Handling | one per site pa |  | FM Contractor | YES | This assessment covers all aspects of manual handling likely to be experienced by most staff on site. It covers: - lifting/carrying items or equipment - use of mechanical aids Where required, a task/person specific risk assessment must be undertaken. | On request/annual generic as per CRAM | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology. Specific matters for those who are operational / dedicated manual handlers can result in specific assessments and potentially practical training in same. Principles of Manual Handling is covered in the on line e learning module PH&ST.
28 | Mobile Sites (i.e. buses) | 46 | YES |  |  | A risk assessment that covers the risks associated with working at an external venue | Ad-hoc following a request from the Employer. The PRIME contract includes these visits as chargeable. | Either undertaken by the Facility manager or an External Provider.
29 | Mothers (new or expectant) | one per site pa , plus 700+ via work order for specific RA's |  | FM Contractor | YES | A risk assessment for new or expectant mothers. In all cases, an individual risk assessment must be undertaken | Ad-hoc following a request from the Employer. | General control measures covered in the Consolidated Risk Assessment Methodology, ad hoc also undertaken following request.
30 | Noise Assessments | Zero |  | FM Contractor | YES | Assessment of noise levels in an area done on request | Ad-hoc following a request from the Employer. | Risk assessment undertaken via Facility Manager. Little used as few the Employer etc. occupied areas are within scope of such levels
31 | Occupancy Assessments | one per site pa |  | FM Contractor | YES | An assessment to check the numbers of sanitary facilities and adequacy of fire arrangements for staff numbers on site | Annual or following a request from the Employer due to changes in staff numbers | Annual risk assessment undertaken by Facility Manager using a standard proforma or as per the numbers advised within the site FRA
32 | Overheating / thermal comfort | one per site pa |  | FM Contractor | YES | This assessment covers the actions to be taken when thermal comfort is an issue on site. The information contained relates to the Healthy Heating Guidance | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
33 | Personal Evacuation Plans | one per site pa |  | FM Contractor | YES | Assessment to cover the evacuation of a member of staff with an impairment that would impact on their evacuation from the building in an emergency | Ad-hoc following a request from the Employer. | Risk assessment undertaken by Facility Manager using a standard proforma
34 | Photocopiers and Laser Printers | one per site pa |  | FM Contractor | YES | Equipment that staff are likely to use on a regular basis and includes information on: - heat/fumes/emissions/ozone/noise - general use of the equipment - spillages of toner - staff/document security | Annual | this is not covered specifically within our scope as such are not provided or maintained by Telereal trillium or Engie. Generic Annual risk assessment is undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
35 | Portable electric heaters | one per site pa |  | FM Contractor | YES | This assessment covers the use of supplementary portable electric heaters | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
36 | Portable IT Devices | Part of DSE | YES |  |  | Guidance is available which covers the use of laptops and includes: - handling/carrying issues - security matters - ergonomics | Annual | Staff must follow the workstation guidance as per DSE training and assessment. Laptops used without a workstation (desk, keyboard and monitor etc.) are for short duration use only
37 | Security Risk Assessment (including potential violence to staff etc.) | one per site pa |  | Security Contractor | YES | A security risk assessment providing a platform to assess security risk to personal safety at the Employer sites and to provide formal recommendations on measures to mitigate or eliminate these risks. | At least annually or following an incident or change in circumstance. | A risk assessment undertaken by the Facility Manager with G4S using a standard pro forma.
38 | Showers | one per site pa |  | FM Contractor | YES | This assessment covers the risks of slips and falls in showers | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
39 | Smoking (externally to the site) | one per site pa |  | FM Contractor | YES | This assessment covers smoking on site (as well as off-site), and includes: - location of smoking shelters - fire prevention - potential violence/security matters - environmental considerations | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
40 | Static and Mobile Racking | one per site pa |  | FM Contractor | YES | Where sites have file rooms this assessment covers the use of the racking - not overloading shelves, manual handling and lone working |  | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
41 | Transport Safety | one per site pa |  | FM Contractor | YES | This assessment covers site with significant traffic movement/delivery of goods or large sites with significant traffic management requirements (including provision of loading bays). It covers: - Use of transportation/vehicles - loading and unloading of vehicles - general vehicle movement - delivery and collection of goods - unauthorised use of vehicles | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
42 | Ultraviolet Search Lamps | one per site pa |  | FM Contractor | YES | This assessment applies to activities involving the use of UV search lamps (is normally used for checking documents). It covers: - use of equipment - security considerations - personal protection requirements | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
43 | Water Cooler bottles; replacement and movement of | one per site pa |  | FM Contractor | YES | This assessment covers the movement, storage and replacement of water cooler bottles. the Employer have removed the majority of bottled water facilities on sites | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
44 | Water Systems | every 2 years via PPM plan |  | FM Contractor | YES | Water Risk Assessment (WRA) to comply with legislation | The WRA is renewed every two years. The PPMs are monthly. | A formal water risk assessment undertaken every two years by a Competent Person. There are also monthly PPM routines to check water delivery temperature to prevent the development of legionella bacteria.
45 | Wheelchair battery charging | one per site pa |  | FM Contractor | YES | This assessment covers the storage, charging, disposal and handling of wheelchair batteries on site. It also includes higher risk batteries (flooded wet batteries) | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
46 | Working at heights | one per site pa |  | FM Contractor | YES | This risk assessment reviews who may be working at height (i.e. Any height above ground level). This will normally be during document/item retrieval using airline steps/kick stools/mobile ladders. | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology. the Employer staff would not be expected to undertake any WAH or access and areas requiring such other than low level filing etc. access
47 | Working off-site, (e.g. prison liaison visits, home visits, attendance at job fairs and other public events) | 50 | YES |  |  | A risk assessment that covers the risks associated with working at a property external to the Employer estate | Ad-hoc following a request from the Employer. The PRIME contract includes these visits as chargeable. | Either undertaken by the Facility manager or an External Provider.
48 | Workplace Activities | one per site pa | YES |  |  | This risk assessment covers the general office environment with issues such as housekeeping, slips trips and falls; heating, lighting and ventilation | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology.
49 | Young People working in the office | one per site pa | YES |  |  | This assessment covers the risks likely to be experienced by young persons working on site. A Young Person is defined as someone who has not reached the age of 18. This assessment does not cover Bring Your Children to Work initiatives A specific Young Persons Risk assessment must be undertaken per individual. | Annual | Annual risk assessment undertaken by the Facility Manager using a standard guidance in the Consolidated Risk Assessment Methodology. A specific Young Persons Risk assessment form is available for such individual.