## Cost Model
AW5.2 Price Schedule
SOURCING REFERENCE: | UK SBS FM17187 | Bidders are required to complete all RED highlighted cells. For the avoidance of doubt the total compiled within cell E53 will be used for the evaluation of this procurement. All prices are firm and fixed for the duration of the Contract.
SOURCING DOCUMENT TITLE: | Laboratory 454 Culture Facility Improvements
BIDDER NAME | [Bidder to add name]
Section 1 - General
Description |  |  | Total
|  | Price | Price | Notes & Comments
Pre-Start Checks and Measurements |  | 0 | 0
Provision of Working Drawings |  | 0 | 0
Provision of Builders Work Drawings |  | 0 | 0
Provisions of O&M Manuals and As-Fitted Drawings |  | 0 | 0
Testing, Commissioning and Demonstration of All Systems |  | 0 | 0
Section 1 Total |  | 0
Section 2 - Mechanical & Electrical Engineering Services
Description |  |  | Total
|  | Price | Price | Notes & Comments
Ventilation Modifications |  | 0 | 0
New Vision Panel |  | 0 | 0
Controls Installation |  | 0 | 0
Electrical Removal Works (Laboratory) |  | 0 | 0
Electrical Removal Works (3 Phase Power Supply Mezzanine Plant Level 3) |  | 0 | 0
Lighting Installation |  | 0 | 0
Luminaires |  | 0 | 0
Small Power Installation |  | 0 | 0
Panic Alarm Installation |  | 0 | 0
Work Associated with BMS |  | 0 | 0
Containment |  | 0 | 0
Section 2 Total |  | 0
Section 3 - Provisional Sums
Description |  |  | Total
|  | Price | Price | Notes & Comments
Unforeseen Co-Ordination |  | 1000 | 1000
Unforeseen Electrical Works |  | 1000 | 1000
Type A Luminaire Specification Change Following Investigation Works |  | 400 | 400
Section 3 Total |  | 2400
Grand Total |  | 2400

## SOR (Info Only)
AW5.2 Price Schedule
SOURCING REFERENCE: | UK SBS FM17187 |  |  | Bidders to note that all costs appearing here are for information only and will not be scored as part of AW5.2 Pricing Schedule Evaluation. Bidders are required to complete all RED highlighted cells. Any services that require additional hours will require sign off by the Project Director via specific instruction prior to the additional hours being undertaken All prices are firm and fixed for the duration of the Contract.
SOURCING DOCUMENT TITLE: | Laboratory 454 Culture Facility Improvements
BIDDER NAME | [Bidder to add name]
Schedule of Rates (For Information Only)
Description |  | Day Rate | List Price
Normal Hours Working Rates (between 0800 hrs to 1700 hrs, Monday - Friday) |  | 0 | 0
Out of Hours Working Rates (between 1700 hrs to 0800 hrs, Weekends) |  | 0 | 0