Asbestos Ceiling Tile Removal

TENDER REFERENCE: STSC-FB-0006

Tender Issue Date:  29th May 2018

Tender Return Date: 18th June 2018

South Tees Site Company Limited

Procurement Department

Teesside Management Offices

Redcar

TS10 5QW

# Contents

- Introduction

- Indicative Timetable

- Procedure for Submitting Tenders

- Evaluation of Responses

- Terms & Conditions applying to this Invitation to Tender

- Further Instructions to Tenderers

- Checklist of Documents to be Returned

- Job Background

- Scope

- Drawings & Specifications

- Standards

- Site Visit

- Health & Safety

- Budget

- Price/Quality Evaluation Criteria

- Procurement

- Freedom of Information

- Appendices

Declaration 5 – Agreement to Published terms & Conditions

Declaration 6 – Use of Sub-Contractors

Declaration 7 – Health & Safety Policy

Declaration 8 – Enforcement/remedial orders

Declaration 9 – Freedom of Information Act 2000 (FOI) and/or Environmental Information Regulations 2004 (EIR) Exemptions

# Introduction

South Tees Site Company Limited (STSC) have been appointed to maintain the safety of the Redcar site (formally SSI Steel).

South Tees Site Company is a Government owned Company that is part of the BEIS (Business, Energy & Industrial Stratergy) Department.

# Indicative Timetable

The anticipated timetable for this tender exercise is as follows. STSC reserves the right to vary this timetable. Any variations will be published on Contracts Finder or circulated to all organisations who have registered an interest in notifications.

| Tender Timeline | Date |
| --- | --- |
| Advert and invitation to tender issued | 29th May 2018 |
| Mandatory Site Visit | 5th June 2018 |
| Deadline for questions relating to the tender | 8th June 2018 |
| Responses to questions published | 13th June 2018 |
| Deadline for receipt of tender | 18th June 2018 (by 2 pm) |
| All suppliers informed of outcome | 26th June 2018 |
| Contract award on signature by both parties | TBD |
| Contract start date | TBD |

The contract is to be for the period of the specified job unless terminated or extended by the Authority in accordance with the terms of the contract.

# Procedure for Submitting Tenders

The maximum page limit for tenders is 6 pages (excluding declarations).

Please send your proposal clearly marked as “TENDER” and include the Tender Reference Number e.g. STSC- FB-0006 before the deadline of 2pm on 18th June 2018 to Procurement via email

procurement@stscltd.co.uk.

For questions regarding the procurement process please contact procurement@stscltd.co.uk.

Tenders will be received up to the time and date stated. Please ensure that your tender is delivered no later than the appointed time on the appointed date. STSC does not undertake to consider tenders received after that time. STSC requires tenders to remain valid for a period indicated in the specification of requirements.

STSC shall have the right to disqualify a bidder from the procurement if they fail to fully complete their response, or do not return all of the fully completed documentation and declarations requested in this ITT. STSC shall also have the right to disqualify you if it later becomes aware of any omission or misrepresentation in your response to any question within this invitation to tender. If you require further information concerning the tender process, or the nature of the proposal, please email procurement@stscltd.co.uk. All questions should be submitted by 8th June 2018; questions submitted after this date may not be answered. Should questions arise during the tendering period, which in our judgement are of material significance, we will publish these questions with our formal reply by the end of 13th June 2018. All contractors should then take that reply into consideration when preparing their own bids, and we will evaluate bids on the assumption that they have done so.

You will not be entitled to claim from STSC any costs or expenses that you may incur in preparing your tender whether or not your tender is successful.

# Evaluation of Responses

The tender process will be conducted to ensure that bids are evaluated fairly and transparently, in accordance with agreed assessment criteria.  Further details are provided in the Price/Quality Evaluation Criteria Section.

There will be an overall 80/20 cost/quality weighting on the evaluation.

# Terms and Conditions applying to this Invitation to Tender

The Terms and Conditions published with this invitation to tender on Contracts Finder will apply to this contract.

These can be downloaded from Contracts Finder.

# Further Instructions to Contractors

STSC reserves the right to amend the enclosed tender documents at any time prior to the deadline for receipt of tenders. Any such amendment will be numbered, dated and issued by 14th June 2018. Where amendments are significant, STSC may at its discretion extend the deadline for receipt of tenders.

STSC reserves the right to withdraw this contract opportunity without notice and will not be liable for any costs incurred by contractors during any stage of the process. Contractors should also note that, in the event a tender is considered to be fundamentally unacceptable on a key issue, regardless of its other merits, that tender may be rejected. By issuing this invitation STSC is not bound in any way and does not have to accept the lowest or any tender and reserves the right to accept a portion of any tender unless the tenderer expressly stipulates otherwise in their tender.

# Documents to be Submitted

| Requirement | Assessment |
| --- | --- |
| Declaration 5: Agreement to published T&C’s without deviation | Pass/Fail |
| Declaration 6: Use of Sub-Contractors | Pass/Fail |
| Declaration 7: Confirmation of Health and Safety Policy that complies with current legislative requirements. | Pass/Fail |
| Declaration 8: Enforcement/remedial orders in relation to the Health, Safety and Environment enforcement agencies (or equivalent body) in the last 3 years? | Pass/Fail |
| Declaration 9: Freedom of Information Act 2000 (FOI) and/or Environmental Information Regulations 2004 (EIR) Exemptions | Informative |
| Pricing Schedule | Quantitative |
| Response to Quality Assessment Questions | Qualitative |
| Copy of Environmental Policy | Informative |

Note: Failure to comply with one or more pass/fail requirements will deem your tender non-compliant and it will not be evaluated.

# Job Background

South Tees Site Company (STSC) Policy is to provide a safe working environment and to adopt best practice to ensure health, safety and welfare within the workplace.

The Control of Asbestos Regulations 2012 (CAR 2012) set standards for the protection of employees and others from the risks related to exposure to asbestos. STSC has a duty of care to protect anyone using or working in asbestos containing premises from the risks to health that exposure to asbestos causes.

During recent building inspections it has been discovered that there is a level of subsidence affecting one of our buildings on-site. This building contains several locations with asbestos insulating board ceiling tiles. As there is a risk that the subsidence may affect the ceiling tiles it has been decided to remove them. Thus STSC requires a skilled and licensed asbestos removal contractor to remove these AIB ceiling tiles.

Providers of asbestos removal services to STSC must meet the standards and expectations below:

- Hold a current and valid HSE Asbestos Licence.

- Work to the requirements set out in L143 Managing and working with asbestos and HSG247 Asbestos: The licensed contractors’ guide.

- Four stage clearance testing to be carried out by an independent company which is accredited by UKAS as complying with ISO 17025.

# Scope

South Tees Site Company (STSC) wish to appoint a suitably qualified and experienced provider to carry out the removal of asbestos insulating board (amosite & chrysotile) ceiling tiles from the Runtech Garage (also known as P4 Pellet Plant Workshop & Offices) - Redcar Site.

The service will comprise of the following elements:

- De-installation of asbestos insulating board (amosite & chrysotile) ceiling tiles, from:

  - 3 rooms on the ground floor

  - 6 locations on the 1st floor

- Notification of the work to the HSE

- Independent four stage clearance testing of the locations

- Waste disposal via a licenced waste carrier to a licenced hazardous waste facility

## 9.1	De-installation

Asbestos insulating board (amosite & chrysotile) ceiling tiles to be removed from 3 rooms on the ground floor and 6 locations on the 1st floor of the Runtech Garage building, in accordance with the Control of Asbestos Regulations 2012 (CAR 2012) and approved codes of practice and guidelines.

For reference, a summary overview of the asbestos ceiling tiles by room / location is provided in Appendix A.

### 9.1.1	Ground Floor

The rooms currently contain various items.  All non-fixed items will be removed by the building occupants prior to the work commencing.

Please note that the Mess Room and Storage Room / Office also contain vinyl floor tiles and adhesive that contains chrysotile.  These are to remain in place.  The heating ducting joints has a composite mastic containing chrysotile.

The ground floor may still be in use by the occupant during the removal work.  There is electrical (240V and 110V) and water supply to the ground floor.  Toilet facilities are also available on the ground floor.

The 3 ground floor rooms are:

#### Sluice

Quantity: 6 full tiles (24” x 24”) and 4 part tiles of amosite / chrysotile.

Fixtures & Fittings: Tiles screwed into place.  Also present on ceiling is one fluorescent light fitting, one heating vent and one fire detector which are to remain in situ.

Room Layout: This room has one entrance doorway and no windows.

#### Mess Room

Quantity: 32 full tiles (22” x 22”) and 7 part tiles of amosite / chrysotile.

Fixtures & Fittings: Tiles are supported on a metal framework which is also to be removed.  The ceiling contains two fluorescent light fittings and two heating vents which are to remain in situ.

Room Layout: One entrance doorway and two windows (one external and one internal) are present.

#### Storage Room / Office

Quantity: 9 full tiles (22” x 22”) and 16 part tiles of amosite / chrysotile.

Fixtures & Fittings: Tiles are supported on a metal framework which is also to be removed.  Also present on ceiling is one fluorescent light fitting and two heating vents which are to remain in situ.

Room Layout: There is one entrance doorway and one internal window.

### 9.1.2	First Floor

The first floor is unused and has been for many years and is in a general state of disrepair. Some non-asbestos ceiling tiles have collapsed.

It should be assumed that there is no electrical supply or water to the first floor.

Many areas of the first floor including both stairwells have composite vinyl tiles containing chrysotile in various states of repair. It is assumed the adhesive also contains chrysotile. Their removal is not part of the scope of this job.

The locations with asbestos ceiling tiles will be cleared as far as reasonably practicable of non-fixed items.

The 6 first floor locations are:

#### East Stairwell

Quantity: 29 full (22” x 22”) and 20 part tiles of amosite / chrysotile.

Fixtures & Fittings: Tiles are supported on a metal framework which is also to be removed.  There are no fittings to the ceiling.

Room Layout: There is one internal doorway from the first floor corridor, one external ground floor door and an external window with a sill made from ¾” asbestos reinforced resin composite (chrysotile) known as ‘Eternit’.

Please note: The tiles are above a staircase.  Thus some tiles are above the first floor landing, some are above the stairs and some above the ground floor entrance.

#### West Stairwell

Quantity: 27 full (22” x 22”) and 20 part tiles of amosite / chrysotile.

Fixtures & Fittings: Tiles are supported on a metal framework which is also to be removed. There are no fittings to the tiles.

Room Layout: There is one internal doorway from the first floor corridor, one external ground floor door and an external window with a sill made from ¾” asbestos reinforced resin composite (chrysotile) known as ‘Eternit’.

Please note: The tiles are above a staircase. Thus some tiles are above the first floor landing, some are above the stairs and some above the ground floor entrance.

#### Shower Area

Quantity: 8 part tiles (originally 24” x 24”).

Fixtures & Fittings: Tiles are screwed into place.  There is one light fitting and one heating vent in the ceiling. The light fitting can be removed but the heating vent is to remain in situ.

Room Layout: There is only one entrance into this area and no windows are present.

#### Kitchen

Quantity: 6 full tiles (24” x 24”) and 14 part tiles

Fixtures & Fittings: Tiles are screwed into place.  There is one light fitting and one smoke detector affixed to the ceiling. The light fitting can be removed but the smoke detector must remain in place.

Room Layout: There is one doorway and an external window with a window sill made from ¾” asbestos reinforced resin composite (chrysotile) known as ‘Eternit’.

#### Sluice

Quantity: 8 part tiles (originally 22” x 22”) of amosite / chrysotile.

Fixtures & Fittings: Tiles are supported on a metal framework which is also to be removed.   The ceiling has one light fitting and one light switch which can also be removed.

Room Layout: There is only one entrance to the sluice and no windows.

#### Corridor to Kitchen

Quantity: 6 full (22” x 22”) and 7 part tiles

Fixtures & Fittings: Tiles are supported on a metal framework which is also to be removed.  There is one light fitting on the ceiling which is also to be removed.

Room Layout: This short corridor leads to the kitchen and the sluice.

## 9.2	Notification to HSE

Notification of the work to the HSE will be required and to be arranged by the successful bidder.

The licensed contractor must provide at least fourteen (14) days notification to the Health and Safety Executive (HSE) before commencing any work.

## 9.3	Independent clearance testing

Independent four stage clearance testing of the locations will be required and to be arranged by the successful bidder.

Following asbestos removal, the premises must be assessed to determine whether they are thoroughly clean and fit for reoccupation. Once the licensed contractor is satisfied that the area is clean and ready for future use, the area should be assessed by an independent organisation which is accredited by UKAS as complying with ISO 17025.  All air measurements should comply with the ISO 17025 standard.  If this assessment of the workplace is passed as satisfactory, then a Certificate of Reoccupation is issued.

A copy of the Certificate of Reoccupation must be provided to South Tees Site Company for each individual area/location.

## 9.4	Disposal

All waste from the task is to be removed from site in appropriate transport by a licenced waste carrier to a licenced hazardous waste facility.  Consignment notes must be provided to South Tees Site Company.

## 9.5	Completion

Only when the following conditions are met will work be deemed complete and invoices released for payment:

- Successful independent four stage clearance testing (for each individual area/location)

- STSC to be in receipt of a copy of the Certificate of Reoccupation (for each individual area/location)

- All waste removed from site by licenced waste carrier(s) to a licenced hazardous waste facility

- STSC to be in receipt of consignment notes for all waste disposal transport

# Drawings & Specifications

Please refer to the specifications stated in the above scope of works in conjunction with the following supplementary information:

- A Works Request Form will be supplied to the tender winner detailing specific hazards in the area to assist in risk assessment preparation.

- Working hours will be 07:30 to 15:30 to align with permit to work arrangements.

- Site inductions will be carried out on first arrival to site.

- All employees of the tender winner undertaking work on site must hold a safety passport.

- All employees of the independent clearance testing company undertaking work on site must hold a valid safety passport.

# Standards

All work is to be conducted in accordance with the:

- Control of Asbestos Regulations 2012

- L143 Managing and working with asbestos

- HSG247 Asbestos: The licensed contractors’ guide

The successful Tenderer must be able to demonstrate that all personnel have had suitable and sufficient training to undertake this task.

# Site Visit

A site visit is required for this work.  This site visit is mandatory and MUST be confirmed via email to procurement@stscltd.co.uk by 12pm on 4th June 2018.  Failure to confirm attendance will mean you will not be permitted on the site visit and will therefore not be considered further for this tender.

Date:		5th June 2018

Time:		10.00am

Site Host: 	Chris Corbet

You will be required to complete a site induction, this will take around 30 minutes, please make time for the induction.

# Health & Safety

South Tees Site Company Ltd is a top tier COMAH site and as such, is heavily regulated.  All contractors and sub-contractors are required to complete the VA01 contractor approval form and return with required documentary evidence (including relevant insurances, ISO and training certificates as are appropriate) in order to be added to the approved contractor register.  This also applies to any sub-contractors who may be used on this procurement.

Note: The below documents are for information at this stage, However, the successful contractor will be required to complete, prior to any actual contract award.

If one is held, please include a copy of your Environmental Policy within this tender.

# Budget

The budget for this project is £10,000 to £24,500 excluding VAT.

Contractors should provide a full and detailed breakdown of costs (including options where appropriate). This should include staff (and day rate) allocated to specific tasks.

In submitting full tenders, contractors confirm in writing that the price offered will be held for a minimum of 60 calendar days from the date of submission. Any payment conditions applicable to the prime contractor must also be replicated with sub-contractors.

STSC aims to pay all correctly submitted invoices within 30 days in line with standard terms and conditions of contract.

# Price/Quality Evaluation Criteria

The weighting for each criterion is presented in brackets.

## 15.1	Price 80 Points

This includes the ‘Tender Total’. The number of points will be awarded such that the lowest tender receives 80 points, the others will receive points based on their percentage above the lowest tender.

Example

Lowest Tender Total: £13k – 80 Points

Next Lowest Tender: £18k – (13/18 x 80) – 58 Points

Next Lowest Tender: £23k – (13/23 x 80) – 45 Points

### 15.1.1		Pricing Schedule

Bidders are required to complete the below Pricing Schedule to provide a full and detailed breakdown of costs (including options where appropriate).

Please provide a fixed lump sum price for this scope of work broken down into the elements below as required (but not exclusive to the tender).  If the work involves a labour element on site please supply a rate breakdown of each trade included in the quotation.

| Item | Description | Total |
| --- | --- | --- |
|  | Site Supervision | £ |
|  | Site Labour | £ |
|  | Equipment | £ |
|  | Waste Disposal | £ |
|  | Independent four stage clearance testing | £ |
|  | Other(s) | £ |
|  | Total | £ |

All prices shall be exclusive of VAT.

All costs appearing elsewhere in the Bid but not mentioned in this Pricing Schedule shall be presumed waived.

## 15.2	Quality 20 Points

### 15.2.1 	Scoring Methodology

| 0 | The Question is not answered or the response is completely unacceptable. |
| --- | --- |
| 10 | Extremely poor response – they have completely missed the point of the question. |
| 20 | Very poor response and not wholly acceptable. Requires major revision to the response to make it acceptable. Only partially answers the requirement, with major deficiencies and little relevant detail proposed. |
| 40 | Poor response only partially satisfying the selection question requirements with deficiencies apparent. Some useful evidence provided but response falls well short of expectations. Low probability of being a capable supplier. |
| 60 | Response is acceptable but remains basic and could have been expanded upon. Response is sufficient but does not inspire. |
| 80 | Good response which describes their capabilities in detail which provides high levels of assurance consistent with a quality provider. The response includes a full description of techniques and measurements currently employed. |
| 100 | Response is exceptional and clearly demonstrates they are capable of meeting the requirement. No significant weaknesses noted. The response is compelling in its description of techniques and measurements currently employed, providing full assurance consistent with a quality provider. |

Where an evaluation criterion is worth 10% then the 0-100 score achieved will be multiplied by 10.

Example if a Bidder scores 60 from the available 100 points this will equate to 6% by using the following calculation: Score/Total Points available multiplied by 10 (60/100 x 10 = 6)

### 15.2.2		Quality Questionnaire

| 15.2.2.1 | HSE Asbestos License Status |
| --- | --- |
|  | Bidders are asked to confirm the status of their HSE Asbestos License, detailing the following information: a) Licence Number b) Expiry Date c) Type of Licence d) Condition Number(s) |
| Bidder Guidance | The Bidder shall provide details of their current HSE Asbestos License: Valid Licence = Pass Invalid/Expired/No Licence = Fail Please attach your answer as a pdf document limited to one side of A4 (font Ariel, size 11) |
| Scoring Criteria | Mandatory Pass / Fail |
| Bidder Response | Attachment |

| 15.2.2.2 | Methodology and Technical Merit |
| --- | --- |
|  | Bidders are asked to provide a comprehensive methodology of how they would undertake the work, together with details of technical ability to meet the required specifications as detailed in the scope. The bidder is required to: a) Outline their understanding of the requirements b) Provide a programme of work detailing how they propose to deliver the services and objectives that STSC seek to achieve in relation to the specification c) Detail their technical ability to complete the required work |
| Bidder Guidance | Please attach your answer as a pdf document limited to three sides of A4 (font Ariel, size 11) |
| Scoring Criteria | Scoring is based on the 0 to 100 scoring methodology. |
|  | Maximum Marks 10% |
| Bidder Response | Attachment |

| 15.2.2.3 | Risk Management |
| --- | --- |
|  | Please identify what you feel would be the top 3 risks and how you plan to mitigate these risks. |
| Bidder Guidance | Please attach your answer as a pdf document limited to two sides of A4 (font Ariel, size 11) |
| Scoring Criteria | Scoring is based on the 0 to 100 scoring methodology. |
|  | Maximum Marks 5% |
| Bidder Response | Attachment |

| 15.2.2.4 | Evidence of delivering similar projects |
| --- | --- |
|  | Please provide details of a minimum three and maximum five similar projects your company has been engaged in, outlining key challenges faced and how these were overcome, any lessons learned, and how you will utilise these experiences to add value in the realisation of STSC’s commission objectives. |
| Bidder Guidance | Please attach your answer as a pdf document limited to three sides of A4 (font Ariel, size 11) |
| Scoring Criteria | Scoring is based on the 0 to 100 scoring methodology. |
|  | Maximum Marks 5% |
| Bidder Response | Attachment |

# Procurement

All communication relating to this tender must be made via the Procurement Team.

Email: procurement@stscltd.co.uk

Please use this email address to:

- Confirm the Tenderer intends to submit a tender.

- Raise any questions during the tender period.

- Return the completed tender.

# Freedom of Information

In accordance with the obligations and duties placed upon public authorities by the Freedom of Information Act 2000 (the ‘FoIA’) and the Environmental Information Regulations 2004 (the ‘EIR’) (each as amended from time to time), the Contracting Authority may be required to disclose information submitted by the Bidder.

In respect of any information submitted by a Bidder that it considers to be commercially sensitive the Bidder should complete the Freedom of Information declaration question below.

Where a Bidder identifies information as commercially sensitive, the Contracting Authority will endeavour to maintain confidentiality. Bidders should note, however, that, even where information is identified as commercially sensitive, the Contracting Authority may be required to disclose such information in accordance with the FoIA or the Environmental Information Regulations.  In particular, the Contracting Authority is required to form an independent judgment concerning whether the information is exempt from disclosure under the FoIA or the EIR and whether the public interest favours disclosure or not.  Accordingly, the Contracting Authority cannot guarantee that any information marked ‘confidential’ or “commercially sensitive” will not be disclosed.

Where a Bidder receives a request for information under the FoIA or the EIR during the procurement, this should be immediately passed on to the Contracting Authority and the Bidder should not attempt to answer the request without first consulting with the Contracting Authority.

Bidders are reminded that the Government’s transparency agenda requires that sourcing documents, including RFP templates such as this, are published on a designated, publicly searchable web site, and, that the same applies to other sourcing documents issued by the Contracting Authority, and any contract entered into by the Contracting Authority with its preferred supplier once the procurement is complete.  By submitting a response to this RFP Bidders are agreeing that their participation and contents of their Response may be made public.

# Appendices

## Appendix A

### Summary of Asbestos Ceiling Tiles by Location

Declaration 5: Agreement to Published Terms &Condition

To: South Tees Site Company Limited

We confirm agreement to the published Terms and Conditions in relation to this tender without deviation.

……………………………………………………………………………….….

Signature (duly authorised on behalf of the tenderer)

……….………………………………………………………………………….

Print name

…………………………………………………………….…………………….

On behalf of (organisation name)

…………………………………………………………………….…………….

Date

Declaration 6: Use of Sub-Contractors

To: South Tees Site Company Limited

We intend to use the below sub-contracts in delivering this tender.

| Sub-contractor | Nature of Work |
| --- | --- |

…………………………………………………………………………….….

Signature (duly authorised on behalf of the tenderer)

……….………………………………………………………………………….

Print name

…………………………………………………………….…………………….

On behalf of (organisation name)

…………………………………………………………………….…………….

Date

OR

We do not intend to use sub-contractors in delivering this tender.

…………………………………………………………………………….….

Signature (duly authorised on behalf of the tenderer)

……….………………………………………………………………………….

Print name

…………………………………………………………….…………………….

On behalf of (organisation name)

…………………………………………………………………….…………….

Date

Declaration 7: Health & Safety Policy

|  | Please self-certify that your organisation has a Health and Safety Policy that complies with current legislative requirements. These should consider not only were your organisation is based but also any needs that are required in the country of delivery of the procurement. |
| --- | --- |
| Bidder Guidance | The Bidder shall answer Yes or No Yes – Pass No - Fail |
| Scoring Criteria | Mandatory Pass / Fail |

Please sign in the appropriate box:

| Yes | Sign: Print Name: |
| --- | --- |
| No | Sign: Print Name: |

Declaration 8: Enforcement/remedial orders

|  | Has your organisation or any of its Directors or Executive Officers been in receipt of enforcement/remedial orders in relation to the Health, Safety and Environment enforcement agencies (or equivalent body) in the last 3 years? |
| --- | --- |
| Bidder Guidance | The Bidder Shall answer yes or no Yes = *Fail No = Pass If your answer to this question is “Yes”, please provide details in a separate Appendix of the conviction or notice and details of any remedial action or changes you have made as a result of conviction or notices served. The Contracting Authority will not select bidder(s) that have been prosecuted or served notice under Health and Safety legislation in the last 3 years, unless the authority is satisfied that appropriate remedial action has been taken to prevent future occurrences/breaches. |
| Scoring Criteria | Mandatory Pass / Fail |

Please sign in the appropriate box:

| Yes | Sign: Print Name: |
| --- | --- |
| No | Sign: Print Name: |

Declaration 9: FREEDOM OF INFORMATION ACT 2000 (FOI) AND / OR ENVIRONMENTAL INFORMATION REGULATIONS 2004 (EIR) EXEMPTIONS

Please complete this section only if you have agreed for your information to be disclosed under the FOI Act or:

If you have not agreed to your information to be disclosed under the FOI Act please complete a field ‘N/A’ (Not applicable)

If you have agreed for your information to be disclosed under the FOI Act please tell us what exemptions or exceptions may apply to your information and why?

If you are not relying on any exemptions or exceptions please complete each field ‘N/A’ (Not applicable)

| Bidder Guidance | The Bidder shall provide details of their proposed exemptions/exception in the table below. The Bidder (irrespective of submitting a successful or unsuccessful Bid) shall note that if the Contracting Authority believes that the suggested Exemptions or Exceptions have not been applied properly as per the Act or Regulation, the Contracting Authority will disclose the requested information unless another exemption or exception can be applied by the Contracting Authority. Be aware that by completing and answering ‘Yes’ you have agreed for STSC Ltd to disclose the provided information under the Freedom of Information Act 2000 or Environmental Information Regulation 2004, therefore you will not be approached for consent. |  |
| --- | --- | --- |
| Scoring Criteria | For information only |  |
| Bidder Response | Confidential Information | Justification for exemption/exception under FOI Act |
|  | Commercially sensitive information | Justification for exemption/exception under FOI Act |