## COVER PAGE
SCHEDULES OF WORK
-in respect of-
GARDENER'S YARD RETAINING WALL WORKS
&
EXTERNAL WORKS AROUND THE BUTTERFLY HOUSE
-at-
100 LONDON ROAD, FOREST HILL, LONDON, SE23 3PQ
-for-
THE HORNIMAN PUBLIC MUSEUM &
PUBLIC PARK TRUST
Chartered Quantity Surveyors
Unit 83, Capital Business Centre
22 Carlton Road
South Croydon
October 2020 |  | Surrey, CR2 0BS

## CONTENTS
Schedules of Work
-in respect of-
Gardener's Yard Retaining Wall Works
&
External Works Around The Butterfly House
-at-
100 London Road, Forest Hill, London, SE23 3PQ
-for-
The Horniman Public Museum &
Public Park Trust
- comprising -
Section No. 1 | - | Conditions of Contract / Preliminaries
Section No. 2 | - | Gardener's yard retaining wall works
Section No. 3 | - | External works around the Butterfly House - OPTION A
Section No. 4 | - | External works around the Butterfly House - OPTION B
Summary
Appendix A | - | Detailed terms of the Conditions of Contract
Appendix B | - | Detailed terms of the Preliminaries

## SECTION No. 1
HORNIMAN MUSEUM
100 LONDON ROAD, FOREST HILL, LONDON, SE23 3PQ
RETAINING WALL WORKS / BUTTERFLY HOUSE EXTERNAL WORKS
SECTION No. 1
CONDITIONS OF CONTRACT / PRELIMINARIES
£ p
Following review of Appendix "A" and Appendix "B" the Contractor is to insert below his proposed costs in respect of the "Conditions of Contract" and "Preliminaries". In the event that no specific allowance is stated below the Contractor will be deemed to have covered elsewhere within the body of the pricing for the cost of fully complying with the terms detailed in Appendix "A" and "B".
1.01
1.02
1.03
1.04
1.05
1.06
1.07
1.08
1.09
1.1
1.11
1.12
1.13
1.14
1.15
SECTION No. 1 - CONDITIONS OF CONTRACT / PRELIMINARIES
|  |  | To Summary £ | 0

## SECTION No. 2
HORNIMAN MUSEUM
100 LONDON ROAD, FOREST HILL, LONDON, SE23 3PQ
RETAINING WALL WORKS / BUTTERFLY HOUSE EXTERNAL WORKS
SECTION No. 2 |  | = Contractor to insert pricing
GARDENER'S YARD RETAINING WALL WORKS
£ p
2.0.1 | In pricing the items that follow, the Contractor shall be deemed to have thoroughly inspected the tender documents and have acquainted himself with the site and the full extent / character of the items. The items have been split into the following priceable areas of work: | 0 | 0 | 0 | 0
2.1 - Temporary works
2.1 - Demolitions / Works on site
2.3 - Groundworks
2.4 - Masonry works
2.0.2 | The Contractor is requested to price and submit this document electronically. In the event that the Contractor elects not to submit the tender electronically then it is requested, for ease of checking, that each printed page is individually totalled and carried forward to a summary. | 0 | 0 | 0 | 0
2.0.3 | The works measured in this section of the document are in respect of constructing the new retaining wall structure adjacent to the Gardener's Yard. New external works next to the Butterfly House is measured separately within Section 3 (Option A) and Section 4 (Option B). | 0 | 0 | 0 | 0
0
| 2.1 - TEMPORARY WORKS |  |  |  | 0
0
2.1.1 | Notwithstanding the requirements stipulated in the preliminaries the Contractor is requested to price against this item for all necessary Contractor Designed temporary works including shoring / propping / earthwork support etc.; prior to undertaking the Contractor is to provide a detailed written method statement for approval by the Contract Administrator | 1 | Item |  | 0
0
2.1.2 | In accordance with structural works note 5 on drawing 190033-X-00-DR-S-2000 the contractor is to allow for all necessary protection, temporary diversion or reinstatement of the existing surface water drainage systems that is disturbed by the new works | 1 | Item |  | 0
0
0
0
| 2.2 - DEMOLITIONS / WORKS ON SITE |  |  |  | 0
0
2.2.1 | Note: The removal and subsequent reinstatement of the existing plant base at the upper level is measured in Section 2.3 | 0 | 0 | 0 | 0
0
0
| Enabling works at the higher level |  |  |  | 0
0
| Allowing for undertaking the following enabling works at the higher level of the existing retaining wall: |  |  |  | 0
0
2.2.2 | relocation of existing diesel tank to a temporary new location (exact location is to be determined on site with the Museum) | 1 | Item |  | 0
0
2.2.3 | demolition of existing block wall located behind the diesel tank | 1 | Item |  | 0
0
2.2.4 | careful removal of existing timber fence located above the retaining wall; setting aside on site for re-use | 1 | Item |  | 0
0
2.2.5 | careful removal of existing metal railing located next to the diesel tank; setting aside on site for re-use | 1 | Item |  | 0
0
0
| Demolition |  |  |  | 0
0
2.2.6 | Allow for carefully demolishing the existing brick planter bed and defective retaining wall structure located behind; sufficient length of the structures are to be removed so as to enable the construction of the new 6.98m long retaining wall; all as indicated on drawing 190033-X-00-DR-S-1098 | 1 | Item |  | 0
0
0
| Reinstatement works |  |  |  | 0
0
| Allow for reinstating the following elements of construction at the higher level upon completion of the new retaining walls works (see Sections 2.3 - 2.4); the scope and specification of the reinstatement works is to match that which currently exists: |  |  |  | 0
0
2.2.7 | timber fence located above the retaining wall; include for new concrete posts as required | 1 | Item |  | 0
0
2.2.8 | fair faced block wall located behind the diesel tank | 1 | Item |  | 0
0
2.2.9 | metal railing located next to the diesel tank | 1 | Item |  | 0
0
2.2.10 | diesel tank installation | 1 | Item |  | 0
0
0
0
| 2.3 - GROUNDWORKS |  |  |  | 0
0
| Oversite excavation |  |  |  | 0
0
2.3.1 | Allow for cutting the existing pavings / plant base to a straight line; excavate and level the ground to the formation level of the new retaining wall base; as indicated on drawing 190033-X-00-DR-S-2000 | 1 | Item |  | 0
0
2.3.2 | extra for disposal off site of all materials arising | 1 | Item |  | 0
0
0
| Provisional allowances for breaking out hard materials (to be remeasured on completion): |  |  |  | 0
0
2.3.3 | concrete (PROVISIONAL) | 2 | m3 |  | 0
0
2.3.4 | brickwork, blockwork or stonework (PROVISIONAL) | 1 | m3 |  | 0
0
0
| Plain in situ concrete; mix FND 2 to BS 8500 Part 2 |  |  |  | 0
0
2.3.5 | Allow for forming 50mm thick concrete blinding layer; layer to be constructed beneath and to the sides of the new foundation base (base measured separately); as indicated on drawing 190033-X-00-DR-S-2000 | 1 | Item |  | 0
0
0
| Reinforced in situ concrete mix RC32/40 to BS 8500 Part 2 |  |  |  | 0
0
| Allow for all necessary works in constructing the following elements of reinforced in situ concrete to the new retaining wall; as indicated on drawing 190033-X-00-DR-S-2000 |  |  |  | 0
0
2.3.6 | foundation base; sized 2.10 x 6.98 x 0.35m deep | 1 | Item |  | 0
0
2.3.7 | extra for installing Fosroc Bitucell board, or other equal approved, at interface with the garage foundations | 1 | Item |  | 0
0
2.3.8 | vertical wall; 6.980m long x 0.325mm wide with a return section at one end; top of wall to be set at the same level as the upper yard; layout as indicated on drawing 190033-X-00-DR-S-1098 | 1 | Item |  | 0
0
2.3.9 | extra for installing weepholes through the retaining wall / facing brickwork at 600mm centres | 1 | Item |  | 0
0
0
| Reinforcement |  |  |  | 0
0
2.3.10 | At either end of the new retaining wall allow for forming starter bars between the new and existing sections of concrete; include for: 300mm long high tensile steel bars at 300mm centres; bars to be anchored into the existing wall Hilti HY-200 resin (PROVISIONAL) | 1 | Item |  | 0
0
2.3.11 | Allow for installing 0.733 tonnes of 12mm diameter high tensile bar reinforcement to the new retaining wall; all as indicated on the bar bending schedule and drawing 190033-X-00-DR-S-5000 | 1 | Item |  | 0
0
0
| Granular fill |  |  |  | 0
0
2.3.12 | Allow for backfilling behind retaining wall, up to formation level of the new pavings, with Type 1 granular material | 1 | Item |  | 0
0
0
| Paving / plant base reinstatement |  |  |  | 0
0
| Allow for the following elements of construction in making good the existing pavings / plant base at both the lower and upper levels of the new retaining wall; the scope of the reinstatement works is to be determined by the position of the 'straight lines' cut by the contractor as part of the oversite excavation works (see item 2.3.1) |  |  |  | 0
0
2.3.13 | 200mm thick (minimum) in situ concrete slab in forming sub-base to the new external pavings; as indicated on drawing 190033-X-00-DR-S-2000 | 1 | Item |  | 0
0
2.3.14 | extra for an additional 200mm thickness of concrete in reforming the plant base at the upper level; include for: reinforced in situ concrete mix RC32/40, 2No layers of A393 mesh reinforcement, 12mm diameter "L-shaped" high tensile dowel bar connections to the new concrete slab under and starter bars (spec as item 2.3.10) along the edge of the retained section of the existing planter base | 1 | Item |  | 0
0
2.3.15 | 50mm thick (minimum) bitumen macadam in forming the new external pavings; as indicated on drawing 190033-X-00-DR-S-2000 | 1 | Item |  | 0
0
0
| Topsoil |  |  |  | 0
0
2.3.16 | Allow for backfilling planter bed at lower level with topsoil; leave ready for planting by others | 1 | Item |  | 0
0
0
0
| 2.4 - MASONRY WORKS |  |  |  | 0
0
| Facing brickwork |  |  |  | 0
0
| Approved facing bricks; style and colour to match existing; size 215 x 102.5 x 65mm; class (iii) mortar; as Engineer's specification clause CON09 |  |  |  | 0
0
2.4.1 | Walls; half brick thick; in forming brick skin in front of the new concrete retaining wall; brick coursing to line through with the retained wall adjacent; bricks to be tied to the face of new concrete wall using stainless steel double triangle type ties; as indicated on drawing 190033-X-00-DR-S-1098 & 190033-X-00-DR-S-2000 | 1 | Item |  | 0
0
2.4.2 | extra for forming flexible movement joint where the new masonry abuts the existing; as indicated on drawing 190033-X-00-DR-S-1098 | 1 | Item |  | 0
0
2.4.3 | Walls; one brick thick; in reinstating the brick planter located in front of the new wall; line and height of the wall all to match the previous construction; as indicated on drawing 190033-X-00-DR-S-1098 & 190033-X-00-DR-S-2000 | 1 | Item |  | 0
0
0
| Provisional sums |  |  |  | 0
0
2.4.4 | Provide the Provisional sum of £1,500.00 for parapet detail at the top of the new retaining wall | 1 | Item | 1500 | 1500
0
0
0
0
SECTION No. 2 - GARDENER'S YARD RETAINING WALL WORKS
|  |  |  | To Summary £ | 1500

## SECTION No. 3
HORNIMAN MUSEUM
100 LONDON ROAD, FOREST HILL, LONDON, SE23 3PQ
RETAINING WALL WORKS / BUTTERFLY HOUSE EXTERNAL WORKS
SECTION No. 3 |  | = Contractor to insert pricing
BUTTERFLY HOUSE EXTERNAL WORKS - OPTION A
£ p
3.0.1 | In pricing the items that follow, the Contractor shall be deemed to have thoroughly inspected the tender documents and have acquainted himself with the site and the full extent / character of the items. The items have been split into the following priceable areas of work: | 0 | 0 | 0 | 0
3.1 - Site clearance
3.2 - Works on site
3.3 - Retaining structures
3.4 - Plant bases
3.5 - External pavings and edgings
3.6 - Soft landscaping
3.7 - Drainage installations
3.8 - Railings and balustrading
3.9 - Cycle stands
3.10 - Decoration works
3.11 - Electrical works
3.0.2 | The Contractor is requested to price and submit this document electronically. In the event that the Contractor elects not to submit the tender electronically then it is requested, for ease of checking, that each printed page is individually totalled and carried forward to a summary. | 0 | 0 | 0 | 0
3.0.3 | NOTE: The works measured in this Section of the works is based on "Retaining Option A" shown on drawing 190033-CON-X-00-DR-C-3000 | 0 | 0 | 0 | 0
0
| 3.1 - SITE CLEARANCE |  |  |  | 0
0
3.1.1 | Cut down existing yew tree hedge located to the South East of the Butterfly House; hand cuttings to the Horniman for composting; as indicated on drawing 190033-CON-DR-S-X-XX-1000 | 1 | Item |  | 0
0
3.1.2 | extra for grubbing out all root balls | 1 | Item |  | 0
0
3.1.3 | Clear all vegetation, rubble and debris located to the South East and North East of the Butterfly House that is not integral to the proposed new layout; as indicated on drawing 190033-CON-X-00-DR-S-1001 | 1 | Item |  | 0
0
3.1.4 | Remove existing concrete block paving located to the North East of the Butterfly House; as indicated on drawing 190033-CON-X-00-DR-S-1001 | 1 | Item |  | 0
0
0
0
| 3.2 - WORKS ON SITE |  |  |  | 0
0
3.2.1 | Drain existing water tank and temporarily relocate to enable the installation of a new concrete plant base; reinstall upon completion of the works | 1 | Item |  | 0
0
3.2.2 | Allow for all necessary remedial works to the existing entrance gates so as to leave them fully operational; gates are located to the North East of the Butterfly House; as indicated on drawing 190033-CON-X-00-DR-S-1001 | 1 | Item |  | 0
0
3.2.3 | Remove all existing low level hoop top railings located next to the main footpath; leave area clear ready for installation of new (see item 3.8.1); as indicated on drawing 190033-CON-X-00-DR-S-1001 | 1 | Item |  | 0
0
3.2.4 | Allow for carefully cleaning the internal and external surfaces of the glass panels to the existing historic lamppost | 1 | Item |  | 0
0
0
0
| 3.3 - RETAINING STRUCTURES |  |  |  | 0
0
| Retaining wall Type 1 |  |  |  | 0
0
3.3.1 | Allow for constructing retaining wall structure Type 1 to the North East corner of the existing Butterfly House; include for: all excavation works, reinforced in situ concrete mix RC32/40 in forming foundation (sized 500 x 1200mm in section), 215mm thick hollow concrete blockwork in forming wall up to a maximum height of 1000mm; reinforced concrete infill to the hollow blockwork; 50mm diameter weepholes at 1m centres through the wall and backfilling behind wall with free draining granular material; as indicated on drawing 190033-CON-X-00-DR-S-1001 | 1 | Item |  | 0
0
3.3.2 | extra for approved frost resistant precast concrete coping to top of wall | 1 | Item |  | 0
0
0
| Retaining wall Type 2 |  |  |  | 0
0
3.3.3 | Allow for constructing retaining wall structure Type 2 to the South East of the existing Butterfly House; include for: all excavation works, reinforced in situ concrete mix RC32/40 in forming foundation (sized 250 x 1200mm in section), 675 x 1000mm (in section) gabion baskets by Enviromesh installed in accordance with the manufacturer's instructions, approved stone infill to the gabions (stones to be sized 100 - 200mm) and backfilling behind wall with free draining granular material; as indicated on drawing 190033-CON-X-00-DR-S-1001 | 1 | Item |  | 0
0
0
0
| 3.4 - PLANT BASES |  |  |  | 0
0
3.4.1 | Construct in situ mass concrete pad base foundation to the water tank; base to be sized 2000 x 2000 x 600mm deep; include for: all excavation works, plain in situ concrete mix FND 2 and backfilling with selected excavated material; as indicated on drawing 190033-CON-X-00-DR-S-1001 | 1 | Item |  | 0
0
0
0
| 3.5 - EXTERNAL PAVINGS AND EDGINGS |  |  |  | 0
0
| Testing / survey works |  |  |  | 0
0
3.5.1 | Allow for core testing the existing concrete pavings located next to the water tank area; as indicated on drawing; as indicated on drawing 190033-CON-X-00-DR-C-3000 | 1 | Item |  | 0
0
3.5.2 | Allow for undertaking a GRP scan to all areas of new work to determine the existence of buried services | 1 | Item |  | 0
0
0
| Metal edgings |  |  |  | 0
0
| Allow for installing new metal "EverEdge" metal lawn edgings |  |  |  | 0
0
3.5.3 | in forming new edgings to the South East of the Butterfly House - next main footpath (APPROXIMATE) | 45 | m |  | 0
0
0
| New concrete pavings |  |  |  | 0
0
| Allow for constructing new in situ concrete pavings with sub-base under; include for: all excavation works, Type 6F2 capping layer (if required), 250mm thick Type 1 granular sub-base, 150mm thick (minimum) PAV1 concrete slab reinforced with A252 mesh (Note: asphalt surfacing overlay measured separately) |  |  |  | 0
0
3.5.4 | in forming new paving to the location of the previous concrete paviours / brick setts that are located to the North East of the Butterfly House; as indicated on drawing 190033-CON-X-00-DR-C-3000 | 1 | Item |  | 0
0
3.5.5 | extra for forming expansion joint between new and existing section of concrete pavings; include for: Flexcell bitumen impregnated expansion joint filler and Fosroc "Colpor 200PF" cold applied high performance pavement joint sealer; as indicated on drawing 190033-CON-X-00-DR-C-3000 | 1 | Item |  | 0
0
3.5.6 | in forming cycle store base to the South East of the Butterfly House; as indicated on drawing 190033-CON-X-00-DR-C-3000 | 1 | Item |  | 0
0
0
| Gravel pavings |  |  |  | 0
0
| Allow for complying with the following specification in forming new gravel pavings; as detailed on drawing 190033-CON-X-00-DR-C-3000: "PATH / FILTER DRAIN FORMED OF FREE DRAINING GRANULAR MATERIAL WITH PERMEABLE MEMBRANE ALONG BASE" |  |  |  | 0
0
3.5.7 | in forming pavings to the North East and South East of the Butterfly House; as indicated on drawing 190033-CON-X-00-DR-C-3000 | 1 | Item |  | 0
0
0
| Asphalt pavings |  |  |  | 0
0
| Allow for complying with the following specification in forming new asphalt pavings; as detailed on drawing 190033-CON-X-00-DR-C-3000: "SURFACE OVERLAY 40mm THICK 0/10mm (AC10) CLOSE SURF 100/150 PEN LAID IN ACCORDANCE WITH CLAUSE 903 OF THE SHW AND BS EN 13108" |  |  |  | 0
0
3.5.8 | in forming wearing course to new and existing concrete surfaces located to the North east of the Butterfly House (between the water tank and the entrance gates) | 1 | Item |  | 0
0
3.5.9 | in forming wearing course to the cycle store base | 1 | Item |  | 0
0
0
0
| 3.6 - SOFT LANDSCAPING |  |  |  | 0
0
| Topsoil |  |  |  | 0
0
3.6.1 | Allow for providing new topsoil to the existing slope located to the South East of the Butterfly House; leave ready for planting by others; as indicated on drawing 190033-CON-X-00-DR-S-1001 | 1 | Item |  | 0
0
0
0
| 3.7 - DRAINAGE INSTALLATIONS |  |  |  | 0
0
| Drainage channels |  |  |  | 0
0
3.7.1 | Supply and install new dished drainage channel adjacent to the top of the existing / new retaining wall that is located to the North East of the Butterfly House; as indicated on drawing 190033-CON-X-00-DR-C-3000 (length approximately 14m) | 1 | Item |  | 0
0
3.7.2 | extra for trapped road gully outlet and connection to below ground pipework; as indicated on drawing 190033-CON-X-00-DR-C-3000 | 1 | Item |  | 0
0
0
| Drain runs |  |  |  | 0
0
| In pricing the new drain run installations that follow, the Contractor is to make due allowance for all costs in connection with completing the installations. The installations to include: excavation of trenches; breaking out of existing hard pavings; removal of soft spots; disposal of surplus excavated material off site; earthwork support; disposal of surface water; backfilling trench with granular material; surface treatments, compacting bottoms of excavations; concrete bed and surround; PVCu pipe with all necessary fittings (bends, rest bends, branches etc.) and all necessary structural protection measures where drains pass through foundations |  |  |  | 0
0
3.7.3 | 150mm diameter solid pipe; in forming connection from new yard gully (next new Type 1 retaining wall) to the start of the new perforated pipe; as indicated on drawing 190033-CON-X-00-DR-C-3000 | 1 | Item |  | 0
0
3.7.4 | 150mm diameter perforated pipe; pipe to be wrapped in permeable membrane; as indicated on drawing 190033-CON-X-00-DR-C-3000 | 1 | Item |  | 0
0
3.7.5 | 150mm diameter solid pipe; in forming connection from new silt trap (next gabion walls) to existing manhole; as indicated on drawing 190033-CON-X-00-DR-C-3000 (Note: section is to be hand dug) | 1 | Item |  | 0
0
3.7.6 | extra for forming adaptation works to existing manhole in forming a new connection | 1 | Item |  | 0
0
0
| Silt trap |  |  |  | 0
0
3.7.7 | Supply and install new 450mm mini diameter silt trap; A15 (minimum) loading class cover; as indicated on drawing 190033-CON-X-00-DR-C-3000 | 1 | Item |  | 0
0
0
0
| 3.8 - RAILINGS AND BALUSTRADING |  |  |  | 0
0
| Metal railings |  |  |  | 0
0
3.8.1 | Allow for supplying and installing galvanised hoop top railings; in forming new railings to the South East of the Butterfly House; height, style and construction to match that which current exists near the rear entrance to the site (APPROXIMATE) | 40 | m |  | 0
0
3.8.2 | extra or personnel gate in providing access to the existing electrical cabinet | 1 | Item |  | 0
0
3.8.3 | extra for decorating the gate/railings in accordance with the specification stated at Section 3.8 (APPROXIMATE) | 40 | m |  | 0
0
0
| Vehicle barrier / balustrade |  |  |  | 0
0
3.8.4 | Allow for constructing a new vehicle barrier / balustrade to the North East corner of the existing Butterfly House; include for: all excavation works, 2No - in situ concrete pad base foundations, 2No - steel base plates bolted to the pad bases, 2No - 375mm high 254 x 146 UB31 steel posts; 1No - 260 x 75 x 28 PFC fixed to the top of the UB posts, 60 x 40 x 5 RHS horizontal / vertical members in forming the balustrade and all necessary connections; all steelwork hot dipped galvanised; as indicated on drawing 190033-CON-X-00-DR-S-1001 (Note: Any steelwork connections not shown on the design intent drawings are to become a Contractor Design Portion of the works) | 1 | Item |  | 0
0
0
0
| 3.9 - CYCLE STANDS |  |  |  | 0
0
3.9.1 | Fix only - 7No "Streetpod" cycle stands as manufactured by Cyclepods Ltd https://www.cyclepods.co.uk/streetpod/ | 1 | Item |  | 0
0
0
0
| 3.10 - DECORATION WORKS |  |  |  | 0
0
| Allow for complying with the following specification in redecorating existing external metalwork; as detailed on drawing 190033-CON-X-00-DR-S-1001: "PREPARE METAL SURFACES TO SSPC-SP2STANDARD AND APPLY MINIMUM TWO COATS OF AN EPOXY PAINT SYSTEM - MACROPOXY BY SHERWIN WILLIAMS OR EQUIVALENT APPROVED. COLOUR TO MATCH EXISTING. TO BE APPLIED IN ACCORDANCE WITH MANUFACTURER'S INSTRUCTIONS." |  |  |  | 0
0
| Allow for redecorating the following; as indicated on drawing 190033-CON-X-00-DR-S-1001 |  |  |  | 0
0
3.10.1 | existing entrance gates / adjacent railings located to the North East of the Butterfly House | 1 | Item |  | 0
0
3.10.2 | existing historic metal lamppost | 1 | Item |  | 0
0
0
0
| 3.11 - ELECTRICAL WORKS |  |  |  | 0
0
3.11.1 | NOT APPLICABLE - No works are to be undertaken | 0 | 0 | 0 | 0
0
0
0
0
SECTION No. 3 - BUTTERFLY HOUSE EXTERNAL WORKS - OPTION A
|  |  |  | To Summary £ | 0

## SECTION No. 4
HORNIMAN MUSEUM
100 LONDON ROAD, FOREST HILL, LONDON, SE23 3PQ
RETAINING WALL WORKS / BUTTERFLY HOUSE EXTERNAL WORKS
SECTION No. 4 |  | = Contractor to insert pricing
BUTTERFLY HOUSE EXTERNAL WORKS - OPTION B
£ p
4.0.1 | In pricing the items that follow, the Contractor shall be deemed to have thoroughly inspected the tender documents and have acquainted himself with the site and the full extent / character of the items. The items have been split into the following priceable areas of work: | 0 | 0 | 0 | 0
4.1 - Items omitted from the Option A works
4.2 - Additional pavings and edgings
4.3 - Works in forming the sloping embankment
4.0.2 | The Contractor is requested to price and submit this document electronically. In the event that the Contractor elects not to submit the tender electronically then it is requested, for ease of checking, that each printed page is individually totalled and carried forward to a summary. | 0 | 0 | 0 | 0
4.0.3 | NOTE: The works measured in this Section of the works is based on "Retaining Option B" shown on drawing 190033-CON-X-00-DR-C-3000 | 0 | 0 | 0 | 0
|  |  |  | OPTION A TOTAL (AS SECTION No. 3) | 0
0
| 4.1 - ITEMS OMITTED FROM THE OPTION A WORKS |  |  |  | 0
0
4.1.1 | Omit item 3.3.3 - "Retaining wall Type 2" | 1 | Item | 0 | 0
0
0
0
| 4.2 - ADDITIONAL PAVINGS AND EDGINGS |  |  |  | 0
0
4.2.1 | Note: The pavings and edgings measured under this heading are on the basis that they are extra over to that measured in Section 3 | 0 | 0 | 0 | 0
0
0
| Concrete edgings |  |  |  | 0
0
| Allow for constructing new precase concrete edgings; include for: all excavation works, precast concrete edging sized 50 x 150mm, insitu concrete foundation and haunching both sides |  |  |  | 0
0
4.2.2 | Allow for 13m of concrete edgings located next to the gravel paving that is to the South East of the Butterfly House | 1 | Item |  | 0
0
0
| Gravel pavings |  |  |  | 0
0
4.2.3 | Allow for an additional 1m2 of gravel paving next to the electrical cabinet (location of gabion wall in Option A); specification to be as item 3.5.4 | 1 | Item |  | 0
0
0
0
| 4.3 - WORKS IN FORMING THE SLOPING EMBANKMENT |  |  |  | 0
0
| Allow for the following works in forming a sloping embankment to the South East elevation of the Butterfly House between the existing footpath and new gravel pavings: |  |  |  | 0
0
4.3.1 | excavate the ground to form a sloping embankment graded 1:3; as indicated on drawing 190033-CON-X-00-DR-C-3000 | 1 | Item |  | 0
0
4.3.2 | extra for disposal off site of all materials arising | 1 | Item |  | 0
0
4.3.3 | reinforce surface of the sloping embankment by installing Tensar "Geogrid" reinforcement; installed in accordance with the manufacturers recommendations | 1 | Item |  | 0
0
0
0
0
SECTION No. 4 - BUTTERFLY HOUSE EXTERNAL WORKS - OPTION B
|  |  |  | To Summary £ | 0

## SUMMARY
.
HORNIMAN MUSEUM
100 LONDON ROAD, FOREST HILL, LONDON, SE23 3PQ
RETAINING WALL WORKS / BUTTERFLY HOUSE EXTERNAL WORKS
SUMMARY
| OPTION A WORKS |  |  |  | £ p
| Section No. 1 | - | Conditions of contract / Preliminaries |  | 0
| Section No. 2 | - | Gardener's yard retaining wall works |  | 1500
| Section No. 3 | - | External works around the Butterfly House - OPTION A |  | 0
|  |  |  | Sub-total £ | 1500
| - |  | Provide the Provisional sum of £10,000.00 for contingencies |  | 10000
|  |  |  | OPTION A - TOTAL £ | 11500 | #
OPTION B WORKS
| Section No. 1 | - | Conditions of contract / Preliminaries |  | 0
| Section No. 2 | - | Gardener's yard retaining wall works |  | 1500
| Section No. 4 | - | External works around the Butterfly House - OPTION B |  | 0
|  |  |  | Sub-total £ | 1500
| - |  | Provide the Provisional sum of £10,000.00 for contingencies |  | 10000
|  |  |  | OPTION B - TOTAL £ | 11500 | #
Name of Contractor:
Address:
Date: