**APPENDIX 3**

SPECIFICATION

27x bespoke transfer trolleys to hold the medical equipment with a plug board for Adult Critical Care:

* Stainless steel welded construction frame with 4x anti-static total lock castor wheels
* Dimensions of the trolley: 890cm x 710cm x 970cm (Length x Width x Height)
* must accommodate the following portable equipment:
* an Oxylog 3000 and PSU
* a Philips MX400 or MX450
* a Laerdal LSU Suction Unit
* 4x E size cylinders
* 3x stainless steel shelves
* 1x 7 socket hospital grade electrical distribution board,
* ISO 9001 quality management tested to BS 4068
* Location: King’s College Hospital, Denmark Hill, London, SE5 9RS and Princess Royal University Hospital, Farnborough Common, Orpington BR6 8ND
* Total weight of devices on trolley - 53-55kg