APPENDIX 3

SPECIFICATION

27x bespoke transfer trolleys to hold the medical equipment with a plug board for Adult Critical Care:

- Stainless steel welded construction frame with 4x anti-static total lock castor wheels

- Dimensions of the trolley: 890cm x 710cm x 970cm (Length x Width x Height)

- must accommodate the following portable equipment:

- an Oxylog 3000 and PSU

- a Philips MX400 or MX450

- a Laerdal LSU Suction Unit

- 4x E size cylinders

- 3x stainless steel shelves

- 1x 7 socket hospital grade electrical distribution board,

- ISO 9001 quality management tested to BS 4068

- Location: King’s College Hospital, Denmark Hill, London, SE5 9RS and Princess Royal University Hospital, Farnborough Common, Orpington BR6 8ND

- Total weight of devices on trolley - 53-55kg