RFQ049 Appendix B6 Lot6 General Laboratory

- Autoclave

- Portable Balance (500g) 0.01g

Autoclave

- An electrically heated, 12 litre capacity bench top autoclave designed specifically for the safe and effective sterilization of media.

- Dual interlocking handles prevent the lid being removed until the vessel has reached a safe pressure and temperature.

- Fully CE marked to the Medical Devices Directive 93/42/EC

- Sterilizes at 121 °C.

- 12 Litre

- Full one year warranty

- Maximum capacity liquids 500ml

- Made in the UK

- Diameter 210mm

- Height: 328mm

- Printer option for quick and easy data recording.

- Dimensions

- Width	340mm

- Depth	210mm diameter

- Height	420mm

Portable Balance (500g) 0.01g

- RS232 Interface

- Weighing modes: Grams and Newtons

- Multiple application modes and units

- Weigh-below hook

- Integral security bracket

- integral menu lock

- AC Adaptor