Specification

Lot 1 Annual certification and servicing of Marjon gas appliances

Date May 2022

Contents

1.	Definitions	3

2.	Introduction	4

3.	Background	4

4.	Scope	4

5.	Quality Requirements	5

6.	Contract Management and KPIs	6

7.	Visits to Site, Access and Security	6

# Definitions

## “Agreement”

means:	The Framework Agreement or Contract for the provision of the Services, Supplies or Works, which will be awarded to a successful Supplier.

“Contract”

means:	The Framework Agreement or Contract for the provision of the Services, Supplies or Works, which will be awarded to a successful Supplier.

“Services”

means:	the provision of Sport Pitch Service and Maintenance for Plymouth Marjon University as described in this Specification.

“Supplier/Provider”

means:	any person or persons, firm or firms or company or companies applying to tender for the Services, Supplies or Works, or, where there is more than one organisation applying, the lead organisation.

“Supplies”

means:	The Supplies or materials as described in this Specification.

“Works”

means:	The Works as set out in this Specification in relation to Sport Pitch Service and Maintenance for Plymouth

“Plymouth Marjon University Contract Manager”

means:	the representative of Plymouth Marjon University responsible for arranging and leading Contract Review Meetings

“The Supplier’s Contract Manager”

means:	the representative of the Provider/Supplier responsible for attending Contract Review Meetings and actioning any changes

# Introduction

This specification:

    - sets the parameters of the service provision

    - makes clear the outcomes expected as a result of service delivery

    - forms part of the contract with the Supplier

# Background

The current Agreement has expired . Plymouth Marjon University proposes  to enter-into a “Contract” for a period of two (2) years plus a further two separate one (1) year periods subject to the University’s discretion. This term is subject to any termination rights contained within the Contract.

# Scope

To carry out an annual certification and service, for the duration of this contract, to all the natural gas heating/hot water boilers, catering equipment and Science Laboratories in the University’s Estate as show within the details below.

The servicing is to be carried out as per Gas Safety (installation and use) Regulations and all relevant building regulations using only manufacturers recommended service kits.

Below we have a list of appliances, their location and the approximate number these appliances.

| Accommodation |  |
| --- | --- |
| Village houses | 37 gas Hobs |
| Staff houses | 9 free standing cookers |
| New halls | 6 x Keston Heat 55 in three pairs of 2 with a common header, supplying H/W and Heating |
| Old halls | 6 x Keston Heat 55 in three pairs of 2 with a common header, supplying H/W and Heating |
| The Oaks | 1 x Worcester Greenstar 30i |
| Campus |  |
| Main kitchen | 1 x Electrolux fryer 1 x Falcon range 1 x Falcon chargrill 1 x Lincat Hob 1 x solenoids and associated valves |
| North Block Plant | 3 x Hamworthy Wessex Modumax Mk3 1 x Andrews water heater 81/264 1 x solenoids and associated valves |
| East Block Plant | 1 x Potterton EC four 260 1 x solenoids and associated valves |
| South plant | 1 x Hamworthy Wessex Modumax Mk3 |
| Library | 1 x Andrews water heater 063BP3567 |
| Chapel | 1 x Keston heat 45 |
| Sluice room / behind laundry | 1 x Valiant EcoTECplus 850 |
| Science labs | Gas lines for burners/gas taps |
| Sports centre | 4 x Viessmann 200w 150kw supplying heating through low loss header 2 x Viessmann 200w 120kw supplying hot water through low loss header 12 x Ambi Rads mounted in sports halls roof. |

Please Note there are other areas of the Campus that may come vary into this contract during the lifetime of the contract. These areas and equipment are as follows:

Please also note that there are other areas of the Campus that may be added as a variation into the contract during the lifetime of the contract, and the equipment may be removed from this contract during the lifetime of the contract.

Accommodation safety testing must be completed, issues rectified, and certificates issued before their expiry date

Sports centre boilers must be safety checked, issues rectified, and certificates issued issued before their expiry date

Main campus plant rooms boilers must be safety checked , issues rectified, and certificates issued before their expiry date

All solenoids and associated valves within North Plant room, Main kitchen & East plant room must be safety checked, issues rectified, and certificates issued before their expiry date

All of the Ambi Rads mounted in sports halls roof, safety checked , issues rectified, and certificates issued by August 2022. The access to the Ambi Rads must be via a tower scaffold with boards on the floor to protect the flooring.

All invoices to be submitted on sign off for works by estates personnel a max of 2 working days after completion of work.

Payment of invoices will be 30 days from receipt of invoice.

Contractors will work to recognised safety standards with due regard to occupant’s privacy. All waste and arisings are to be disposed of by the contractor and site of work left clean and safe.

Contractors are to have fully qualified domestic and commercial staff employed by the contractor and not sub-contracted.

# Quality Requirements

Staff Training - The supplier must ensure that all staff are suitably qualified for the works being completed and that this can be demonstrated through staff training records.

All staff must have an on-going training plan to ensure competency is maintained.

The Contractor and all staff undertaking the services for Marjon must hold the required (or equivalent) Gas Safe, City and Guilds, NICEIC, Blue Plumber JIB Card accreditations?

All staff undertaking the services for Marjon must hold Asbestos Aware (or equivalent) accreditation?

Risk Assessments will be carried out by the Supplier in advance of works being completed (for both facility, equipment and people hazard) and these documents must be provided upon request.

National and local guidance is to be complied with, including guidance by the relevant sporting National governing bodies.

# Contract Management and KPIs

Contract monitoring reviews will be held every 6 months in April and October. The meeting will be held at Marjon University and dates will be agreed by the Estates Manager a minimum of two months in advance of the meeting.

The following information must be provided by the Supplier 2 weeks before the Contract Management meeting:

- General overview of the previous 6 months works

- Number of visits completed with dates for each of the works completed

- Details of any works not completed with details on why

- Suggestions for improved service for the following periods

# Visits to Site, Access and Security

Notice for site visits - The Supplier will inform the Contract manager of ALL site visits that are planned.

Reporting and working on site - All staff reporting to the campus on behalf of the Supplier will:

- have suitable protective work wear which must always clearly be labelled with the

Supplier’s name and worn whilst on Site.

- All Suppliers and Sub-Suppliers staff shall carry personal identification, issued by their employers.

- Report to the main reception desk. Giving their name, position and ID badge; vehicle registration number.

- All contractors are issued with a Contractor Pass from the Estates Office which they must wear at all times whilst on site and hand back when they leave campus or at the end of each day.

Site Security - The University shall reserve the right to deny access to or remove immediately

from the University’s site any such staff found not to be carrying the appropriate identification.

  - Vehicle Control

Whilst on campus the Supplier shall observe all Road Traffic Regulations, including the University’s traffic regulations, Statutory, Institution or manufacturers’ regulations and recommendations in respect of the operation and maintenance of vehicles used for the provision of the Services.

  - Parking on Site

The Supplier is responsible for ensuring that their staff are aware of the parking arrangements at the campus.

Parking on site is managed by ANPR. The driver should input the vehicle registration into the tablet at the Sport and Health centre reception for 3 hours parking. Parking required for longer than 3 hours should be arranged in advance via the Sports Centre Manager, Vehicles that are not registered are highly likely to be issued with a parking ticket that will be the responsibility of the Supplier to pay or appeal.

Please be aware the Sport and Health Centre and the Main campus systems are ran independently of each other.

  - Behaviour onsite

The Supplier shall ensure that all staff reporting and working on the campus are considerate to staff, students and general public. This includes the use of radios, inappropriate language or conversation directed at staff, students or general public and or behaviour targeted towards staff, students or general public.

  - Insurance

The Supplier shall produce evidence of adequate insurance, Employer’s and Public Liability cover before any Contract is awarded. Plymouth Marjon University shall be responsible for insurance of the Site during the contract period.

The Supplier shall submit copies of insurance Certificates on renewal of the relevant policies and in respect of any material changes to the insurance cover in respect of the Supplier’s business as it relates to the Contract to the University Procurement Department.

  - Plant and Equipment

The Supplier shall supply all plant and equipment required to undertake the services related to this Contract and shall ensure that all current legislative requirements are adhered to for all equipment and machinery including but not limited to; staff being suitable trained to use the equipment.

  - Environmental Issues

The Supplier is to comply with all relevant legislation, especially in regard to waste removal and documentation, which may be required.

The Supplier shall ensure that there is an auditable trail for the collection, transfer and disposal of waste. The full process must be open for inspection by the University if they so wish.

  - Advertisements

The Supplier shall not display any advertisement on site, unless agreed in writing by the University.

  - Audit Access

The Supplier will make available any documentation relating to this Contract that is requested for audit purposes.

If you would like this information in another format, please contact:

The Finance and Procurement Team Plymouth Marjon University Derriford Road, Plymouth, PL6 8BH Email: procurement@marjon.ac.uk