## Order List
| Item Requested/Article Demandé |  |  |  |  | Qty | Unit | Unit Price EXW | total Price EXW | Unit Price CIP FIH | Total Price CIP FIH | COMMENT:
1 | Mini Kits for Hospitals |  |  |  |  | 50 | Kit
2 | Mini Kits for Health centers |  |  |  |  | 860 | Kit
5 | Surgical suction pump with 2 bottles | Pump,suction,surgical,2bottles,w/access kit | Pump,suction,surgical,2bottles,w/access kit | Pump,suction,surgical,2bottles,w/access kit | Pump,suction,surgical,2bottles,w/access kit | 2 | Kit
6 | Aspirator - manual | Aspirator - manual | Aspirator - manual | Aspirator - manual | Aspirator - manual | 25 | Piece
7 | Pressure cooker - sterilizer - 9 liters | Pressure cooker - sterilizer | Pressure cooker - sterilizer | Pressure cooker - sterilizer | Pressure cooker - sterilizer | 25 | Piece
8 | Irrigator | Irrigator | Irrigator | Irrigator | Irrigator | 25 | Piece
10 | Weighing Scale - Adult | Weighing Scale - Adult | Weighing Scale - Adult | Weighing Scale - Adult | Weighing Scale - Adult | 25 | Piece
11 | Infant Scale | Infant Scale | Infant Scale | Infant Scale | Infant Scale | 25 | Piece
12 | Physician Coat - long sleeved - 50 medium and 50 large | Physician Coat - long sleeved | Physician Coat - long sleeved | Physician Coat - long sleeved | Physician Coat - long sleeved | 100 | Piece
13 | Nurses coat - short-sleeved 50 medium and 50 large | Nurses coat - short-sleeved | Nurses coat - short-sleeved | Nurses coat - short-sleeved | Nurses coat - short-sleeved | 100 | Piece
14 | Dressing Kit | Dressing Kit | Dressing Kit | Dressing Kit | Dressing Kit | 25 | Kit
15 | Delivery Kit | Delivery Kit | Delivery Kit | Delivery Kit | Delivery Kit | 25 | Kit
16 | Small Surgery Kit | Small Surgery Kit | Small Surgery Kit | Small Surgery Kit | Small Surgery Kit | 25 | Kit
18 | Cold box - 10l with 10 ice packs | Cold box | Cold box | Cold box | Cold box | 44 | Piece
19 | Appendectomy Kit | Appendectomy Kit | Appendectomy Kit | Appendectomy Kit | Appendectomy Kit | 6 | Kit
20 | Cesarean Section Kit | Cesarean Section Kit | Cesarean Section Kit | Cesarean Section Kit | Cesarean Section Kit | 6 | Kit
21 | Uterine Curetage Kit | Uterine Curetage Kit | Uterine Curetage Kit | Uterine Curetage Kit | Uterine Curetage Kit | 6 | Kit
23 | Hernia repair Kit | Hernia repair Kit | Hernia repair Kit | Hernia repair Kit | Hernia repair Kit | 6 | Kit
24 | Hysterectomy/Gynecological Kit | Hysterectomy Kit | Hysterectomy Kit | Hysterectomy Kit | Hysterectomy Kit | 2 | Kit
25 | Laparotomie Kit | Laparotomie Kit | Laparotomie Kit | Laparotomie Kit | Laparotomie Kit | 4 | Kit
26 | Boots for Operating room - 5 size 8 5 size 10 | Boots for Operating room | Boots for Operating room | Boots for Operating room | Boots for Operating room | 10 | Piece
28 | Tray |  |  |  |  | 25 | Piece
29 | Sterilizing Drum |  |  |  |  | 44 | Piece
30 | Boots - 50% size 8 and 50% size 10 |  |  |  |  | 44 | Piece
31 | Stainless Steel Jar 180cc |  |  |  |  | 44 | Piece
32 | Hot Water Bottle - small |  |  |  |  | 44 | Piece
33 | Apron |  |  |  |  | 44 | Piece
37 | Surgical Instrument tray/trolley |  |  |  |  | 25 | Piece
38 | Large abdominal pack/dressing |  |  |  |  | 10 | Piece
39 | Large sterile drape with central window |  |  |  |  | 10 | Piece
43 | Resuscitator, hand-operated, adult, set (Ambu bag and mask for adult) |  |  |  |  | 25 | Piece
44 | Resuscitator, hand-operated, infant/child, set (Ambu bag and mask for infant and child) |  |  |  |  | 25 | Piece
48 | Manual Centrifuge |  |  |  |  | 25 | Piece
50 | Micro pipette |  |  |  |  | 25 | Piece
52 | Pipette bulb, for leukocyte examinations |  |  |  |  | 25 | Piece
54 | 5-button Counter for leukocytes |  |  |  |  | 25 | Piece
56 | Ultrasound - Specs in Tab |  |  |  |  | 3 | Piece
63 | Bed pan |  |  |  |  | 50 | Piece
64 | Infusion Stand |  |  |  |  | 50 | Piece
66 | Portable baby/child/adult L-hgt mea.syst |  |  |  |  | 50 | Piece
70 | Otoscopes |  |  |  |  | 50 | Piece
72 | Urinal |  |  |  |  | 50 | Piece
74 | Crutches |  |  |  |  | 50 | Piece
75 | Sharp Container for Disposal |  |  |  |  | 50 | Piece
76 | Glucometer |  |  |  |  | 50 | Piece
TOTALS:
Total Price EXW:
Shipping & Insurance:
Total Price CIP Kinshasa International Airport:

## 1. Hospital mini kit
DESIGNATION | SPECIFICATIONS TECHNIQUES
Medical Mini Kits for Hospitals | 1 X Apron,protection,plastic,dispos/PAC-100
2 X Basin,kidney,stainless steel,825ml
2 Bowl,stainless steel,180ml
2 X Brush,hand,scrubbing,plastic
2 X Drawsheet,plastic,90x180cm
2 X Drum,sterilizing,165mm diam
3 X Filter,drinking,candle,10-80l/day,SS
2 X Forceps,artery,Kocher,140mm,str
1 X Otoscope set, cased
1 X Surg.inst.,delivery /SET
Set contents
·2 x Forceps,artery,Kocher,140mm,str
·1 x Scissors,Mayo,140mm,cvd,b/b
·1 x Scissors,gyneco,200mm,cvd,b/b
5 X Surg.inst.,dressing /SET
Set contents:
·1 x Forceps,dressing,standard,155mm,str
·1 x Forceps,artery,Kocher,140mm,str
·1 x Scissors,Deaver,140mm,str,s/b
2 X Surg.inst.,suture /SET
Set contents:
·1 x Scissors,Deaver,140mm,cvd,s/b
·1 x Needle holder,Mayo-Hegar,180mm,str
·1 x Forceps,artery,Kocher,140mm,str
·1 x Scalpel handle,no.4
·1 x Forceps,tissue,standard,145mm,str
·1 x Probe,double-ended,145mm
1 x MUAC,Child 11.5 Red/PAC-50
5 x Tape measure,tailor's,fibreglass,1.5m
10 X Thermometer, clinical, digital, no Li
1 X Timer,60 min
2 X Tourniquet,latex rubber,50cm
1 X Tray,dressing,ss,300x200x30mm
3 X Weighing trousers/PAC-5

## 2. Health Center Kit
MINI KIT CS
N° | Désignation | Unité | Quantite pour 1 Kit
1 | Cup, solution, 180ml, stainless steel / | pce | 1
2 | Hot Water bag, 2liters | pce | 1
3 | Speculum, vaginal, Graves, large (blade 115x35mm) | pce | 1
4 | Speculum, vaginal, Graves, medium (blade 100x35mm) | pce | 1
5 | Speculum, vaginal, Graves, small (blade 75x20mm) | pce | 1
6 | Tray, dressing, 300x200x30mm, without lid, stainless steel | pce | 1
7 | Blood lancets, sterile | 100 pcs | 4
8 | Brush, hand, surgeon's, plastic block with nylon bristles | pce | 2
9 | Episiotomy Kit ASSP : Boite inox, 20x10x5cm. 1 piece Ciseaux a Episiotomie, 15cm. 1 Paire Ciseaux droit, pointu/mousse, 15cm. 1 Paire Pince Kocher, droite, 15cm. 1 Piece Pince Kocher, courbe, 15cm. 1 Piece Pince a dissection (anatomique), avec dents, 16cm. 1 Piece Pince a dissection (anatomique), sans dents, 16cm. 1 Piece Porte -aiguille Mayo-Hegar. 18 cm. 1 Piece Ecarteur Gelpi pour la vulve et le perinee, avec griffes mousses, 18cm. 1 Pieces Materiel de Suture (aiguilles + fils) | pce | 1
10 | File for ampoules | pce | 2
11 | Forceps, dressing, spring-type, 14cm | pce | 1
12 | Forceps, dressing/sponge holding, foerster, straight, 25cm | pce | 1
13 | Forceps, haemostatic, Kocher, 1x2 teeth, straight, 14cm | pce | 1
14 | Haemoglobinometer Sahli | pce | 1
15 | Microscope coverslip 18x18 mm | 100 pcs | 2
16 | Microscope slides 76x26 mm with frosted end (=writing section ) | 50 pcs | 4
17 | Needle holder, Mayo-Hegar, straight, narrow jaw, 16cm | pce | 1
18 | Pipette, Thoma, red-blood-cell, for haemacytometer | pce | 1
19 | Scissors, bandage, Lister, angular, 16cm | pair | 1
20 | Scissors, surgical, straigth, 14cm, s/s | pair | 1
21 | Soapbox, plastic, 2 pieces | pce | 1
22 | Sphygmomanometer, anaeroid, 300mm Hg, with adults cuff | pce | 1
23 | Stethoscope, binaural, standard, dual head | pce | 2
24 | Stethoscope, foetal, Pinard, aluminium | pce | 1
25 | Tape measure, 150cm | pce | 2
26 | Thermometer, clinical, oral/rectal/armpit, oval, Celcius/Fahrenheit scale, in cover | pce | 4
27 | Timer, 60 minutes, with alarm | pce | 1
28 | Trousers for baby weighing scale 25kg/100 gram (hanging model) | pair | 3
29 | Weighing scale, baby, hanging model without trousers, 25kg/100 gram | pce | 1

## 14. Dressing Set
Dressing set, consisting of:
1x pinces a dissection, sans griffes, 14.5 cm
2x pinces hcmostatiques de Rochester Pean, droite,16 cm
1x ciseau, droit, Mayo Stille, 17 cm
1 x ciseau Lister, 18 cm
2x pinces Kocher, droite, 1/2 griffes, 15 cm
1x pince porte coton de Ulrich, 25 cm
1x ciseau de Metzenbaum, droit, 14.5 cm
1x sonde cannelee, 14.5 cm
1x porte aiguille de Olsen Hegar, 14 cm
1x boite acier inoxydable, 125 x 100 x 50 mm

## 15. Delivery Kit
BASIC DELIVERY SET
Aluminium box 21 x 10 x 5cm | 1
Kocher fcps. Str. 14cm | 2
B/S scissor str. 14cm | 1
Thumb fcps. 14cm | 1
Dissecting fcps. 14cm | 1
Mayo-Hegar needle holder 15cm | 1
Dz. assorted needles | 1
Female catheter | 1
Pean fcps. Str. 16cm | 1
Braun Stadler scissor | 1
Busch scissor | 1
B/B scissor cvd. 14cm | 1

## 16. Small Surgery Kit
Surgical set, consisting of:
1x porteaiguille de MayoHegar, 16cm
1x pince a dissection avec griffe, 14 cm
1x pince a dissection sans griffe, 14 cm
2x pinces hemostatiques, RochesterPean, 16cm
1x surgical ciseaux, 14cm, mousse/mousse
1x manche de bistouri no. 4
1x stainless box (boite inoxydable)
Packed in pouch

## 19. Appendectomy Kit
APPENDICECTOMY SURGERY SET
S.S. Box 4Oxl6x7cm | 1
Bistouri Handle Nr 4 | 1
Mayo Scissors cvd. 14cm | 1
Mayo Scissors cvd. 22cm | 1
Dissecting fcps. 14cm | 2
Thumb fcps. 14cm | 2
Thumb fcps. 25cm | 1
Maier fcps. 25cm | 2
Murphy Pean fcps. 18 or 20cm | 2
Farabeuf retractor 15cm | 1
Farabeuf retractor 12cm | 1
Voikmann retractor 4 tth sharp | 2
Set of Lan genbeck retractors | 1
N-H Mathieu 18cm | 1
Deschamps Needles right | 1
Deschamps Needles left | 1
Hemost. Pean fcps. 16cm | 1
Assort. Needles (dozen) | 1
Backhaus fcps. 14cm | 6
Hemost. Pean fcps. 14cm | 6
Kocher elevator | 1
Hemost. Kocher fcps. 14cm str. | 2
N-H Mayo 15cm | 1
Ombredanne fcps. | 1
Intest. Reverdin feps. | 2
Jones fcps. | 4
B/S Scissors str. 14cm | 1
Duval fcps. | 2

## 20. Caesarean Set
S.S. Box SOx2Oxl2cm | 1
Blstourj Handle Nr 4+ blades | 1
Backhaus fcps. 14cm | 4
Dissecting fcps. 14cm | 2
B/S Scissors sfr. 14cm (Sims) | 2
Hemost Kocher fcps. str. 14cm | 12
HemosL Kocher fcps. str. 16cm | 4
Hemost. Pean fcps. sfr. 18cm | 4
Kelly fcps. cvd. 14cm | 6
N-H Mayo 16cm | 2
Mayo Scissors sfr. 17cm | 1
Thumb fcps. 20cm | 1
Israel Refractor | 2
Volkmann Retractor (4- 6 tth) | 2
Set of vag. valves Do yen | 1
Haberer spatula | 1
Set of Blunt Curetfes | 1
Femal Catheter | 1
Thumb fcps. 14cm | 2
MIchel Dubbel Use fcps. | 1
Pozzl fcps, | 1
Foerster fcps. | 1X100
Michel clips 20mm (100 pcs) | 1
Faure fcps. | 1
Uterine Sound Sims | 1
Selhelm fops. | 1
Plnard foetal stethoscope | 1
Green Armytage fcps. | 1

## 21. Curettage Set
Curettage set, consisting of:
1x pince de panscment longue, 24 cm
1x portecoton uterin
1x pince Museux 2 x 2 griffes, mors, 9 mm, 24 cm
1x hysterometre de Valleix a curseur, 29 cm
1x curette de Sims, 6 mm, 28 cm
1x curette de Sims, 10 mm, 28 cm
1x curette Simon, droite, mousse, 6 mm
1x curette Gourdet, mousse, 10 mm
1x valve de Jayle, 6cm
1x speculum de Collin, 35 x 95 mm
1x boite inoxydable, 400 x 200 x 90 mm

## 23. Hernia Kit
HERNIA SET
S.S. Box 28x14x6cm | 1
Bistouri Handle Nr 4 | 1
Mayo Scissors cvd. 16cm | 1
Mayo Scissors cvd. 22cm | 1
Thumb fcps. 14cm | 2
Dissecting fcps. 14cm | 2
Maler fcps. 25cm | 2
Volkmann retractors sharp | 2
Farabeuf retractor 12cm | 1
Farabeuf retractor 15cm | 1
Set of Lan genbeck retractors | 1
N-H Mayo 15cm | 1
Assort. Needles (dozen) | 1
Deschamps Needles Backhaus Pc PS. 14cm | 6
Mosquito 0 tth str. | 3
Hemost. Pean fcps. 14cm str. | 6
Hemost. Kocher fcps. 14cm str. | 2
Hemost. Pean fcps. 16cm str. | 1

## 24. Gynaecological Set
Gynaecological surgery set, consisting of:
1 x curette de Sims, 6 mm, 28 cm
1 x curette de Sims, 8 mm, 28 cm
1x curette de Gourdet, 6 mm, 28 cm
1x curette de Gourdet, 8 mm, 28 cm
1x curette de Gourdet, 10 mm, 28 cm
1 x valve a poids de Jayle, 6 x 4 cm
1x pince a pansement uterin, 24 cm
1x hysterometre de Valleix a curseur, 29 cm
1 x pince a polypes de Palmer branche passee, 22 cm
2x pinces de Pozzi branche passee, 24 cm
1x pince a dissection, sans griffes, 15.5 cm
1x pince a dissection, sans griffes, 20 cm
1x speculum de Collin, 32 mm
1x speculum de Collin, 36 mm
1x pince Museux 24 cm, mors 9 mm branche passee
1 x pince artere uterine brancheee passee a griffes, 20 cm
1x canule de Novack, diametre 4 mm, 23 cm
1x boite acier inoxydable, 300 x 150 x 70 mm
1x scalpel handle (Manche de Bistouri)

## 25. Laparotomy Set
Major laparotomy surgery set, consisting of:
MAJOR LAPAROTOMY SURGERY SET
S.S. Box SOx2OxI2cm | 1
Reverdin Needle (diff. cvd.) | 3
Mayo Scissors str. 14cm | 1
Mayo Scissors cvd. 14cm | 11
Hartmann refractor | 1
Gosset refractor | 1
Farabeuf refractor | 1
Pauchet clips set | 1
Doyen Towel fcps. | 4
Quenu dissecting fcps. | 2
Farkass dissecting fcps. | 1
Dissecting fcps. 14cm | 1
Thumb fcps. 14cm | 1
Kocher fcps. str. 14cm | 4
Kocherfcps. str. 20cm | 2
Leriche fcps. str. Otth | 2
Leriche fcps. str. lx2tth | 2
Leriche fcps. cvd. Otth | 2
Leriche fcps. cvd. Ix2tth | 2
Collin heart fcps. | 2
Hemost. Pean fcps. 14cm | 2
Faure fcps. 23cm | 2
Chaput fcps. | 4
Ombredanne fcps. | 2
Backhaus fcps. | 6

## 56. Ultrasound
MATERIAL | SPECS
Scanner,ultrasound,mobile,w/access | General description:
Scanner, ultrasound, mobile, with accessories to be used in health infrastructures for diagnostic imaging applications: general abdomen, obstetrics and gynaecology, small parts, neonatal head and hip, cardio-vascular, urology and intra-operative
Technical specificaions:
High performance ultrasound scanner
System integrates scanner, 2 probes, matching trolley and video-printer
Compact and lightweight, easy to transport and position
Alphanumeric keyboard with trackball and time gain control (TCG)
Piezoelectric probes, electronically scanned: convex and linear
Imaging display modes: B, dual B, M, B and M
Adjustable field-of-view, 6 level zoom
Imaging technologies: dynamic frequency imaging, multi-stage focusing, aperture control
Depth range selection: convex sector image and linear image, 3 steps
Image orientation: lateral and vertical inversion (in B mode)
Freeze function with storage of approx. 25 images
Measurements and analysis:
Calibre control: trackball
B-mode image: distance, area and circumference by ellipse and trace method, volume, ratio, gestational age, foetal weight, angle
Gestational table: user programmable
M-mode: velocity, time interval, depth, heart rate, LV function
Alpha-numerics & graphics:
Text annotations and body markers
Automatic display of: date and time, focal point setting, image orientation indicator, image scrolled position, distance scale mark, M-mode time mark, grey scale for calibration
High resolution B/W monitor, approx. 25 cm diagonal (across), equals to 10 inch, fit with reflection filter
Image grey scale: 256 levels
Video output: 625 lines/frame
Two transducer ports leave 2 probes permanently available, electronic switch between probes
Data communication interface: RS232, BNC, IEEE, USB or equivalent
Power supply: 220 V / 50 Hz
Supplied with:
1 x Convex abdominal probe, frequency range: 2.5 / 3.5 / 5.0 MHz
1 x Convex trans-vaginal probe, frequency range: 4.5 / 6.5 / 8.0 MHz
2 x Bottle of ultrasound gel, approx. 350 ml
1 x Set of spare fuses
1 x Plastic protective dustcover
1 x Instructions for assembly, use and maintenance in English, French and Spanish
1 x Digital B/W video printer with data connection cable to ultrasound scanner:
Thermal printing head
Resolution, approx.: 400 dpi
Grey level gradations: 256
1 x Printer head cleaning sheet
1 x Set 10 video printer paper rolls, length approx. 20 m
1 x Instructions for assembly, use and maintenance in English, French and Spanish
1 x Matching trolley:
Sturdy and stable construction on 4 antistatic swivel castors, two with brakes
Diameter castors, approx. 120 mm
Carrying capacity: approx. 50 kg
Protective bumpers at all four corners
Side handle facilitates transport and positioning
Top surface fits ultrasound scanner, as well as folded-open keyboard
Underneath shelf fits video printer
Side support provides for safe storage of 2 probes
Material: epoxy coated steel
Knockdown construction
Set of tools required for assembly
Detailed step-by-step line drawing based instructions for assembly
Overall dimensions, approx.: 0.60 x 0.50 x 1.00 m (l x w x h)
1 x Instructions for assembly, use and maintenance in English, French and Spanish)
Accessories/Spare parts/consumables:
Ultrasound gel, video printer paper, fuses
Packaging and labelling:
Product labels shall meet the essential requirements described in GHTF document SG1- N043R3: “Labelling for Medical devices (including In Vitro Diagnostic Devices)”.
Primary packaging
Unit presentation: 1 (one) Scanner,ultrasound,mobile,w/access
Manufacturer's name and logo.
Manufacturer's product reference.
Manufacture and expiry date, lot number
Main characteristics (dimensions, capacity)
Recommended storage conditions
Information for handling
Protective packaging
Number of units/pieces
Manufacturer's name and logo
Manufacturer's product reference
Manufacture and expiry date, lot number
Main characteristics (dimensions, capacity)
Recommended storage conditions
Information for handling