## Appendix 1.1
1431 - Lot 1 – Appendix 1.1 - Ongoing Servicing and Support for Mammalian Shaking Incubators |  |  |  | Supplier Name
CPI Asset number | Equipment | Serial Number | Manufacturer/ Original Supplier | Potential Service Requirement | Starting | Additional Information
NBMC.E0405 | Multitron pro shaking incubator | S-000123384-003 | Infors-HT | Annual service, support, breakdown and parts cover
NBMC.E0406 | Multitron pro shaking incubator | S-000123384-002 | Infors-HT | Annual service, support, breakdown and parts cover
NBMC.E0407 | Multitron pro shaking incubator | S-000123384-001 | Infors-HT | Annual service, support, breakdown and parts cover
Pricing Schedule 1.1
When returning this document within your electronic response which accompanies your postal submission, do not alter the format or convert the Excel to any other file type
By completing this pricing response and other tender documents, does not constitute an offer or an engagement of work/contract with CPI
Price evaluation will be performed on the level of cover expected to meet our requirements (Option 3). If other options are availble, please included details as them may contribute to other evaluation criteria (e.g. range of options provided)
All prices must be in UK sterling and EXCLUDING VAT and are to remain fixed and firm for a mimimum period of 90 days from tender submission date as per the ITT document
Service Provision (30%) |  | Option 1: Preventative maintenance service only |  | Option 2: Preventative maintenance service and breakdowns (labour only) |  | Option 3: Preventative maintenance service and extended warranty (breakdowns & parts)
Weighting Allocation |  | 8% |  | 8% |  | 8%
Equipment | Equiment/Part Details | 1 Year Cost £ | Additional Yearly Cost £ | 1 Year Cost £ | Additional Yearly Cost £ | 1 Year Cost £ | Additional Yearly Cost £
Individual Call Out Costs if not included in service provision |  | Hourly Rate £ | Day Rate £
Weighting Allocation |  | 6%
Individual Call Out Cost for Breakdown
Spares/Consumables Required
Please insert any items that are required for the preventative maintenence service within this table.
Description |  | Your Product Code | Cost Per Item £ | Lead Time | Price additional or included in service plan? | Additional Information
Additional Spares, Consumables, Hardware and Software
Please insert any additional items that can be used with the equipment in this lot that you can provide within this table. Although these items will not be evaluated on price, they may contribute to the range of critical parts/consumables/spares evaluation criteria.
Description |  | Your Product Code | Cost Per Item £ | Lead Time | Additional Information

## Appendix 1.2
1431 - Lot 2 – Appendix 1.2 - Ongoing Servicing and Support for Flow Cytometer |  |  |  |  | Supplier Name
CPI Asset number | Equipment | Equiment/Part Details | Serial Number | Manufacturer/ Original Supplier | Potential Service Requirement | Starting | Additional Information
NBMC.E0055 | Accuri C6 flow cytometer and sampler | 653118 | AC6531180418 | BD Biosciences | Annual service, support, breakdown and parts cover
Pricing Schedule 1.1
When returning this document within your electronic response which accompanies your postal submission, do not alter the format or convert the Excel to any other file type
By completing this pricing response and other tender documents, does not constitute an offer or an engagement of work/contract with CPI
Price evaluation will be performed on the level of cover expected to meet our requirements (Option 3). If other options are availble, please included details as them may contribute to other evaluation criteria (e.g. range of options provided)
All prices must be in UK sterling and EXCLUDING VAT and are to remain fixed and firm for a mimimum period of 90 days from tender submission date as per the ITT document
Service Provision (30%) |  | Option 1: Preventative maintenance service only |  | Option 2: Preventative maintenance service and breakdowns (labour only) |  | Option 3: Preventative maintenance service and extended warranty (breakdowns & parts)
Weighting Allocation |  | 8% |  | 8% |  | 8%
Equipment | Equiment/Part Details | 1 Year Cost £ | Additional Yearly Cost £ | 1 Year Cost £ | Additional Yearly Cost £ | 1 Year Cost £ | Additional Yearly Cost £
Individual Call Out Costs if not included in service provision |  | Hourly Rate £ | Day Rate £
Weighting Allocation |  | 6%
Individual Call Out Cost for Breakdown
Spares/Consumables Required
Please insert any items that are required for the preventative maintenence service within this table.
Description |  | Your Product Code | Cost Per Item £ | Lead Time | Price additional or included in service plan? | Additional Information
Additional Spares, Consumables, Hardware and Software
Please insert any additional items that can be used with the equipment in this lot that you can provide within this table. Although these items will not be evaluated on price, they may contribute to the range of critical parts/consumables/spares evaluation criteria.
Description |  | Your Product Code | Cost Per Item £ | Lead Time | Additional Information

## Appendix 1.3
1431 - Lot 3 – Appendix 1.3 - Ongoing Servicing and Support for a Micromatrix |  |  |  |  | Supplier Name
CPI Asset number | Equipment | Equiment/Part Details | Serial Number | Manufacturer/ Original Supplier | Potential Service Requirement | Starting | Additional Information
NBMC.E0076 | Micromatrix | Z4MUKMATRIX | 2310040010 | Applikon | Annual service, support, breakdown and parts cover
Pricing Schedule 1.1
When returning this document within your electronic response which accompanies your postal submission, do not alter the format or convert the Excel to any other file type
By completing this pricing response and other tender documents, does not constitute an offer or an engagement of work/contract with CPI
Price evaluation will be performed on the level of cover expected to meet our requirements (Option 3). If other options are availble, please included details as them may contribute to other evaluation criteria (e.g. range of options provided)
All prices must be in UK sterling and EXCLUDING VAT and are to remain fixed and firm for a mimimum period of 90 days from tender submission date as per the ITT document
Service Provision (30%) |  | Option 1: Preventative maintenance service only |  | Option 2: Preventative maintenance service and breakdowns (labour only) |  | Option 3: Preventative maintenance service and extended warranty (breakdowns & parts)
Weighting Allocation |  | 8% |  | 8% |  | 8%
Equipment | Equiment/Part Details | 1 Year Cost £ | Additional Yearly Cost £ | 1 Year Cost £ | Additional Yearly Cost £ | 1 Year Cost £ | Additional Yearly Cost £
Individual Call Out Costs if not included in service provision |  | Hourly Rate £ | Day Rate £
Weighting Allocation |  | 6%
Individual Call Out Cost for Breakdown
Spares/Consumables Required
Please insert any items that are required for the preventative maintenence service within this table.
Description |  | Your Product Code | Cost Per Item £ | Lead Time | Price additional or included in service plan? | Additional Information
Additional Spares, Consumables, Hardware and Software
Please insert any additional items that can be used with the equipment in this lot that you can provide within this table. Although these items will not be evaluated on price, they may contribute to the range of critical parts/consumables/spares evaluation criteria.
Description |  | Your Product Code | Cost Per Item £ | Lead Time | Additional Information