## Sheet1
CSNPC - Penhill Bowls Club - Clarification Questions
Date | Question | Response
04.04.2024 | "The price schedule refers to room names, but these are not shown on the proposed drawings". How would you like us to deal with this? | It is as follows: 'Changing 1' on the floor plan - refers to Office on excel document 'Changing 2' & 'Office' on the floor plan - refers to Multi use room on the excel document. 'Club Room' on the floor plan - refers to Main Room / Cafe on the excel document 'WC' accessed via changing 1 on the floor plan - refers to Kitchen/Store room on the excel document WC accessed through changing room 2 on the floor plan - remains the toilet. Apologies for the oversight, hope that helps.
08.04.2024 | Shutters and windows - confirm extent of windows to be replaced and what windows and doors are to have shutters or security bars fitted No works mentioned to existing toilets No works mentioned to canopy 10.2 new guttering assumed to be pvc 10.8 minor surfacing works, extent unknown, suggest including a provisional sum 7.2 only refers to pair of external doors, assume toilets doors are not to be replaced 6.6 Will the toilet be DDA compliant, needs 1500mm diameter turning circle and WC partition to be taken out 10.1 Does the provisional sum include removing shrubs etc from building and roof? 10.7 Is there a drawing showing the hardstanding, so we can establish: - Extent of drainage Amount of kerbs Not feasible to machine lay macadam 10.2 roof Insulation? Can we assume that roof boarding is sound | To confirm the internals of 'Toilet block' which is listed on the floor plans, is not included within this scope of works. They are accessed via the front of the building as a separate entity, and will be renovated at a later date. All windows are to be replaced and have shutters installed. The double entrance doors to be replaced and have shutters. Canopy to be removed. 10.2 - PVC guttering 10.8 - Provisional sum acceptable. 7.2 - yes, correct (as per above). Requirement would be for the Toilet to be DDA compliant, partition to be removed within the WC. Toilet door will need to be wide enough for DDA access. Provisional sum for shrub removal. However, CSNPC has grounds team that can remove green waste and will assist with vegetation removal. There isn't a drawing of the hard standing. insulation either between or above joists. Provision should be made for replacing several fire damaged joists and some roof boarding.