Specification:

- 4 year maintenance service contract

- Cover type: Total care comprehensive cover with two 6 monthly service visits, unlimited repair service, inc travel and labour & electrical safety testing. Included 2 PM kits.

- Equipment: GreenLight XPS Laser Therapy System s/n XPS61158

- Manufacturer: Boston Scientific

- Response times: please confirm

- Software updates

- Working days: please confirm

- Loan unit provided if system down

- Cancellation terms: please confirm

- Payment terms: please confirm