**Specification:**

* 4 year maintenance service contract
* Cover type: Total care comprehensive cover with two 6 monthly service visits, unlimited repair service, inc travel and labour & electrical safety testing. Included 2 PM kits.
* Equipment: GreenLight XPS Laser Therapy System s/n XPS61158
* Manufacturer: Boston Scientific
* Response times: please confirm
* Software updates
* Working days: please confirm
* Loan unit provided if system down
* Cancellation terms: please confirm
* Payment terms: please confirm