MICROBISM STATEMENT OF WORK (SOW)

| Work Package | Requirement | Contract Deliverable | Date Required | Acceptance Criteria |
| --- | --- | --- | --- | --- |
| 1.0. Initial Deliverables |  |  |  |  |
| 1.1.0. Procurement and Delivery |  |  |  |  |
| 1.1.1. Supply of Chemical Nerve Agent Disclosure Equipment | The Contractor shall provide a chemical nerve agent disclosure system in accordance with the Systems Requirement Document (SRD). | Equipment required to be delivered: ''''' ''' Chemical Nerve Agent Disclosure capability equipment. ''''' ''' Associated confidence check cards. In accordance with firm prices listed in the Contract Schedule of Requirements. | Delivery lead times shall be ''''''''''''''' ''' '''''''''''''''''''' of Contract commencement, in accordance with Schedule 2 of Contract . | Delivered equipment in accordance with the System Requirement Document (SRD) at Appendix 1 to the Statement of Work. |
| 1.1.2. Supply of Chemical Nerve Agent Disclosure Training Equipment | The Contractor shall provide a chemical nerve agent disclosure training system in accordance with the SRD. | Equipment required to be delivered: ''''' ''' Chemical Nerve agent Disclosure training equipment. '''''' ''' Associated simulants for training equipment. ''''' ''' Associated confidence check cards for training equipment. In accordance with firm prices listed in the Contract Schedule of Requirements. | Delivery lead times shall be '''''''''''''' ''' '''''''''''''''' of Contract commencement, in accordance with Schedule 2 of Contract. | Delivered equipment in accordance with the System Requirement Document (SRD) at Appendix 1 to the Statement of Work. |
| 1.2.0. Logistics, Packaging, Handling and Codification |  |  |  |  |
| 1.2.1. Packaging, Handling and Transport | All items must be packaged using commercial packaging for military use in compliance with UK MOD Defcon 129 Edition 04/16 and Defstan 81-41 Part 1. All items must be NATO codified and labelled in compliance with DefStan 81-41 Part 6. | Packaging, Labelling, Handling and Transportation carried out in accordance with the requirement. All items to be delivered to: ''''''''''' '''''' '''''''''''' ''''''''''''''''''' '''''' ''''''' '''''''' ''''''''' '''''''' ''''''''''''''''''''' '''''''''' '''' '''''''''''''''''''' '''''''''' '''''''' | Duration of Contract. | All items packaged using commercial packaging for military use in compliance with UK MOD Defcon 129 Edition 04/16 and Defstan 81-41 Part 1. All items NATO codified. All items labelled in compliance with DefStan 81-41 Part 6. |
| 1.3.0. Safety Data Sheet and Instructions Manual |  |  |  |  |
| 1.3.1. Technical Publications | The Contractor shall supply: - Original Equipment Manufacturer (OEM) Safety Data Sheet. - Instructions manual. The OEM Safety Data Sheet and the Instructions Manual can be delivered together as a single document or as two separate documents. | OEM Safety Data Sheet and Instructions Manual to be packed with the equipment and delivered at the address stated in the Statement of Work, work package 1.2.1. A .pdf of the OEM Safety Data Sheet and Instructions Manual should also be delivered by email to The Authority’s Project Manager (PM). | To be delivered '''''''''' ''''''''''''''''''''''''' '''' ''''''''''''' ''''''''' '''''''''' ''''''''''''''' ''' ''''''''''''''''''' '''' Contract commencement | OEM Safety Data Sheet and Instructions Manual to be packed with the equipment and delivered at the address stated in the Statement of Work, work package 1.2.1. And OEM and Safety Data Sheet to be delivered in .pdf format by e-mail to The Authority’s PM. |
| 2.0. Further Deliverables |  |  |  |  |
| 2.1.0. Procurement and Delivery |  |  |  |  |
| 2.1.1. Further Buys | The Contractor shall provide ad-hoc purchases of the required system throughout the duration of the contract, and shall deliver these systems to The Authority. Purchase of replenishment stock shall be tasked by means of a Contract, Purchasing and Finance (CP&F) Demand Order at the prices agreed in the Contract. The delivery / turnaround time for any re-buy requirement shall be in accordance with Annex D to Schedule 10 - Unit Pricing. | Further Buys of replenishment stock of the deliverable items listed in 1.1.1 and 1.1.2. Quantities to be determined at point of order placement. A firm price should be provided in accordance with Annex D. | On demand. Delivery lead times shall be in accordance with Annex D to Schedule 10 - Unit Pricing | Delivered equipment in accordance with the System Requirement Document (SRD) at Appendix 1 to the Statement of Work. |